## Frequency
EF510
| Frequency (Hz) | Relative Response (dB)
| 339194.5935 | -0.54306
| 354159.5208 | -0.5519
| 396231.4296 | -0.5744
| 435711.3984 | -0.59318
Product Raw Data | 479125.0983 | -0.61502
DC to 1.7 MHz Low-Pass Filter | 531433.4924 | -0.63782
| 589452.6458 | -0.65603
EF510 | 653806.0295 | -0.67048
DISCLAIMER: The data presented here are typical. Slight variations in performance data will occur from lot to lot. Please contact Technical Support with any questions regarding the use or reliability of this data. | 718950.3863 | -0.67581
| 797441.6619 | -0.66981
| 884502.208 | -0.64491
| 981067.5731 | -0.60001
| 1088180 | -0.53626
| 1206980 | -0.43349
This data may be used in publications. However, please cite Thorlabs as the source. | 1304510 | -0.3472
| 1409930 | -0.25701
| 1510770 | -0.15642
Additional Information: | 1604900 | -0.06867
All data shown here has been measured. | 1675710 | -0.019
| 1690240 | -0.0122
| 1704900 | -0.00649
| 1749640 | 0
| 1858660 | -0.0914
| 1957490 | -0.47151
| 2026280 | -1.0852
| 2097490 | -2.1062
| 2152530 | -3.1713
| 2286650 | -6.4691
| 2306480 | -7.0033
| 2326480 | -7.5481
| 2346650 | -8.1
| 2367000 | -8.6594
| 2387530 | -9.2233
| 2408240 | -9.7903
| 2429120 | -10.3602
| 2450190 | -10.9322
| 2471430 | -11.5047
| 2492870 | -12.0775
| 2514480 | -12.6484
| 2536290 | -13.2207
| 2558280 | -13.8773
| 2580470 | -14.6389
| 2602850 | -15.3969
| 2625420 | -16.1478
| 2648190 | -16.9021
| 2671150 | -17.649
| 2694320 | -18.3928
| 2717680 | -19.1334
| 2741250 | -19.8718
| 2765020 | -20.6068
| 2789000 | -21.3392
| 2813190 | -22.0693
| 2837590 | -22.7983
| 2862190 | -23.5243
| 2887010 | -24.2514
| 2912050 | -24.9764
| 2937300 | -25.7021
| 2962780 | -26.4271
| 2988470 | -27.1537
| 3014390 | -27.8813
| 3040530 | -28.6106
| 3066900 | -29.3411
| 3093490 | -30.0761
| 3120320 | -30.814
| 3147380 | -31.5558
| 3174670 | -32.3037
| 3202200 | -33.0544
| 3229970 | -33.8154
| 3257980 | -34.5784
| 3286240 | -35.3516
| 3314740 | -36.136
| 3343480 | -36.9269
| 3372480 | -37.7327
| 3401720 | -38.6715
| 3431220 | -39.7826
| 3460980 | -40.9247
| 3490990 | -42.1002
| 3521270 | -43.3192
| 3551800 | -44.5769
| 3582600 | -45.9042
| 3613670 | -47.2945
| 3645010 | -48.753
| 3676620 | -50.2979
| 3708510 | -51.9534
| 3740670 | -53.7187
| 3773110 | -55.596
| 3805830 | -57.5635
| 3838830 | -59.5352
| 3872120 | -61.0934
| 3905700 | -61.9535
| 3939570 | -61.8556
| 3973740 | -61.1463
| 4008200 | -60.1766
| 4042960 | -59.2349
| 4078020 | -58.4245
| 4113380 | -57.6607
| 4149050 | -57.0874
| 4185030 | -56.5857
| 4221330 | -56.2148
| 4257930 | -55.8879
| 4294860 | -55.6292
| 4332100 | -55.41
| 4369670 | -55.2785
| 4407570 | -55.1536
| 4445790 | -55.0787
| 4484340 | -55.0537
| 4523230 | -55.0526
| 4562460 | -55.1098
| 4602020 | -55.1793
| 4641930 | -55.3163
| 4682190 | -55.4806
| 4722790 | -55.6824
| 4763750 | -55.9251
| 4805060 | -56.16
| 4846730 | -56.5019
| 4888760 | -56.828
| 4931160 | -57.1561
| 4973920 | -57.5784
| 5017060 | -57.9733
| 5060560 | -58.4247
| 5104450 | -58.8657
| 5148720 | -59.387
| 5193370 | -59.9108
| 5238400 | -60.5414
| 5283830 | -61.1453
| 5329650 | -61.8411
| 5375870 | -62.5189
| 5422490 | -63.2831
| 5469520 | -64.1134
| 5516950 | -65.0347
| 5564790 | -66.0631
| 5613050 | -67.0829
| 5661730 | -68.2831
| 5710830 | -69.6273
| 5760350 | -70.8902
| 5810300 | -72.424
| 5860690 | -73.8282
| 5911520 | -74.6878
| 5962780 | -75.4121
| 6014490 | -74.9658
| 6066650 | -73.2361
| 6119260 | -71.5731
| 6172330 | -69.9477
| 6225850 | -68.6223
| 6279840 | -67.2798
| 6334300 | -66.2291
| 6389240 | -65.2939
| 6444640 | -64.4429
| 6500530 | -63.7096
| 6556910 | -63.0408
| 6613770 | -62.4245
| 6671120 | -61.877
| 6728980 | -61.367
| 6787330 | -60.9491
| 6846190 | -60.472
| 6905560 | -60.1625
| 6965450 | -59.8041
| 7025850 | -59.4414
| 7086780 | -59.1313
| 7148240 | -58.8172
| 7210230 | -58.5927
| 7272750 | -58.3377
| 7335820 | -58.0487
| 7399440 | -57.8866
| 7463610 | -57.6369
| 7528330 | -57.4588
| 7593620 | -57.2821
| 7659470 | -57.141
| 7725900 | -56.9553
| 7792900 | -56.8144
| 7860480 | -56.6499
| 7928640 | -56.5112
| 7997400 | -56.4011
| 8066760 | -56.2572
| 8136710 | -56.0989
| 8207270 | -55.9782
| 8278450 | -55.8388
| 8350240 | -55.7373
| 8422650 | -55.6128
| 8495700 | -55.5357
| 8569370 | -55.395
| 8643680 | -55.3229
| 8718640 | -55.2473
| 8794250 | -55.2048
| 8870520 | -55.1179
| 8947440 | -55.0475
| 9025040 | -54.9895
| 9103300 | -54.9266
| 9182250 | -54.8848
| 9261880 | -54.8437
| 9342190 | -54.7902
| 9423210 | -54.7527
| 9504930 | -54.6989
| 9587360 | -54.6984
| 9670500 | -54.6763
| 9754360 | -54.6368
| 9838950 | -54.6097
| 9924280 | -54.5815
| 10010300 | -54.5472
| 10097200 | -54.5599
| 10184700 | -54.5455
| 10273000 | -54.5497
| 10362100 | -54.5212
| 10452000 | -54.5137
| 10542600 | -54.5155
| 10634100 | -54.4962

## Group Delay
EF510
| Frequency (Hz) | Group Delay Variation (ns)
| 339194.5935 | 0
| 354159.5208 | 2.38
| 396231.4296 | 2.086
| 435711.3984 | 5.098
Product Raw Data | 479125.0983 | 8.006
DC to 1.7 MHz Low-Pass Filter | 531433.4924 | 10.425
| 589452.6458 | 16.422
EF510 | 653806.0295 | 22.304
DISCLAIMER: The data presented here are typical. Slight variations in performance data will occur from lot to lot. Please contact Technical Support with any questions regarding the use or reliability of this data. | 718950.3863 | 28.384
| 797441.6619 | 36.256
| 884502.208 | 47.498
| 981067.5731 | 59.539
| 1088175.4442 | 69.8
| 1206976.7973 | 83.415
This data may be used in publications. However, please cite Thorlabs as the source. | 1304514.5319 | 92.013
| 1409934.4476 | 101.497
| 1510771.9797 | 116.102
Additional Information: | 1604903.4897 | 137.952
All data shown here has been measured. | 1675710.2315 | 162.579
| 1690242.1257 | 168.712
| 1704900.0417 | 175.333
| 1749640.8962 | 197.564
| 1858655.5865 | 268.835
| 1957487.1571 | 368.159
| 2026277.4971 | 440.064
| 2097485.2786 | 469.759
| 2152528.5548 | 446.46
| 2286645.9238 | 288.659
| 2306475.9015 | 263.011