## WPQ10E-1940 Transmittance
WPQ10E-1940 Transmittance
|  | Wavelength (nm) | % Transmission
|  | 1600 | 98.4587
|  | 1601 | 98.4959
|  | 1602 | 98.5112
|  | 1603 | 98.5401
Product Raw Data |  | 1604 | 98.5527
Ø1" Polymer Zero-Order Quarter-Wave Plate, 1940 nm |  | 1605 | 98.5858
|  | 1606 | 98.5904
Item # | WPQ10E-1940 | 1607 | 98.605
DISCLAIMER: The data presented here are typical. Slight variations in performance data will occur from lot to lot. Please contact Technical Support with any questions regarding the use or reliability of this data. |  | 1608 | 98.6088
|  | 1609 | 98.6016
|  | 1610 | 98.6002
|  | 1611 | 98.6062
|  | 1612 | 98.5858
|  | 1613 | 98.5878
This data may be used in publications. However, please cite Thorlabs as the source. |  | 1614 | 98.5839
|  | 1615 | 98.565
|  | 1616 | 98.5609
Additional Information: |  | 1617 | 98.5449
The transmittance shown is representative of the performance of our liquid crystal polymer quarter-wave plates for wavelength ranges from 1940 nm to 2700 nm. |  | 1618 | 98.5385
|  | 1619 | 98.5378
|  | 1620 | 98.5266
|  | 1621 | 98.5175
|  | 1622 | 98.5218
|  | 1623 | 98.5343
|  | 1624 | 98.534
|  | 1625 | 98.5352
|  | 1626 | 98.551
|  | 1627 | 98.5572
|  | 1628 | 98.5671
|  | 1629 | 98.5801
|  | 1630 | 98.6061
|  | 1631 | 98.6282
|  | 1632 | 98.6508
|  | 1633 | 98.6537
|  | 1634 | 98.6922
|  | 1635 | 98.7025
|  | 1636 | 98.7356
|  | 1637 | 98.7341
|  | 1638 | 98.7561
|  | 1639 | 98.7626
|  | 1640 | 98.7603
|  | 1641 | 98.7532
|  | 1642 | 98.7383
|  | 1643 | 98.7517
|  | 1644 | 98.7126
|  | 1645 | 98.7148
|  | 1646 | 98.6842
|  | 1647 | 98.683
|  | 1648 | 98.6751
|  | 1649 | 98.641
|  | 1650 | 98.6312
|  | 1651 | 98.612
|  | 1652 | 98.6135
|  | 1653 | 98.5984
|  | 1654 | 98.576
|  | 1655 | 98.5673
|  | 1656 | 98.5586
|  | 1657 | 98.5504
|  | 1658 | 98.5571
|  | 1659 | 98.5431
|  | 1660 | 98.5422
|  | 1661 | 98.5401
|  | 1662 | 98.5323
|  | 1663 | 98.5339
|  | 1664 | 98.5338
|  | 1665 | 98.5176
|  | 1666 | 98.5171
|  | 1667 | 98.5107
|  | 1668 | 98.5102
|  | 1669 | 98.4814
|  | 1670 | 98.4711
|  | 1671 | 98.447
|  | 1672 | 98.4293
|  | 1673 | 98.3953
|  | 1674 | 98.3675
|  | 1675 | 98.3364
|  | 1676 | 98.2967
|  | 1677 | 98.2582
|  | 1678 | 98.2297
|  | 1679 | 98.1741
|  | 1680 | 98.1429
|  | 1681 | 98.1202
|  | 1682 | 98.0679
|  | 1683 | 98.0548
|  | 1684 | 98.0111
|  | 1685 | 97.9554
|  | 1686 | 97.958
|  | 1687 | 97.9255
|  | 1688 | 97.8744
|  | 1689 | 97.8589
|  | 1690 | 97.8185
|  | 1691 | 97.7908
|  | 1692 | 97.7628
|  | 1693 | 97.7316
|  | 1694 | 97.7172
|  | 1695 | 97.6913
|  | 1696 | 97.6867
|  | 1697 | 97.6687
|  | 1698 | 97.6589
|  | 1699 | 97.6483
|  | 1700 | 97.67
|  | 1701 | 97.6608
|  | 1702 | 97.657
|  | 1703 | 97.6729
|  | 1704 | 97.6526
|  | 1705 | 97.6698
|  | 1706 | 97.6824
|  | 1707 | 97.6633
|  | 1708 | 97.669
|  | 1709 | 97.6563
|  | 1710 | 97.6422
|  | 1711 | 97.622
|  | 1712 | 97.5979
|  | 1713 | 97.5842
|  | 1714 | 97.5497
|  | 1715 | 97.5062
|  | 1716 | 97.498
|  | 1717 | 97.4641
|  | 1718 | 97.4266
|  | 1719 | 97.4035
|  | 1720 | 97.3806
|  | 1721 | 97.35
|  | 1722 | 97.3256
|  | 1723 | 97.3092
|  | 1724 | 97.2966
|  | 1725 | 97.2864
|  | 1726 | 97.2709
|  | 1727 | 97.2845
|  | 1728 | 97.2597
|  | 1729 | 97.2596
|  | 1730 | 97.2634
|  | 1731 | 97.2718
|  | 1732 | 97.2499
|  | 1733 | 97.259
|  | 1734 | 97.2466
|  | 1735 | 97.2354
|  | 1736 | 97.2364
|  | 1737 | 97.2097
|  | 1738 | 97.2121
|  | 1739 | 97.1839
|  | 1740 | 97.163
|  | 1741 | 97.1772
|  | 1742 | 97.1413
|  | 1743 | 97.1316
|  | 1744 | 97.1406
|  | 1745 | 97.1158
|  | 1746 | 97.1272
|  | 1747 | 97.1436
|  | 1748 | 97.1487
|  | 1749 | 97.1838
|  | 1750 | 97.1947
|  | 1751 | 97.2371
|  | 1752 | 97.2769
|  | 1753 | 97.3179
|  | 1754 | 97.358
|  | 1755 | 97.4063
|  | 1756 | 97.4578
|  | 1757 | 97.5237
|  | 1758 | 97.5636
|  | 1759 | 97.6137
|  | 1760 | 97.6704
|  | 1761 | 97.7037
|  | 1762 | 97.7711
|  | 1763 | 97.8026
|  | 1764 | 97.8556
|  | 1765 | 97.8993
|  | 1766 | 97.9343
|  | 1767 | 97.9591
|  | 1768 | 97.9996
|  | 1769 | 98.0002
|  | 1770 | 98.0205
|  | 1771 | 98.0663
|  | 1772 | 98.0548
|  | 1773 | 98.0857
|  | 1774 | 98.0919
|  | 1775 | 98.1174
|  | 1776 | 98.1051
|  | 1777 | 98.1138
|  | 1778 | 98.1566
|  | 1779 | 98.1381
|  | 1780 | 98.1508
|  | 1781 | 98.165
|  | 1782 | 98.1601
|  | 1783 | 98.1699
|  | 1784 | 98.188
|  | 1785 | 98.1961
|  | 1786 | 98.2061
|  | 1787 | 98.2022
|  | 1788 | 98.2141
|  | 1789 | 98.2148
|  | 1790 | 98.2072
|  | 1791 | 98.248
|  | 1792 | 98.224
|  | 1793 | 98.2406
|  | 1794 | 98.2512
|  | 1795 | 98.237
|  | 1796 | 98.2375
|  | 1797 | 98.2262
|  | 1798 | 98.2272
|  | 1799 | 98.2202
|  | 1800 | 98.2008
|  | 1801 | 98.2104
|  | 1802 | 98.1986
|  | 1803 | 98.1879
|  | 1804 | 98.1748
|  | 1805 | 98.1662
|  | 1806 | 98.1578
|  | 1807 | 98.1506
|  | 1808 | 98.1236
|  | 1809 | 98.1213
|  | 1810 | 98.1212
|  | 1811 | 98.1051
|  | 1812 | 98.0926
|  | 1813 | 98.0948
|  | 1814 | 98.0861
|  | 1815 | 98.0778
|  | 1816 | 98.0726
|  | 1817 | 98.0732
|  | 1818 | 98.073
|  | 1819 | 98.0661
|  | 1820 | 98.0688
|  | 1821 | 98.0877
|  | 1822 | 98.0876
|  | 1823 | 98.0849
|  | 1824 | 98.0952
|  | 1825 | 98.0974
|  | 1826 | 98.0963
|  | 1827 | 98.1086
|  | 1828 | 98.1149
|  | 1829 | 98.1153
|  | 1830 | 98.1264
|  | 1831 | 98.1334
|  | 1832 | 98.1323
|  | 1833 | 98.1299
|  | 1834 | 98.1329
|  | 1835 | 98.1242
|  | 1836 | 98.1215
|  | 1837 | 98.117
|  | 1838 | 98.1129
|  | 1839 | 98.109
|  | 1840 | 98.1085
|  | 1841 | 98.0877
|  | 1842 | 98.1034
|  | 1843 | 98.0689
|  | 1844 | 98.0603
|  | 1845 | 98.0496
|  | 1846 | 98.0349
|  | 1847 | 98.0312
|  | 1848 | 98.0196
|  | 1849 | 97.999
|  | 1850 | 97.9971
|  | 1851 | 97.9845
|  | 1852 | 97.982
|  | 1853 | 97.9727
|  | 1854 | 97.9684
|  | 1855 | 97.9656
|  | 1856 | 97.9638
|  | 1857 | 97.9541
|  | 1858 | 97.9597
|  | 1859 | 97.9631
|  | 1860 | 97.9826
|  | 1861 | 97.9751
|  | 1862 | 97.9918
|  | 1863 | 98.0042
|  | 1864 | 98.011
|  | 1865 | 98.017
|  | 1866 | 98.0284
|  | 1867 | 98.0349
|  | 1868 | 98.0436
|  | 1869 | 98.0533
|  | 1870 | 98.0584
|  | 1871 | 98.0641
|  | 1872 | 98.0713
|  | 1873 | 98.0867
|  | 1874 | 98.0754
|  | 1875 | 98.0867
|  | 1876 | 98.0877
|  | 1877 | 98.0871
|  | 1878 | 98.0943
|  | 1879 | 98.0944
|  | 1880 | 98.0938
|  | 1881 | 98.0901
|  | 1882 | 98.0826
|  | 1883 | 98.0681
|  | 1884 | 98.0604
|  | 1885 | 98.0619
|  | 1886 | 98.052
|  | 1887 | 98.0283
|  | 1888 | 98.0192
|  | 1889 | 97.9981
|  | 1890 | 97.9859
|  | 1891 | 97.9797
|  | 1892 | 97.9673
|  | 1893 | 97.9419
|  | 1894 | 97.9373
|  | 1895 | 97.9267
|  | 1896 | 97.9008
|  | 1897 | 97.8941
|  | 1898 | 97.8863
|  | 1899 | 97.8735
|  | 1900 | 97.8607
|  | 1901 | 97.859
|  | 1902 | 97.865
|  | 1903 | 97.8517
|  | 1904 | 97.8578
|  | 1905 | 97.8412
|  | 1906 | 97.8331
|  | 1907 | 97.853
|  | 1908 | 97.8587
|  | 1909 | 97.8595
|  | 1910 | 97.8718
|  | 1911 | 97.8793
|  | 1912 | 97.9022
|  | 1913 | 97.8991
|  | 1914 | 97.942
|  | 1915 | 97.924
|  | 1916 | 97.9338
|  | 1917 | 97.9481
|  | 1918 | 97.9611
|  | 1919 | 97.9665
|  | 1920 | 97.9748
|  | 1921 | 97.9799
|  | 1922 | 97.981
|  | 1923 | 98.0274
|  | 1924 | 98.0163
|  | 1925 | 97.9551
|  | 1926 | 98.0146
|  | 1927 | 98.0328
|  | 1928 | 98.0209
|  | 1929 | 98.0145
|  | 1930 | 98.0226
|  | 1931 | 97.9599
|  | 1932 | 98.0179
|  | 1933 | 98.0396
|  | 1934 | 98.0485
|  | 1935 | 98.0239
|  | 1936 | 98.0182
|  | 1937 | 98.0209
|  | 1938 | 98.0334
|  | 1939 | 98.0317
|  | 1940 | 98.0383
|  | 1941 | 98.0487
|  | 1942 | 98.0511
|  | 1943 | 98.0639
|  | 1944 | 98.0798
|  | 1945 | 98.085
|  | 1946 | 98.0996
|  | 1947 | 98.105
|  | 1948 | 98.1089
|  | 1949 | 98.1283
|  | 1950 | 98.1523
|  | 1951 | 98.16
|  | 1952 | 98.1839
|  | 1953 | 98.1861
|  | 1954 | 98.2015
|  | 1955 | 98.2217
|  | 1956 | 98.2345
|  | 1957 | 98.2469
|  | 1958 | 98.2678
|  | 1959 | 98.2783
|  | 1960 | 98.2827
|  | 1961 | 98.296
|  | 1962 | 98.3228
|  | 1963 | 98.317
|  | 1964 | 98.3376
|  | 1965 | 98.3386
|  | 1966 | 98.3553
|  | 1967 | 98.3589
|  | 1968 | 98.3661
|  | 1969 | 98.3809
|  | 1970 | 98.382
|  | 1971 | 98.3824
|  | 1972 | 98.3918
|  | 1973 | 98.3905
|  | 1974 | 98.3836
|  | 1975 | 98.4059
|  | 1976 | 98.4079
|  | 1977 | 98.397
|  | 1978 | 98.3972
|  | 1979 | 98.4122
|  | 1980 | 98.4099
|  | 1981 | 98.4098
|  | 1982 | 98.4103
|  | 1983 | 98.4267
|  | 1984 | 98.4273
|  | 1985 | 98.4297
|  | 1986 | 98.4309
|  | 1987 | 98.4422
|  | 1988 | 98.4504
|  | 1989 | 98.4482
|  | 1990 | 98.4622
|  | 1991 | 98.4657
|  | 1992 | 98.4756
|  | 1993 | 98.4804
|  | 1994 | 98.4914
|  | 1995 | 98.4795
|  | 1996 | 98.5047
|  | 1997 | 98.5039
|  | 1998 | 98.5149
|  | 1999 | 98.5099
|  | 2000 | 98.5799
|  | 2001 | 98.5663
|  | 2002 | 98.5846
|  | 2003 | 98.5689
|  | 2004 | 98.571
|  | 2005 | 98.5788
|  | 2006 | 98.5745
|  | 2007 | 98.5689
|  | 2008 | 98.5743
|  | 2009 | 98.5643
|  | 2010 | 98.5584
|  | 2011 | 98.5625
|  | 2012 | 98.5474
|  | 2013 | 98.5444
|  | 2014 | 98.5368
|  | 2015 | 98.5293
|  | 2016 | 98.5177
|  | 2017 | 98.5255
|  | 2018 | 98.4948
|  | 2019 | 98.5014
|  | 2020 | 98.4894
|  | 2021 | 98.4708
|  | 2022 | 98.4713
|  | 2023 | 98.4608
|  | 2024 | 98.4438
|  | 2025 | 98.4385
|  | 2026 | 98.4244
|  | 2027 | 98.4276
|  | 2028 | 98.3948
|  | 2029 | 98.4151
|  | 2030 | 98.3927
|  | 2031 | 98.3846
|  | 2032 | 98.392
|  | 2033 | 98.3804
|  | 2034 | 98.3686
|  | 2035 | 98.375
|  | 2036 | 98.3702
|  | 2037 | 98.3642
|  | 2038 | 98.3715
|  | 2039 | 98.377
|  | 2040 | 98.3719
|  | 2041 | 98.3752
|  | 2042 | 98.3737
|  | 2043 | 98.3797
|  | 2044 | 98.3823
|  | 2045 | 98.3854
|  | 2046 | 98.3858
|  | 2047 | 98.3849
|  | 2048 | 98.3926
|  | 2049 | 98.3931
|  | 2050 | 98.3826
|  | 2051 | 98.3859
|  | 2052 | 98.3929
|  | 2053 | 98.3873
|  | 2054 | 98.3882
|  | 2055 | 98.3847
|  | 2056 | 98.3757
|  | 2057 | 98.3866
|  | 2058 | 98.3742
|  | 2059 | 98.3746
|  | 2060 | 98.374
|  | 2061 | 98.3759
|  | 2062 | 98.3766
|  | 2063 | 98.3538
|  | 2064 | 98.384
|  | 2065 | 98.3514
|  | 2066 | 98.3861
|  | 2067 | 98.367
|  | 2068 | 98.3701
|  | 2069 | 98.3608
|  | 2070 | 98.3768
|  | 2071 | 98.3774
|  | 2072 | 98.3779
|  | 2073 | 98.391
|  | 2074 | 98.3838
|  | 2075 | 98.3852
|  | 2076 | 98.3895
|  | 2077 | 98.3894
|  | 2078 | 98.3919
|  | 2079 | 98.389
|  | 2080 | 98.3897
|  | 2081 | 98.3839
|  | 2082 | 98.3975
|  | 2083 | 98.3724
|  | 2084 | 98.3999
|  | 2085 | 98.3614
|  | 2086 | 98.3684
|  | 2087 | 98.3591
|  | 2088 | 98.3301
|  | 2089 | 98.3366
|  | 2090 | 98.3112
|  | 2091 | 98.3009
|  | 2092 | 98.2776
|  | 2093 | 98.2494
|  | 2094 | 98.2366
|  | 2095 | 98.2095
|  | 2096 | 98.172
|  | 2097 | 98.139
|  | 2098 | 98.1094
|  | 2099 | 98.0591
|  | 2100 | 98.0348
|  | 2101 | 97.9935
|  | 2102 | 97.945
|  | 2103 | 97.8955
|  | 2104 | 97.8565
|  | 2105 | 97.7969
|  | 2106 | 97.7571
|  | 2107 | 97.6961
|  | 2108 | 97.6653
|  | 2109 | 97.5911
|  | 2110 | 97.5561
|  | 2111 | 97.5202
|  | 2112 | 97.4726
|  | 2113 | 97.4341
|  | 2114 | 97.4027
|  | 2115 | 97.3674
|  | 2116 | 97.3454
|  | 2117 | 97.3205
|  | 2118 | 97.3105
|  | 2119 | 97.2952
|  | 2120 | 97.2684
|  | 2121 | 97.2652
|  | 2122 | 97.2597
|  | 2123 | 97.2537
|  | 2124 | 97.2414
|  | 2125 | 97.2328
|  | 2126 | 97.2451
|  | 2127 | 97.212
|  | 2128 | 97.2299
|  | 2129 | 97.2037
|  | 2130 | 97.2305
|  | 2131 | 97.1931
|  | 2132 | 97.1879
|  | 2133 | 97.1906
|  | 2134 | 97.1849
|  | 2135 | 97.1765
|  | 2136 | 97.1747
|  | 2137 | 97.161
|  | 2138 | 97.147
|  | 2139 | 97.1605
|  | 2140 | 97.1448
|  | 2141 | 97.1523
|  | 2142 | 97.1221
|  | 2143 | 97.1238
|  | 2144 | 97.1166
|  | 2145 | 97.1123
|  | 2146 | 97.1099
|  | 2147 | 97.1021
|  | 2148 | 97.0976
|  | 2149 | 97.0952
|  | 2150 | 97.0873
|  | 2151 | 97.0988
|  | 2152 | 97.075
|  | 2153 | 97.0768
|  | 2154 | 97.0888
|  | 2155 | 97.0705
|  | 2156 | 97.0886
|  | 2157 | 97.0919
|  | 2158 | 97.0854
|  | 2159 | 97.1006
|  | 2160 | 97.1089
|  | 2161 | 97.1305
|  | 2162 | 97.1453
|  | 2163 | 97.1576
|  | 2164 | 97.1771
|  | 2165 | 97.1988
|  | 2166 | 97.2094
|  | 2167 | 97.2302
|  | 2168 | 97.2638
|  | 2169 | 97.2802
|  | 2170 | 97.2975
|  | 2171 | 97.3208
|  | 2172 | 97.3434
|  | 2173 | 97.3612
|  | 2174 | 97.3811
|  | 2175 | 97.4161
|  | 2176 | 97.441
|  | 2177 | 97.4601
|  | 2178 | 97.4807
|  | 2179 | 97.5065
|  | 2180 | 97.5308
|  | 2181 | 97.5476
|  | 2182 | 97.5683
|  | 2183 | 97.5972
|  | 2184 | 97.6078
|  | 2185 | 97.6411
|  | 2186 | 97.6614
|  | 2187 | 97.6762
|  | 2188 | 97.6907
|  | 2189 | 97.7064
|  | 2190 | 97.7178
|  | 2191 | 97.7238
|  | 2192 | 97.7297
|  | 2193 | 97.7372
|  | 2194 | 97.7454
|  | 2195 | 97.7231
|  | 2196 | 97.73
|  | 2197 | 97.7321
|  | 2198 | 97.7231
|  | 2199 | 97.7035
|  | 2200 | 97.7029
|  | 2201 | 97.6878
|  | 2202 | 97.6653
|  | 2203 | 97.6459
|  | 2204 | 97.6255
|  | 2205 | 97.6068
|  | 2206 | 97.5712
|  | 2207 | 97.5389
|  | 2208 | 97.5113
|  | 2209 | 97.4651
|  | 2210 | 97.431
|  | 2211 | 97.3916
|  | 2212 | 97.3432
|  | 2213 | 97.2961
|  | 2214 | 97.2352
|  | 2215 | 97.1846
|  | 2216 | 97.1219
|  | 2217 | 97.0671
|  | 2218 | 97.0179
|  | 2219 | 96.943
|  | 2220 | 96.8812
|  | 2221 | 96.8053
|  | 2222 | 96.7454
|  | 2223 | 96.6825
|  | 2224 | 96.6149
|  | 2225 | 96.5566
|  | 2226 | 96.4899
|  | 2227 | 96.4265
|  | 2228 | 96.3602
|  | 2229 | 96.3028
|  | 2230 | 96.2401
|  | 2231 | 96.1694
|  | 2232 | 96.1108
|  | 2233 | 96.0371
|  | 2234 | 95.9644
|  | 2235 | 95.8778
|  | 2236 | 95.8025
|  | 2237 | 95.7046
|  | 2238 | 95.6059
|  | 2239 | 95.493
|  | 2240 | 95.3829
|  | 2241 | 95.251
|  | 2242 | 95.1095
|  | 2243 | 94.9742
|  | 2244 | 94.8102
|  | 2245 | 94.6443
|  | 2246 | 94.4712
|  | 2247 | 94.294
|  | 2248 | 94.1035
|  | 2249 | 93.9184
|  | 2250 | 93.7182
|  | 2251 | 93.5209
|  | 2252 | 93.3064
|  | 2253 | 93.1109
|  | 2254 | 92.9076
|  | 2255 | 92.7232
|  | 2256 | 92.5262
|  | 2257 | 92.339
|  | 2258 | 92.1636
|  | 2259 | 91.9807
|  | 2260 | 91.8127
|  | 2261 | 91.6448
|  | 2262 | 91.4965
|  | 2263 | 91.3432
|  | 2264 | 91.1927
|  | 2265 | 91.0558
|  | 2266 | 90.9223
|  | 2267 | 90.7847
|  | 2268 | 90.6535
|  | 2269 | 90.5296
|  | 2270 | 90.4077
|  | 2271 | 90.281
|  | 2272 | 90.1663
|  | 2273 | 90.0385
|  | 2274 | 89.9216
|  | 2275 | 89.8082
|  | 2276 | 89.689
|  | 2277 | 89.5702
|  | 2278 | 89.4539
|  | 2279 | 89.3433
|  | 2280 | 89.2348
|  | 2281 | 89.146
|  | 2282 | 89.0437
|  | 2283 | 88.954
|  | 2284 | 88.8754
|  | 2285 | 88.8041
|  | 2286 | 88.7451
|  | 2287 | 88.6904
|  | 2288 | 88.6556
|  | 2289 | 88.627
|  | 2290 | 88.6161
|  | 2291 | 88.6131
|  | 2292 | 88.6242
|  | 2293 | 88.6465
|  | 2294 | 88.6852
|  | 2295 | 88.7414
|  | 2296 | 88.7969
|  | 2297 | 88.8751
|  | 2298 | 88.9594
|  | 2299 | 89.0523
|  | 2300 | 89.1547
|  | 2301 | 89.2629
|  | 2302 | 89.3915
|  | 2303 | 89.5107
|  | 2304 | 89.6466
|  | 2305 | 89.7854
|  | 2306 | 89.9324
|  | 2307 | 90.0829
|  | 2308 | 90.232
|  | 2309 | 90.3843
|  | 2310 | 90.5318
|  | 2311 | 90.6826
|  | 2312 | 90.8216
|  | 2313 | 90.9586
|  | 2314 | 91.0945
|  | 2315 | 91.2302
|  | 2316 | 91.3475
|  | 2317 | 91.459
|  | 2318 | 91.5568
|  | 2319 | 91.6456
|  | 2320 | 91.7363
|  | 2321 | 91.8132
|  | 2322 | 91.8817
|  | 2323 | 91.9238
|  | 2324 | 91.9819
|  | 2325 | 92.0114
|  | 2326 | 92.0506
|  | 2327 | 92.0565
|  | 2328 | 92.0663
|  | 2329 | 92.0686
|  | 2330 | 92.0623
|  | 2331 | 92.0414
|  | 2332 | 92.0263
|  | 2333 | 91.9989
|  | 2334 | 91.9613
|  | 2335 | 91.9276
|  | 2336 | 91.8897
|  | 2337 | 91.8553
|  | 2338 | 91.811
|  | 2339 | 91.778
|  | 2340 | 91.7324
|  | 2341 | 91.7017
|  | 2342 | 91.676
|  | 2343 | 91.6336
|  | 2344 | 91.6267
|  | 2345 | 91.6138
|  | 2346 | 91.5905
|  | 2347 | 91.591
|  | 2348 | 91.6061
|  | 2349 | 91.6118
|  | 2350 | 91.6197
|  | 2351 | 91.6338
|  | 2352 | 91.6588
|  | 2353 | 91.6967
|  | 2354 | 91.7226
|  | 2355 | 91.7589
|  | 2356 | 91.7839
|  | 2357 | 91.8345
|  | 2358 | 91.8724
|  | 2359 | 91.9143
|  | 2360 | 91.9375
|  | 2361 | 91.9778
|  | 2362 | 92.0093
|  | 2363 | 92.0421
|  | 2364 | 92.0713
|  | 2365 | 92.1052
|  | 2366 | 92.1377
|  | 2367 | 92.1522
|  | 2368 | 92.1812
|  | 2369 | 92.1956
|  | 2370 | 92.2154
|  | 2371 | 92.2419
|  | 2372 | 92.2559
|  | 2373 | 92.2675
|  | 2374 | 92.2748
|  | 2375 | 92.2933
|  | 2376 | 92.3003
|  | 2377 | 92.3151
|  | 2378 | 92.329
|  | 2379 | 92.3471
|  | 2380 | 92.3581
|  | 2381 | 92.3715
|  | 2382 | 92.3831
|  | 2383 | 92.3944
|  | 2384 | 92.4044
|  | 2385 | 92.4272
|  | 2386 | 92.4434
|  | 2387 | 92.4442
|  | 2388 | 92.4568
|  | 2389 | 92.4743
|  | 2390 | 92.4934
|  | 2391 | 92.5183
|  | 2392 | 92.5312
|  | 2393 | 92.5411
|  | 2394 | 92.5648
|  | 2395 | 92.5812
|  | 2396 | 92.6122
|  | 2397 | 92.6398
|  | 2398 | 92.652
|  | 2399 | 92.6851
|  | 2400 | 92.7074
|  | 2401 | 92.7425
|  | 2402 | 92.7733
|  | 2403 | 92.8046
|  | 2404 | 92.8226
|  | 2405 | 92.8608
|  | 2406 | 92.8892
|  | 2407 | 92.9197
|  | 2408 | 92.9519
|  | 2409 | 92.9816
|  | 2410 | 93.0201
|  | 2411 | 93.0414
|  | 2412 | 93.0802
|  | 2413 | 93.1138
|  | 2414 | 93.1514
|  | 2415 | 93.1771
|  | 2416 | 93.2145
|  | 2417 | 93.2525
|  | 2418 | 93.2945
|  | 2419 | 93.3218
|  | 2420 | 93.3575
|  | 2421 | 93.3809
|  | 2422 | 93.4171
|  | 2423 | 93.446
|  | 2424 | 93.47
|  | 2425 | 93.5013
|  | 2426 | 93.5299
|  | 2427 | 93.5567
|  | 2428 | 93.5898
|  | 2429 | 93.5999
|  | 2430 | 93.6226
|  | 2431 | 93.6422
|  | 2432 | 93.6582
|  | 2433 | 93.668
|  | 2434 | 93.6847
|  | 2435 | 93.6946
|  | 2436 | 93.6986
|  | 2437 | 93.7011
|  | 2438 | 93.7038
|  | 2439 | 93.7037
|  | 2440 | 93.7
|  | 2441 | 93.6924
|  | 2442 | 93.6857
|  | 2443 | 93.6788
|  | 2444 | 93.657
|  | 2445 | 93.6411
|  | 2446 | 93.6312
|  | 2447 | 93.6202
|  | 2448 | 93.5986
|  | 2449 | 93.5854
|  | 2450 | 93.577
|  | 2451 | 93.5674
|  | 2452 | 93.5531
|  | 2453 | 93.5399
|  | 2454 | 93.53
|  | 2455 | 93.5301
|  | 2456 | 93.5204
|  | 2457 | 93.5153
|  | 2458 | 93.5121
|  | 2459 | 93.5123
|  | 2460 | 93.5242
|  | 2461 | 93.5301
|  | 2462 | 93.5338
|  | 2463 | 93.549
|  | 2464 | 93.5486
|  | 2465 | 93.5524
|  | 2466 | 93.5775
|  | 2467 | 93.5786
|  | 2468 | 93.5885
|  | 2469 | 93.5964
|  | 2470 | 93.6152
|  | 2471 | 93.6135
|  | 2472 | 93.6216
|  | 2473 | 93.6289
|  | 2474 | 93.6412
|  | 2475 | 93.6254
|  | 2476 | 93.6405
|  | 2477 | 93.6337
|  | 2478 | 93.6345
|  | 2479 | 93.6293
|  | 2480 | 93.6178
|  | 2481 | 93.6122
|  | 2482 | 93.6047
|  | 2483 | 93.5844
|  | 2484 | 93.5753
|  | 2485 | 93.5661
|  | 2486 | 93.5501
|  | 2487 | 93.5314
|  | 2488 | 93.5202
|  | 2489 | 93.5027
|  | 2490 | 93.4869
|  | 2491 | 93.4727
|  | 2492 | 93.4571
|  | 2493 | 93.4446
|  | 2494 | 93.4239
|  | 2495 | 93.4127
|  | 2496 | 93.4
|  | 2497 | 93.3872
|  | 2498 | 93.3792
|  | 2499 | 93.3676
|  | 2500 | 93.3651
|  | 2501 | 93.3578
|  | 2502 | 93.3508
|  | 2503 | 93.3494
|  | 2504 | 93.3496
|  | 2505 | 93.3463
|  | 2506 | 93.3512
|  | 2507 | 93.3514
|  | 2508 | 93.3595
|  | 2509 | 93.3604
|  | 2510 | 93.3706
|  | 2511 | 93.3794
|  | 2512 | 93.3894
|  | 2513 | 93.3939
|  | 2514 | 93.4044
|  | 2515 | 93.421
|  | 2516 | 93.4308
|  | 2517 | 93.4454
|  | 2518 | 93.4586
|  | 2519 | 93.4719
|  | 2520 | 93.4848
|  | 2521 | 93.4945
|  | 2522 | 93.5125
|  | 2523 | 93.5284
|  | 2524 | 93.5417
|  | 2525 | 93.5525
|  | 2526 | 93.5677
|  | 2527 | 93.5801
|  | 2528 | 93.5947
|  | 2529 | 93.6203
|  | 2530 | 93.6389
|  | 2531 | 93.6545
|  | 2532 | 93.6716
|  | 2533 | 93.6978
|  | 2534 | 93.7156
|  | 2535 | 93.7394
|  | 2536 | 93.7618
|  | 2537 | 93.7873
|  | 2538 | 93.809
|  | 2539 | 93.8297
|  | 2540 | 93.8551
|  | 2541 | 93.8805
|  | 2542 | 93.9105
|  | 2543 | 93.938
|  | 2544 | 93.9657
|  | 2545 | 93.9956
|  | 2546 | 94.0204
|  | 2547 | 94.0548
|  | 2548 | 94.0777
|  | 2549 | 94.1066
|  | 2550 | 94.136
|  | 2551 | 94.1666
|  | 2552 | 94.1922
|  | 2553 | 94.2209
|  | 2554 | 94.2504
|  | 2555 | 94.2768
|  | 2556 | 94.2934
|  | 2557 | 94.3305
|  | 2558 | 94.3598
|  | 2559 | 94.3876
|  | 2560 | 94.4122
|  | 2561 | 94.4389
|  | 2562 | 94.4709
|  | 2563 | 94.5023
|  | 2564 | 94.5293
|  | 2565 | 94.5529
|  | 2566 | 94.5975
|  | 2567 | 94.6169
|  | 2568 | 94.657
|  | 2569 | 94.683
|  | 2570 | 94.7044
|  | 2571 | 94.7417
|  | 2572 | 94.7706
|  | 2573 | 94.7924
|  | 2574 | 94.8311
|  | 2575 | 94.8618
|  | 2576 | 94.8832
|  | 2577 | 94.9111
|  | 2578 | 94.9452
|  | 2579 | 94.9659
|  | 2580 | 94.9907
|  | 2581 | 95.015
|  | 2582 | 95.0432
|  | 2583 | 95.0577
|  | 2584 | 95.0754
|  | 2585 | 95.0919
|  | 2586 | 95.1108
|  | 2587 | 95.1231
|  | 2588 | 95.1419
|  | 2589 | 95.1734
|  | 2590 | 95.193
|  | 2591 | 95.197
|  | 2592 | 95.2212
|  | 2593 | 95.2313
|  | 2594 | 95.2487
|  | 2595 | 95.2333
|  | 2596 | 95.2514
|  | 2597 | 95.2675
|  | 2598 | 95.2604
|  | 2599 | 95.2729
|  | 2600 | 95.2755
|  | 2601 | 95.2871
|  | 2602 | 95.2853
|  | 2603 | 95.3272
|  | 2604 | 95.3194
|  | 2605 | 95.3288
|  | 2606 | 95.3543
|  | 2607 | 95.3366
|  | 2608 | 95.3581
|  | 2609 | 95.3781
|  | 2610 | 95.3823
|  | 2611 | 95.3774
|  | 2612 | 95.4131
|  | 2613 | 95.3954
|  | 2614 | 95.441
|  | 2615 | 95.4234
|  | 2616 | 95.4295
|  | 2617 | 95.4864
|  | 2618 | 95.49
|  | 2619 | 95.522
|  | 2620 | 95.5329
|  | 2621 | 95.512
|  | 2622 | 95.5929
|  | 2623 | 95.5436
|  | 2624 | 95.5614
|  | 2625 | 95.6158
|  | 2626 | 95.6034
|  | 2627 | 95.6124
|  | 2628 | 95.6642
|  | 2629 | 95.7082
|  | 2630 | 95.6758
|  | 2631 | 95.6715
|  | 2632 | 95.7153
|  | 2633 | 95.6931
|  | 2634 | 95.7417
|  | 2635 | 95.7112
|  | 2636 | 95.7331
|  | 2637 | 95.7711
|  | 2638 | 95.8042
|  | 2639 | 95.8117
|  | 2640 | 95.7717
|  | 2641 | 95.8173
|  | 2642 | 95.7781
|  | 2643 | 95.7756
|  | 2644 | 95.7841
|  | 2645 | 95.8012
|  | 2646 | 95.8543
|  | 2647 | 95.8374
|  | 2648 | 95.8382
|  | 2649 | 95.8821
|  | 2650 | 95.9047
|  | 2651 | 95.8732
|  | 2652 | 95.7673
|  | 2653 | 95.8128
|  | 2654 | 95.8057
|  | 2655 | 95.8897
|  | 2656 | 95.8112
|  | 2657 | 95.8389
|  | 2658 | 95.7005
|  | 2659 | 95.8481
|  | 2660 | 95.8127
|  | 2661 | 95.669
|  | 2662 | 95.6479
|  | 2663 | 95.6833
|  | 2664 | 95.8343
|  | 2665 | 95.6313
|  | 2666 | 95.3686
|  | 2667 | 95.4714
|  | 2668 | 95.4844
|  | 2669 | 95.3859
|  | 2670 | 95.1731
|  | 2671 | 95.2635
|  | 2672 | 95.2632
|  | 2673 | 95.171
|  | 2674 | 94.901
|  | 2675 | 95.0418
|  | 2676 | 94.6211
|  | 2677 | 94.815
|  | 2678 | 94.6551
|  | 2679 | 94.5775
|  | 2680 | 94.1143
|  | 2681 | 94.0679
|  | 2682 | 94.2552
|  | 2683 | 94.158
|  | 2684 | 94.1034
|  | 2685 | 94.0399
|  | 2686 | 93.8437
|  | 2687 | 93.6717
|  | 2688 | 93.7444
|  | 2689 | 93.4667
|  | 2690 | 94.1295
|  | 2691 | 93.8463
|  | 2692 | 93.9031
|  | 2693 | 93.4283
|  | 2694 | 93.438
|  | 2695 | 93.352
|  | 2696 | 93.5013
|  | 2697 | 92.8512
|  | 2698 | 93.1726
|  | 2699 | 92.9823
|  | 2700 | 92.56
|  | 2701 | 92.9817
|  | 2702 | 92.3931
|  | 2703 | 92.1421
|  | 2704 | 91.5504
|  | 2705 | 93.0839
|  | 2706 | 91.4166
|  | 2707 | 91.1723
|  | 2708 | 91.0821
|  | 2709 | 90.503
|  | 2710 | 92.0322
|  | 2711 | 90.9569
|  | 2712 | 90.5257
|  | 2713 | 91.4653
|  | 2714 | 89.75
|  | 2715 | 90.847
|  | 2716 | 89.8857
|  | 2717 | 88.9551
|  | 2718 | 89.1934
|  | 2719 | 88.5291
|  | 2720 | 89.38
|  | 2721 | 88.2458
|  | 2722 | 89.2584
|  | 2723 | 90.3554
|  | 2724 | 89.0928
|  | 2725 | 87.5236
|  | 2726 | 86.481
|  | 2727 | 87.8278
|  | 2728 | 83.915
|  | 2729 | 84.8028
|  | 2730 | 84.2719
|  | 2731 | 87.3436
|  | 2732 | 85.0231
|  | 2733 | 86.0223
|  | 2734 | 84.2393
|  | 2735 | 85.0611
|  | 2736 | 87.3159
|  | 2737 | 86.4208
|  | 2738 | 85.214
|  | 2739 | 82.9315
|  | 2740 | 85.5921
|  | 2741 | 85.1545
|  | 2742 | 85
|  | 2743 | 82.7128
|  | 2744 | 83.2739
|  | 2745 | 82.9155
|  | 2746 | 83.3007
|  | 2747 | 80.4583
|  | 2748 | 80.2454
|  | 2749 | 79.0595
|  | 2750 | 82.0094
|  | 2751 | 81.2795
|  | 2752 | 78.8607
|  | 2753 | 83.014
|  | 2754 | 80.0984
|  | 2755 | 79.8571
|  | 2756 | 83.0037
|  | 2757 | 80.0035
|  | 2758 | 78.8071
|  | 2759 | 79.9573
|  | 2760 | 78.8899
|  | 2761 | 81.9526
|  | 2762 | 86.3474
|  | 2763 | 81.5347
|  | 2764 | 81.1992
|  | 2765 | 80.3534
|  | 2766 | 79.2272
|  | 2767 | 77.8306
|  | 2768 | 79.4302
|  | 2769 | 79.0734
|  | 2770 | 81.438
|  | 2771 | 83.0443
|  | 2772 | 83.3356
|  | 2773 | 79.2111
|  | 2774 | 82.2872
|  | 2775 | 77.5986
|  | 2776 | 79.6642
|  | 2777 | 77.1916
|  | 2778 | 76.3589
|  | 2779 | 80.276
|  | 2780 | 76.5586
|  | 2781 | 80.3451
|  | 2782 | 81.586
|  | 2783 | 75.3032
|  | 2784 | 73.4515
|  | 2785 | 79.2796
|  | 2786 | 83.456
|  | 2787 | 80.0137
|  | 2788 | 72.9418
|  | 2789 | 70.5291
|  | 2790 | 70.4932
|  | 2791 | 76.1973
|  | 2792 | 74.3798
|  | 2793 | 75.8417
|  | 2794 | 74.1802
|  | 2795 | 70.8661
|  | 2796 | 72.8132
|  | 2797 | 81.929
|  | 2798 | 72.1168
|  | 2799 | 77.9931
|  | 2800 | 77.3858