## Cuvette Transmission
Fresnel Lens Transmission
|  | Wavelength (nm) | Transmission (%)
|  | 2000 | 74.5563
|  | 1999 | 74.9909
|  | 1998 | 75.7936
|  | 1997 | 76.3913
Product Raw Data |  | 1996 | 76.0542
Fresnel Lens Transmission |  | 1995 | 74.1242
|  | 1994 | 74.4297
Item # | Starting with FRP | 1993 | 75.4088
DISCLAIMER: The data presented here are typical. Slight variations in performance data will occur from lot to lot. Please contact Technical Support with any questions regarding the use or reliability of this data. |  | 1992 | 76.0158
|  | 1991 | 76.122
|  | 1990 | 76.8506
|  | 1989 | 76.344
|  | 1988 | 76.6478
|  | 1987 | 76.6581
This data may be used in publications. However, please cite Thorlabs as the source. |  | 1986 | 77.1678
|  | 1985 | 77.3835
|  | 1984 | 77.2344
Additional Information: |  | 1983 | 76.8698
This plot, measured using the FRP125, shows the representative transmission of our Fresnel lenses. Only minor differences were observed as a function of focal length (groove spacing). |  | 1982 | 76.9498
|  | 1981 | 76.7242
|  | 1980 | 76.2512
|  | 1979 | 75.4592
|  | 1978 | 75.3029
|  | 1977 | 74.9586
|  | 1976 | 74.8902
|  | 1975 | 74.2426
|  | 1974 | 73.062
|  | 1973 | 72.3833
|  | 1972 | 72.6466
|  | 1971 | 72.4224
|  | 1970 | 72.178
|  | 1969 | 72.176
|  | 1968 | 71.6926
|  | 1967 | 70.8792
|  | 1966 | 70.4927
|  | 1965 | 70.1094
|  | 1964 | 68.7047
|  | 1963 | 68.4108
|  | 1962 | 67.9966
|  | 1961 | 68.3602
|  | 1960 | 67.6276
|  | 1959 | 66.1599
|  | 1958 | 65.6986
|  | 1957 | 65.6998
|  | 1956 | 64.6488
|  | 1955 | 63.9524
|  | 1954 | 63.6247
|  | 1953 | 63.0567
|  | 1952 | 62.4609
|  | 1951 | 62.5572
|  | 1950 | 62.0946
|  | 1949 | 61.9011
|  | 1948 | 61.3793
|  | 1947 | 61.8678
|  | 1946 | 62.4544
|  | 1945 | 62.0866
|  | 1944 | 61.4789
|  | 1943 | 61.2067
|  | 1942 | 61.4477
|  | 1941 | 61.783
|  | 1940 | 62.1419
|  | 1939 | 62.5485
|  | 1938 | 62.7878
|  | 1937 | 63.0777
|  | 1936 | 63.1296
|  | 1935 | 63.4058
|  | 1934 | 63.0683
|  | 1933 | 62.2703
|  | 1932 | 62.7748
|  | 1931 | 63.3412
|  | 1930 | 63.1253
|  | 1929 | 62.6362
|  | 1928 | 61.9138
|  | 1927 | 61.6346
|  | 1926 | 60.4225
|  | 1925 | 59.0416
|  | 1924 | 57.7813
|  | 1923 | 56.3411
|  | 1922 | 54.7713
|  | 1921 | 53.0701
|  | 1920 | 52.3851
|  | 1919 | 51.075
|  | 1918 | 49.5202
|  | 1917 | 48.8601
|  | 1916 | 48.0669
|  | 1915 | 46.9347
|  | 1914 | 45.2983
|  | 1913 | 44.5878
|  | 1912 | 44.6491
|  | 1911 | 44.3381
|  | 1910 | 44.8857
|  | 1909 | 44.7282
|  | 1908 | 44.9825
|  | 1907 | 45.2904
|  | 1906 | 45.3863
|  | 1905 | 45.5281
|  | 1904 | 45.5818
|  | 1903 | 46.0567
|  | 1902 | 46.9078
|  | 1901 | 48.2363
|  | 1900 | 49.3072
|  | 1899 | 50.1104
|  | 1898 | 51.6767
|  | 1897 | 52.5671
|  | 1896 | 53.8456
|  | 1895 | 55.483
|  | 1894 | 56.9172
|  | 1893 | 58.2215
|  | 1892 | 59.9211
|  | 1891 | 61.7064
|  | 1890 | 63.0716
|  | 1889 | 64.4658
|  | 1888 | 65.7308
|  | 1887 | 67.1564
|  | 1886 | 68.2518
|  | 1885 | 68.36
|  | 1884 | 68.7165
|  | 1883 | 69.5845
|  | 1882 | 70.4124
|  | 1881 | 70.5708
|  | 1880 | 70.8928
|  | 1879 | 71.2563
|  | 1878 | 71.0867
|  | 1877 | 70.9131
|  | 1876 | 71.2536
|  | 1875 | 71.5833
|  | 1874 | 71.5976
|  | 1873 | 71.8497
|  | 1872 | 72.6767
|  | 1871 | 73.4906
|  | 1870 | 73.4173
|  | 1869 | 72.9242
|  | 1868 | 72.8812
|  | 1867 | 73.188
|  | 1866 | 72.9899
|  | 1865 | 73.3976
|  | 1864 | 73.8084
|  | 1863 | 73.5188
|  | 1862 | 73.1719
|  | 1861 | 72.7528
|  | 1860 | 72.3886
|  | 1859 | 72.5064
|  | 1858 | 72.7326
|  | 1857 | 73.0661
|  | 1856 | 73.1457
|  | 1855 | 72.9051
|  | 1854 | 72.6772
|  | 1853 | 72.7506
|  | 1852 | 72.7034
|  | 1851 | 72.5611
|  | 1850 | 72.6944
|  | 1849 | 72.956
|  | 1848 | 73.4514
|  | 1847 | 73.558
|  | 1846 | 73.3896
|  | 1845 | 73.0506
|  | 1844 | 73.0836
|  | 1843 | 73.7402
|  | 1842 | 74.3675
|  | 1841 | 74.6566
|  | 1840 | 74.7853
|  | 1839 | 74.8797
|  | 1838 | 75.1349
|  | 1837 | 75.3097
|  | 1836 | 75.3583
|  | 1835 | 75.5711
|  | 1834 | 75.7718
|  | 1833 | 75.747
|  | 1832 | 75.6498
|  | 1831 | 75.7259
|  | 1830 | 75.6796
|  | 1829 | 75.7494
|  | 1828 | 75.7985
|  | 1827 | 75.8913
|  | 1826 | 75.9018
|  | 1825 | 75.7701
|  | 1824 | 75.4247
|  | 1823 | 75.2833
|  | 1822 | 75.2219
|  | 1821 | 74.8548
|  | 1820 | 74.5177
|  | 1819 | 74.5868
|  | 1818 | 74.5074
|  | 1817 | 74.2828
|  | 1816 | 74.0309
|  | 1815 | 73.6812
|  | 1814 | 73.2937
|  | 1813 | 73.0187
|  | 1812 | 72.9463
|  | 1811 | 72.998
|  | 1810 | 72.6743
|  | 1809 | 72.1911
|  | 1808 | 72.3567
|  | 1807 | 72.5245
|  | 1806 | 72.1235
|  | 1805 | 71.607
|  | 1804 | 71.0077
|  | 1803 | 70.4871
|  | 1802 | 70.249
|  | 1801 | 70.0698
|  | 1800 | 69.7537
|  | 1799 | 69.3404
|  | 1798 | 69.0072
|  | 1797 | 68.7327
|  | 1796 | 68.3095
|  | 1795 | 67.5534
|  | 1794 | 66.8256
|  | 1793 | 66.4167
|  | 1792 | 66.1246
|  | 1791 | 65.8
|  | 1790 | 65.6146
|  | 1789 | 65.3955
|  | 1788 | 64.9605
|  | 1787 | 64.6865
|  | 1786 | 64.4577
|  | 1785 | 64.1919
|  | 1784 | 64.0047
|  | 1783 | 64.021
|  | 1782 | 64.1399
|  | 1781 | 64.3638
|  | 1780 | 64.4311
|  | 1779 | 64.3924
|  | 1778 | 64.8371
|  | 1777 | 65.1154
|  | 1776 | 64.9956
|  | 1775 | 65.3216
|  | 1774 | 65.5633
|  | 1773 | 65.6332
|  | 1772 | 65.756
|  | 1771 | 65.9378
|  | 1770 | 65.9803
|  | 1769 | 65.8378
|  | 1768 | 65.6835
|  | 1767 | 65.6643
|  | 1766 | 65.3821
|  | 1765 | 64.7603
|  | 1764 | 64.0114
|  | 1763 | 63.6483
|  | 1762 | 63.1276
|  | 1761 | 62.4687
|  | 1760 | 62.1081
|  | 1759 | 61.6396
|  | 1758 | 60.9894
|  | 1757 | 60.3753
|  | 1756 | 59.973
|  | 1755 | 59.3279
|  | 1754 | 58.4326
|  | 1753 | 57.8726
|  | 1752 | 57.4566
|  | 1751 | 57.0897
|  | 1750 | 56.6702
|  | 1749 | 55.9665
|  | 1748 | 55.4626
|  | 1747 | 54.9944
|  | 1746 | 54.2816
|  | 1745 | 53.7154
|  | 1744 | 52.9348
|  | 1743 | 52.2181
|  | 1742 | 51.5647
|  | 1741 | 51.2252
|  | 1740 | 50.7318
|  | 1739 | 50.0075
|  | 1738 | 49.6026
|  | 1737 | 49.3119
|  | 1736 | 48.7989
|  | 1735 | 48.1436
|  | 1734 | 47.4588
|  | 1733 | 47.33
|  | 1732 | 47.126
|  | 1731 | 46.9641
|  | 1730 | 46.7791
|  | 1729 | 46.237
|  | 1728 | 45.8467
|  | 1727 | 45.6431
|  | 1726 | 45.5782
|  | 1725 | 45.2363
|  | 1724 | 44.7511
|  | 1723 | 44.6072
|  | 1722 | 44.6905
|  | 1721 | 44.641
|  | 1720 | 44.3058
|  | 1719 | 44.0101
|  | 1718 | 44.1965
|  | 1717 | 44.0182
|  | 1716 | 44.1005
|  | 1715 | 44.2227
|  | 1714 | 44.1833
|  | 1713 | 44
|  | 1712 | 43.9999
|  | 1711 | 44.1004
|  | 1710 | 44.1836
|  | 1709 | 44.1559
|  | 1708 | 43.7479
|  | 1707 | 43.7494
|  | 1706 | 43.6951
|  | 1705 | 43.3909
|  | 1704 | 43.2448
|  | 1703 | 43.4918
|  | 1702 | 43.479
|  | 1701 | 43.5163
|  | 1700 | 43.6611
|  | 1699 | 43.5997
|  | 1698 | 43.4198
|  | 1697 | 43.3055
|  | 1696 | 43.2611
|  | 1695 | 43.4224
|  | 1694 | 43.0259
|  | 1693 | 42.8407
|  | 1692 | 42.2571
|  | 1691 | 41.8113
|  | 1690 | 40.8019
|  | 1689 | 39.7235
|  | 1688 | 39.2967
|  | 1687 | 38.6484
|  | 1686 | 38.004
|  | 1685 | 37.3357
|  | 1684 | 36.7891
|  | 1683 | 36.2643
|  | 1682 | 36.0568
|  | 1681 | 36.1549
|  | 1680 | 36.0895
|  | 1679 | 36.7582
|  | 1678 | 37.6356
|  | 1677 | 38.8041
|  | 1676 | 39.8254
|  | 1675 | 40.4684
|  | 1674 | 41.553
|  | 1673 | 42.7334
|  | 1672 | 43.9692
|  | 1671 | 45.2182
|  | 1670 | 46.3891
|  | 1669 | 47.7875
|  | 1668 | 48.9625
|  | 1667 | 50.411
|  | 1666 | 51.826
|  | 1665 | 53.2005
|  | 1664 | 54.5653
|  | 1663 | 56.3788
|  | 1662 | 57.8835
|  | 1661 | 59.4453
|  | 1660 | 61.1204
|  | 1659 | 62.7392
|  | 1658 | 64.5322
|  | 1657 | 66.4383
|  | 1656 | 67.9284
|  | 1655 | 69.6333
|  | 1654 | 71.4315
|  | 1653 | 72.8378
|  | 1652 | 74.0141
|  | 1651 | 75.3827
|  | 1650 | 76.552
|  | 1649 | 77.8122
|  | 1648 | 78.7239
|  | 1647 | 79.4201
|  | 1646 | 80.1997
|  | 1645 | 80.8622
|  | 1644 | 80.9333
|  | 1643 | 81.4694
|  | 1642 | 82.0198
|  | 1641 | 82.0304
|  | 1640 | 82.2128
|  | 1639 | 82.4931
|  | 1638 | 82.5797
|  | 1637 | 82.5707
|  | 1636 | 82.6087
|  | 1635 | 82.8113
|  | 1634 | 83.0838
|  | 1633 | 83.3947
|  | 1632 | 83.2325
|  | 1631 | 83.8592
|  | 1630 | 84.0753
|  | 1629 | 84.1943
|  | 1628 | 84.4802
|  | 1627 | 84.6205
|  | 1626 | 84.6832
|  | 1625 | 84.5058
|  | 1624 | 84.8016
|  | 1623 | 84.8576
|  | 1622 | 84.9206
|  | 1621 | 85.1747
|  | 1620 | 85.3732
|  | 1619 | 85.7249
|  | 1618 | 85.7517
|  | 1617 | 85.7903
|  | 1616 | 85.9822
|  | 1615 | 85.9706
|  | 1614 | 86.0124
|  | 1613 | 86.1246
|  | 1612 | 86.698
|  | 1611 | 86.7994
|  | 1610 | 87.0261
|  | 1609 | 87.2224
|  | 1608 | 87.4439
|  | 1607 | 87.4667
|  | 1606 | 87.6489
|  | 1605 | 87.8576
|  | 1604 | 87.9046
|  | 1603 | 87.8233
|  | 1602 | 88.2278
|  | 1601 | 88.7048
|  | 1600 | 88.9117
|  | 1599 | 88.6729
|  | 1598 | 88.7128
|  | 1597 | 89.0341
|  | 1596 | 88.9873
|  | 1595 | 88.7487
|  | 1594 | 88.9805
|  | 1593 | 88.8545
|  | 1592 | 88.8466
|  | 1591 | 89.0793
|  | 1590 | 89.4773
|  | 1589 | 89.4276
|  | 1588 | 89.2548
|  | 1587 | 89.4052
|  | 1586 | 89.6219
|  | 1585 | 89.693
|  | 1584 | 89.508
|  | 1583 | 89.6765
|  | 1582 | 89.9458
|  | 1581 | 89.8483
|  | 1580 | 90.0535
|  | 1579 | 90.1855
|  | 1578 | 90.1681
|  | 1577 | 90.0646
|  | 1576 | 90.0256
|  | 1575 | 90.0318
|  | 1574 | 89.9087
|  | 1573 | 89.8154
|  | 1572 | 89.9449
|  | 1571 | 89.9475
|  | 1570 | 89.8877
|  | 1569 | 89.9721
|  | 1568 | 90.0579
|  | 1567 | 90.2828
|  | 1566 | 90.268
|  | 1565 | 90.1649
|  | 1564 | 90.1118
|  | 1563 | 90.0574
|  | 1562 | 90.0807
|  | 1561 | 90.1406
|  | 1560 | 90.3153
|  | 1559 | 90.1928
|  | 1558 | 90.321
|  | 1557 | 90.5575
|  | 1556 | 90.6473
|  | 1555 | 90.7477
|  | 1554 | 90.5031
|  | 1553 | 90.548
|  | 1552 | 90.8605
|  | 1551 | 90.788
|  | 1550 | 90.915
|  | 1549 | 91.1161
|  | 1548 | 91.1091
|  | 1547 | 91.0379
|  | 1546 | 91.0741
|  | 1545 | 91.0942
|  | 1544 | 90.9404
|  | 1543 | 90.6267
|  | 1542 | 90.5541
|  | 1541 | 90.8576
|  | 1540 | 90.7574
|  | 1539 | 90.5268
|  | 1538 | 90.5821
|  | 1537 | 90.6485
|  | 1536 | 90.562
|  | 1535 | 90.6516
|  | 1534 | 90.9567
|  | 1533 | 91.0323
|  | 1532 | 90.9632
|  | 1531 | 90.8909
|  | 1530 | 91.0053
|  | 1529 | 90.9655
|  | 1528 | 90.7552
|  | 1527 | 90.7985
|  | 1526 | 90.9248
|  | 1525 | 90.8401
|  | 1524 | 90.6918
|  | 1523 | 90.6055
|  | 1522 | 90.6386
|  | 1521 | 90.4634
|  | 1520 | 90.3935
|  | 1519 | 90.4212
|  | 1518 | 90.4771
|  | 1517 | 90.5363
|  | 1516 | 90.5729
|  | 1515 | 90.5587
|  | 1514 | 90.5144
|  | 1513 | 90.3762
|  | 1512 | 90.358
|  | 1511 | 90.3389
|  | 1510 | 90.2464
|  | 1509 | 89.9913
|  | 1508 | 89.9538
|  | 1507 | 90.0174
|  | 1506 | 89.9803
|  | 1505 | 90.0459
|  | 1504 | 90.0295
|  | 1503 | 89.8933
|  | 1502 | 89.8488
|  | 1501 | 89.9077
|  | 1500 | 90.0048
|  | 1499 | 90.0396
|  | 1498 | 90.0094
|  | 1497 | 90.0454
|  | 1496 | 90.1688
|  | 1495 | 90.1656
|  | 1494 | 90.0476
|  | 1493 | 90.0438
|  | 1492 | 89.9238
|  | 1491 | 89.6956
|  | 1490 | 89.5952
|  | 1489 | 89.4045
|  | 1488 | 89.1331
|  | 1487 | 88.9933
|  | 1486 | 88.9185
|  | 1485 | 88.9274
|  | 1484 | 88.8401
|  | 1483 | 88.6356
|  | 1482 | 88.4494
|  | 1481 | 88.3199
|  | 1480 | 88.143
|  | 1479 | 88.008
|  | 1478 | 88.0683
|  | 1477 | 88.1613
|  | 1476 | 88.3041
|  | 1475 | 88.3608
|  | 1474 | 88.3909
|  | 1473 | 88.3767
|  | 1472 | 88.1254
|  | 1471 | 87.9645
|  | 1470 | 87.8854
|  | 1469 | 87.8319
|  | 1468 | 87.8787
|  | 1467 | 87.8902
|  | 1466 | 87.8218
|  | 1465 | 87.6315
|  | 1464 | 87.3949
|  | 1463 | 87.143
|  | 1462 | 86.9934
|  | 1461 | 86.7648
|  | 1460 | 86.6178
|  | 1459 | 86.6047
|  | 1458 | 86.5008
|  | 1457 | 86.4155
|  | 1456 | 86.2411
|  | 1455 | 85.9916
|  | 1454 | 85.7449
|  | 1453 | 85.4755
|  | 1452 | 85.2106
|  | 1451 | 84.947
|  | 1450 | 84.6722
|  | 1449 | 84.3122
|  | 1448 | 83.8882
|  | 1447 | 83.5075
|  | 1446 | 83.1955
|  | 1445 | 82.9723
|  | 1444 | 82.6765
|  | 1443 | 82.3889
|  | 1442 | 82.2049
|  | 1441 | 82.0817
|  | 1440 | 81.9303
|  | 1439 | 81.7258
|  | 1438 | 81.4913
|  | 1437 | 81.3154
|  | 1436 | 81.236
|  | 1435 | 81.0805
|  | 1434 | 80.8082
|  | 1433 | 80.6077
|  | 1432 | 80.4272
|  | 1431 | 80.2735
|  | 1430 | 80.1506
|  | 1429 | 79.9261
|  | 1428 | 79.6858
|  | 1427 | 79.5618
|  | 1426 | 79.5603
|  | 1425 | 79.5766
|  | 1424 | 79.6166
|  | 1423 | 79.5852
|  | 1422 | 79.6663
|  | 1421 | 79.8646
|  | 1420 | 79.8992
|  | 1419 | 79.8509
|  | 1418 | 79.9674
|  | 1417 | 80.0788
|  | 1416 | 80.0771
|  | 1415 | 80.0842
|  | 1414 | 80.1191
|  | 1413 | 80.1586
|  | 1412 | 80.2132
|  | 1411 | 80.2214
|  | 1410 | 80.2185
|  | 1409 | 80.1654
|  | 1408 | 80.0856
|  | 1407 | 80.0715
|  | 1406 | 80.0529
|  | 1405 | 79.8803
|  | 1404 | 79.717
|  | 1403 | 79.7382
|  | 1402 | 79.7959
|  | 1401 | 79.7195
|  | 1400 | 79.5022
|  | 1399 | 79.3139
|  | 1398 | 79.123
|  | 1397 | 79.0145
|  | 1396 | 78.9775
|  | 1395 | 79.0161
|  | 1394 | 78.9305
|  | 1393 | 78.8784
|  | 1392 | 78.8511
|  | 1391 | 78.7884
|  | 1390 | 78.5917
|  | 1389 | 78.4496
|  | 1388 | 78.4339
|  | 1387 | 78.5443
|  | 1386 | 78.4889
|  | 1385 | 78.4733
|  | 1384 | 78.4594
|  | 1383 | 78.4561
|  | 1382 | 78.3321
|  | 1381 | 78.2873
|  | 1380 | 78.2377
|  | 1379 | 78.1799
|  | 1378 | 78.1233
|  | 1377 | 78.2103
|  | 1376 | 78.1871
|  | 1375 | 78.1007
|  | 1374 | 78.0342
|  | 1373 | 78.1476
|  | 1372 | 78.3369
|  | 1371 | 78.5257
|  | 1370 | 78.7434
|  | 1369 | 78.9745
|  | 1368 | 79.1943
|  | 1367 | 79.4696
|  | 1366 | 79.7689
|  | 1365 | 80.1441
|  | 1364 | 80.3608
|  | 1363 | 80.5813
|  | 1362 | 80.8419
|  | 1361 | 81.0352
|  | 1360 | 81.1942
|  | 1359 | 81.2315
|  | 1358 | 81.3156
|  | 1357 | 81.3789
|  | 1356 | 81.4509
|  | 1355 | 81.5814
|  | 1354 | 81.7498
|  | 1353 | 81.8784
|  | 1352 | 81.9667
|  | 1351 | 82.1573
|  | 1350 | 82.486
|  | 1349 | 82.7908
|  | 1348 | 83.1239
|  | 1347 | 83.5423
|  | 1346 | 83.985
|  | 1345 | 84.4316
|  | 1344 | 84.8588
|  | 1343 | 85.3428
|  | 1342 | 85.9178
|  | 1341 | 86.4471
|  | 1340 | 86.9781
|  | 1339 | 87.5071
|  | 1338 | 87.9762
|  | 1337 | 88.3927
|  | 1336 | 88.8986
|  | 1335 | 89.395
|  | 1334 | 89.7992
|  | 1333 | 90.0994
|  | 1332 | 90.3561
|  | 1331 | 90.6088
|  | 1330 | 90.7567
|  | 1329 | 90.908
|  | 1328 | 91.1199
|  | 1327 | 91.2913
|  | 1326 | 91.4056
|  | 1325 | 91.5633
|  | 1324 | 91.6138
|  | 1323 | 91.6091
|  | 1322 | 91.6589
|  | 1321 | 91.7474
|  | 1320 | 91.8681
|  | 1319 | 92.0111
|  | 1318 | 92.049
|  | 1317 | 92.2028
|  | 1316 | 92.2922
|  | 1315 | 92.172
|  | 1314 | 92.0701
|  | 1313 | 92.0799
|  | 1312 | 92.0818
|  | 1311 | 92.1753
|  | 1310 | 92.295
|  | 1309 | 92.3382
|  | 1308 | 92.2759
|  | 1307 | 92.3568
|  | 1306 | 92.3149
|  | 1305 | 92.3293
|  | 1304 | 92.3239
|  | 1303 | 92.2902
|  | 1302 | 92.3209
|  | 1301 | 92.3914
|  | 1300 | 92.4273
|  | 1299 | 92.4766
|  | 1298 | 92.4712
|  | 1297 | 92.4
|  | 1296 | 92.41
|  | 1295 | 92.4045
|  | 1294 | 92.329
|  | 1293 | 92.3692
|  | 1292 | 92.4079
|  | 1291 | 92.4012
|  | 1290 | 92.4074
|  | 1289 | 92.5335
|  | 1288 | 92.5343
|  | 1287 | 92.5536
|  | 1286 | 92.4505
|  | 1285 | 92.4277
|  | 1284 | 92.4601
|  | 1283 | 92.4225
|  | 1282 | 92.3735
|  | 1281 | 92.3217
|  | 1280 | 92.3294
|  | 1279 | 92.3823
|  | 1278 | 92.3982
|  | 1277 | 92.4656
|  | 1276 | 92.3549
|  | 1275 | 92.415
|  | 1274 | 92.4752
|  | 1273 | 92.5982
|  | 1272 | 92.5347
|  | 1271 | 92.6038
|  | 1270 | 92.6439
|  | 1269 | 92.747
|  | 1268 | 92.8087
|  | 1267 | 92.7354
|  | 1266 | 92.7085
|  | 1265 | 92.6729
|  | 1264 | 92.5668
|  | 1263 | 92.6105
|  | 1262 | 92.513
|  | 1261 | 92.429
|  | 1260 | 92.4098
|  | 1259 | 92.565
|  | 1258 | 92.4563
|  | 1257 | 92.4509
|  | 1256 | 92.433
|  | 1255 | 92.4914
|  | 1254 | 92.5868
|  | 1253 | 92.5126
|  | 1252 | 92.5666
|  | 1251 | 92.5957
|  | 1250 | 92.7222
|  | 1249 | 92.7138
|  | 1248 | 92.6441
|  | 1247 | 92.5763
|  | 1246 | 92.402
|  | 1245 | 92.4439
|  | 1244 | 92.3498
|  | 1243 | 92.1769
|  | 1242 | 92.1394
|  | 1241 | 92.0828
|  | 1240 | 92.1628
|  | 1239 | 92.0773
|  | 1238 | 92.1006
|  | 1237 | 91.9305
|  | 1236 | 91.9931
|  | 1235 | 91.9821
|  | 1234 | 92.012
|  | 1233 | 91.9493
|  | 1232 | 91.768
|  | 1231 | 91.7619
|  | 1230 | 91.8615
|  | 1229 | 91.7553
|  | 1228 | 91.6768
|  | 1227 | 91.6478
|  | 1226 | 91.5311
|  | 1225 | 91.4362
|  | 1224 | 91.3472
|  | 1223 | 91.2492
|  | 1222 | 91.2132
|  | 1221 | 91.1263
|  | 1220 | 91.1301
|  | 1219 | 91.1578
|  | 1218 | 90.9818
|  | 1217 | 90.7709
|  | 1216 | 90.5953
|  | 1215 | 90.4639
|  | 1214 | 90.2296
|  | 1213 | 90.1451
|  | 1212 | 89.9794
|  | 1211 | 89.7779
|  | 1210 | 89.5909
|  | 1209 | 89.3452
|  | 1208 | 89.1004
|  | 1207 | 88.8774
|  | 1206 | 88.5988
|  | 1205 | 88.4664
|  | 1204 | 88.3206
|  | 1203 | 88.1025
|  | 1202 | 87.8178
|  | 1201 | 87.5586
|  | 1200 | 87.3201
|  | 1199 | 87.0839
|  | 1198 | 86.8378
|  | 1197 | 86.661
|  | 1196 | 86.4838
|  | 1195 | 86.1498
|  | 1194 | 85.8457
|  | 1193 | 85.6047
|  | 1192 | 85.2887
|  | 1191 | 84.9754
|  | 1190 | 84.7328
|  | 1189 | 84.5253
|  | 1188 | 84.2083
|  | 1187 | 83.8791
|  | 1186 | 83.4709
|  | 1185 | 83.2135
|  | 1184 | 82.731
|  | 1183 | 82.3206
|  | 1182 | 82.1226
|  | 1181 | 81.9351
|  | 1180 | 81.6928
|  | 1179 | 81.4909
|  | 1178 | 81.3544
|  | 1177 | 81.2677
|  | 1176 | 81.1224
|  | 1175 | 81.1147
|  | 1174 | 81.1339
|  | 1173 | 81.164
|  | 1172 | 81.2176
|  | 1171 | 81.5142
|  | 1170 | 81.7553
|  | 1169 | 81.8513
|  | 1168 | 81.939
|  | 1167 | 82.1712
|  | 1166 | 82.3862
|  | 1165 | 82.6272
|  | 1164 | 82.7519
|  | 1163 | 83.0121
|  | 1162 | 83.3075
|  | 1161 | 83.5191
|  | 1160 | 83.844
|  | 1159 | 84.1604
|  | 1158 | 84.2753
|  | 1157 | 84.4992
|  | 1156 | 84.8442
|  | 1155 | 85.2122
|  | 1154 | 85.4188
|  | 1153 | 85.5666
|  | 1152 | 85.7688
|  | 1151 | 86.0343
|  | 1150 | 86.1637
|  | 1149 | 86.3057
|  | 1148 | 86.5496
|  | 1147 | 86.8016
|  | 1146 | 86.8985
|  | 1145 | 87.1171
|  | 1144 | 87.2987
|  | 1143 | 87.3591
|  | 1142 | 87.4915
|  | 1141 | 87.6953
|  | 1140 | 87.9705
|  | 1139 | 88.1564
|  | 1138 | 88.3205
|  | 1137 | 88.5573
|  | 1136 | 88.7798
|  | 1135 | 88.9111
|  | 1134 | 89.0042
|  | 1133 | 89.2001
|  | 1132 | 89.4343
|  | 1131 | 89.6527
|  | 1130 | 89.9192
|  | 1129 | 90.1136
|  | 1128 | 90.2195
|  | 1127 | 90.4009
|  | 1126 | 90.5914
|  | 1125 | 90.7797
|  | 1124 | 90.9363
|  | 1123 | 91.1201
|  | 1122 | 91.3301
|  | 1121 | 91.5008
|  | 1120 | 91.5747
|  | 1119 | 91.5987
|  | 1118 | 91.7085
|  | 1117 | 91.8323
|  | 1116 | 91.878
|  | 1115 | 92.0129
|  | 1114 | 92.1278
|  | 1113 | 92.1638
|  | 1112 | 92.2187
|  | 1111 | 92.3033
|  | 1110 | 92.3381
|  | 1109 | 92.3576
|  | 1108 | 92.407
|  | 1107 | 92.5472
|  | 1106 | 92.6538
|  | 1105 | 92.5776
|  | 1104 | 92.5018
|  | 1103 | 92.5968
|  | 1102 | 92.6641
|  | 1101 | 92.6018
|  | 1100 | 92.6451
|  | 1099 | 92.7457
|  | 1098 | 92.8093
|  | 1097 | 92.8313
|  | 1096 | 92.8971
|  | 1095 | 92.9926
|  | 1094 | 93.0042
|  | 1093 | 92.9923
|  | 1092 | 93.0873
|  | 1091 | 93.2035
|  | 1090 | 93.2265
|  | 1089 | 93.2103
|  | 1088 | 93.3902
|  | 1087 | 93.5155
|  | 1086 | 93.5242
|  | 1085 | 93.5334
|  | 1084 | 93.5662
|  | 1083 | 93.581
|  | 1082 | 93.5725
|  | 1081 | 93.7007
|  | 1080 | 93.8407
|  | 1079 | 93.9277
|  | 1078 | 93.9552
|  | 1077 | 93.971
|  | 1076 | 93.9818
|  | 1075 | 93.8426
|  | 1074 | 93.7556
|  | 1073 | 93.7425
|  | 1072 | 93.7111
|  | 1071 | 93.6329
|  | 1070 | 93.5807
|  | 1069 | 93.4767
|  | 1068 | 93.3316
|  | 1067 | 93.2545
|  | 1066 | 93.1959
|  | 1065 | 93.1314
|  | 1064 | 93.0138
|  | 1063 | 92.9908
|  | 1062 | 92.9891
|  | 1061 | 92.8881
|  | 1060 | 92.7627
|  | 1059 | 92.6672
|  | 1058 | 92.6725
|  | 1057 | 92.6656
|  | 1056 | 92.6788
|  | 1055 | 92.7013
|  | 1054 | 92.6819
|  | 1053 | 92.6895
|  | 1052 | 92.7555
|  | 1051 | 92.8833
|  | 1050 | 92.8848
|  | 1049 | 92.8485
|  | 1048 | 92.9177
|  | 1047 | 93.0285
|  | 1046 | 93.1215
|  | 1045 | 93.1336
|  | 1044 | 93.1112
|  | 1043 | 93.175
|  | 1042 | 93.2474
|  | 1041 | 93.2661
|  | 1040 | 93.2348
|  | 1039 | 93.1158
|  | 1038 | 93.0279
|  | 1037 | 93.0112
|  | 1036 | 93.009
|  | 1035 | 92.9422
|  | 1034 | 92.9228
|  | 1033 | 92.9596
|  | 1032 | 92.9704
|  | 1031 | 93.0023
|  | 1030 | 92.9513
|  | 1029 | 92.8163
|  | 1028 | 92.731
|  | 1027 | 92.6806
|  | 1026 | 92.7253
|  | 1025 | 92.7484
|  | 1024 | 92.7122
|  | 1023 | 92.6795
|  | 1022 | 92.6971
|  | 1021 | 92.7617
|  | 1020 | 92.7348
|  | 1019 | 92.6893
|  | 1018 | 92.6578
|  | 1017 | 92.6942
|  | 1016 | 92.7326
|  | 1015 | 92.762
|  | 1014 | 92.7862
|  | 1013 | 92.8285
|  | 1012 | 92.8532
|  | 1011 | 92.8775
|  | 1010 | 92.911
|  | 1009 | 92.8565
|  | 1008 | 92.8649
|  | 1007 | 92.9464
|  | 1006 | 92.9496
|  | 1005 | 92.8958
|  | 1004 | 92.7742
|  | 1003 | 92.7481
|  | 1002 | 92.7977
|  | 1001 | 92.9654
|  | 1000 | 92.9161
|  | 999 | 92.9182
|  | 998 | 92.917
|  | 997 | 92.908
|  | 996 | 92.895
|  | 995 | 92.8756
|  | 994 | 92.8553
|  | 993 | 92.8342
|  | 992 | 92.8203
|  | 991 | 92.8129
|  | 990 | 92.8042
|  | 989 | 92.7893
|  | 988 | 92.7653
|  | 987 | 92.7502
|  | 986 | 92.7357
|  | 985 | 92.7196
|  | 984 | 92.705
|  | 983 | 92.6987
|  | 982 | 92.7003
|  | 981 | 92.707
|  | 980 | 92.719
|  | 979 | 92.7284
|  | 978 | 92.7273
|  | 977 | 92.7303
|  | 976 | 92.7411
|  | 975 | 92.7602
|  | 974 | 92.7834
|  | 973 | 92.804
|  | 972 | 92.832
|  | 971 | 92.8606
|  | 970 | 92.8818
|  | 969 | 92.9057
|  | 968 | 92.9207
|  | 967 | 92.942
|  | 966 | 92.9655
|  | 965 | 92.9989
|  | 964 | 93.0284
|  | 963 | 93.0525
|  | 962 | 93.0707
|  | 961 | 93.079
|  | 960 | 93.0831
|  | 959 | 93.0832
|  | 958 | 93.0863
|  | 957 | 93.106
|  | 956 | 93.1342
|  | 955 | 93.1774
|  | 954 | 93.2248
|  | 953 | 93.2726
|  | 952 | 93.3274
|  | 951 | 93.3796
|  | 950 | 93.4308
|  | 949 | 93.482
|  | 948 | 93.5249
|  | 947 | 93.5725
|  | 946 | 93.6166
|  | 945 | 93.6506
|  | 944 | 93.6526
|  | 943 | 93.6409
|  | 942 | 93.6218
|  | 941 | 93.5988
|  | 940 | 93.5711
|  | 939 | 93.5364
|  | 938 | 93.5072
|  | 937 | 93.4925
|  | 936 | 93.4804
|  | 935 | 93.4635
|  | 934 | 93.4279
|  | 933 | 93.3662
|  | 932 | 93.3036
|  | 931 | 93.2517
|  | 930 | 93.196
|  | 929 | 93.1493
|  | 928 | 93.0879
|  | 927 | 93.0387
|  | 926 | 93.0016
|  | 925 | 92.9601
|  | 924 | 92.9095
|  | 923 | 92.8801
|  | 922 | 92.8682
|  | 921 | 92.905
|  | 920 | 92.9537
|  | 919 | 93.0058
|  | 918 | 93.0423
|  | 917 | 93.0762
|  | 916 | 93.0881
|  | 915 | 93.0879
|  | 914 | 93.089
|  | 913 | 93.0749
|  | 912 | 93.0748
|  | 911 | 93.0725
|  | 910 | 93.0337
|  | 909 | 93.0037
|  | 908 | 92.9565
|  | 907 | 92.9165
|  | 906 | 92.889
|  | 905 | 92.8727
|  | 904 | 92.8655
|  | 903 | 92.8543
|  | 902 | 92.8728
|  | 901 | 92.8728
|  | 900 | 92.8347
|  | 899 | 92.1845
|  | 898 | 91.9835
|  | 897 | 92.4083
|  | 896 | 92.8444
|  | 895 | 92.9291
|  | 894 | 92.6165
|  | 893 | 93.2513
|  | 892 | 92.8428
|  | 891 | 92.8383
|  | 890 | 92.9516
|  | 889 | 92.2569
|  | 888 | 93.2389
|  | 887 | 92.8672
|  | 886 | 92.8758
|  | 885 | 92.8524
|  | 884 | 92.8209
|  | 883 | 92.8561
|  | 882 | 92.8183
|  | 881 | 92.8126
|  | 880 | 92.8722
|  | 879 | 92.8419
|  | 878 | 92.8176
|  | 877 | 92.8012
|  | 876 | 92.8893
|  | 875 | 92.8504
|  | 874 | 92.8524
|  | 873 | 92.8409
|  | 872 | 92.875
|  | 871 | 92.8968
|  | 870 | 92.8834
|  | 869 | 92.8552
|  | 868 | 92.8445
|  | 867 | 92.822
|  | 866 | 92.8006
|  | 865 | 92.8906
|  | 864 | 92.8297
|  | 863 | 92.8774
|  | 862 | 92.8782
|  | 861 | 92.8452
|  | 860 | 92.8717
|  | 859 | 92.873
|  | 858 | 92.8705
|  | 857 | 92.8793
|  | 856 | 92.8311
|  | 855 | 92.8106
|  | 854 | 92.8478
|  | 853 | 92.8646
|  | 852 | 92.8969
|  | 851 | 92.8438
|  | 850 | 92.8146
|  | 849 | 92.8463
|  | 848 | 92.828
|  | 847 | 92.8677
|  | 846 | 92.8939
|  | 845 | 92.958
|  | 844 | 93.0136
|  | 843 | 93.0785
|  | 842 | 93.1518
|  | 841 | 93.2013
|  | 840 | 93.2475
|  | 839 | 93.274
|  | 838 | 93.2959
|  | 837 | 93.3086
|  | 836 | 93.3127
|  | 835 | 93.3139
|  | 834 | 93.3115
|  | 833 | 93.3138
|  | 832 | 93.3121
|  | 831 | 93.3278
|  | 830 | 93.3472
|  | 829 | 93.3579
|  | 828 | 93.3732
|  | 827 | 93.3988
|  | 826 | 93.4294
|  | 825 | 93.467
|  | 824 | 93.4971
|  | 823 | 93.5298
|  | 822 | 93.5523
|  | 821 | 93.576
|  | 820 | 93.6027
|  | 819 | 93.6106
|  | 818 | 93.6099
|  | 817 | 93.61
|  | 816 | 93.6274
|  | 815 | 93.646
|  | 814 | 93.6639
|  | 813 | 93.6748
|  | 812 | 93.6738
|  | 811 | 93.6797
|  | 810 | 93.677
|  | 809 | 93.6853
|  | 808 | 93.6789
|  | 807 | 93.6626
|  | 806 | 93.6636
|  | 805 | 93.6645
|  | 804 | 93.6586
|  | 803 | 93.638
|  | 802 | 93.6102
|  | 801 | 93.5736
|  | 800 | 93.5408
|  | 799 | 93.5181
|  | 798 | 93.4871
|  | 797 | 93.4563
|  | 796 | 93.4219
|  | 795 | 93.396
|  | 794 | 93.3772
|  | 793 | 93.3531
|  | 792 | 93.334
|  | 791 | 93.321
|  | 790 | 93.3134
|  | 789 | 93.3117
|  | 788 | 93.3189
|  | 787 | 93.3334
|  | 786 | 93.3402
|  | 785 | 93.3508
|  | 784 | 93.3674
|  | 783 | 93.3846
|  | 782 | 93.4009
|  | 781 | 93.4137
|  | 780 | 93.428
|  | 779 | 93.4359
|  | 778 | 93.4355
|  | 777 | 93.4318
|  | 776 | 93.4291
|  | 775 | 93.4189
|  | 774 | 93.4005
|  | 773 | 93.3846
|  | 772 | 93.3716
|  | 771 | 93.3558
|  | 770 | 93.3417
|  | 769 | 93.3259
|  | 768 | 93.3118
|  | 767 | 93.2926
|  | 766 | 93.2799
|  | 765 | 93.278
|  | 764 | 93.2782
|  | 763 | 93.2748
|  | 762 | 93.2797
|  | 761 | 93.2891
|  | 760 | 93.2995
|  | 759 | 93.3102
|  | 758 | 93.3214
|  | 757 | 93.3337
|  | 756 | 93.3542
|  | 755 | 93.3767
|  | 754 | 93.4072
|  | 753 | 93.4375
|  | 752 | 93.4601
|  | 751 | 93.4822
|  | 750 | 93.5056
|  | 749 | 93.5209
|  | 748 | 93.531
|  | 747 | 93.5408
|  | 746 | 93.5437
|  | 745 | 93.5486
|  | 744 | 93.5501
|  | 743 | 93.5418
|  | 742 | 93.528
|  | 741 | 93.5101
|  | 740 | 93.4857
|  | 739 | 93.4628
|  | 738 | 93.4416
|  | 737 | 93.4202
|  | 736 | 93.4027
|  | 735 | 93.3883
|  | 734 | 93.3707
|  | 733 | 93.3548
|  | 732 | 93.3391
|  | 731 | 93.3276
|  | 730 | 93.3244
|  | 729 | 93.3299
|  | 728 | 93.3367
|  | 727 | 93.3512
|  | 726 | 93.3677
|  | 725 | 93.3801
|  | 724 | 93.3911
|  | 723 | 93.4042
|  | 722 | 93.423
|  | 721 | 93.4462
|  | 720 | 93.4734
|  | 719 | 93.4977
|  | 718 | 93.5157
|  | 717 | 93.5285
|  | 716 | 93.5342
|  | 715 | 93.5396
|  | 714 | 93.5421
|  | 713 | 93.5455
|  | 712 | 93.5517
|  | 711 | 93.5594
|  | 710 | 93.5634
|  | 709 | 93.561
|  | 708 | 93.5571
|  | 707 | 93.5513
|  | 706 | 93.5446
|  | 705 | 93.5401
|  | 704 | 93.5371
|  | 703 | 93.5356
|  | 702 | 93.5354
|  | 701 | 93.5332
|  | 700 | 93.5266
|  | 699 | 93.517
|  | 698 | 93.5052
|  | 697 | 93.4922
|  | 696 | 93.4784
|  | 695 | 93.4666
|  | 694 | 93.4585
|  | 693 | 93.4563
|  | 692 | 93.4565
|  | 691 | 93.4575
|  | 690 | 93.4583
|  | 689 | 93.4571
|  | 688 | 93.4618
|  | 687 | 93.4732
|  | 686 | 93.4915
|  | 685 | 93.512
|  | 684 | 93.533
|  | 683 | 93.5572
|  | 682 | 93.5782
|  | 681 | 93.5929
|  | 680 | 93.5999
|  | 679 | 93.6022
|  | 678 | 93.5995
|  | 677 | 93.5945
|  | 676 | 93.5889
|  | 675 | 93.5774
|  | 674 | 93.5625
|  | 673 | 93.5418
|  | 672 | 93.5199
|  | 671 | 93.4992
|  | 670 | 93.4758
|  | 669 | 93.4534
|  | 668 | 93.435
|  | 667 | 93.422
|  | 666 | 93.4127
|  | 665 | 93.4092
|  | 664 | 93.4088
|  | 663 | 93.4104
|  | 662 | 93.413
|  | 661 | 93.4116
|  | 660 | 93.4097
|  | 659 | 93.4085
|  | 658 | 93.4084
|  | 657 | 93.4102
|  | 656 | 93.4127
|  | 655 | 93.4132
|  | 654 | 93.4101
|  | 653 | 93.4042
|  | 652 | 93.3961
|  | 651 | 93.3898
|  | 650 | 93.384
|  | 649 | 93.3795
|  | 648 | 93.3798
|  | 647 | 93.3835
|  | 646 | 93.3904
|  | 645 | 93.3976
|  | 644 | 93.4024
|  | 643 | 93.4056
|  | 642 | 93.4111
|  | 641 | 93.4199
|  | 640 | 93.4325
|  | 639 | 93.4454
|  | 638 | 93.4537
|  | 637 | 93.4568
|  | 636 | 93.4592
|  | 635 | 93.4625
|  | 634 | 93.4649
|  | 633 | 93.4643
|  | 632 | 93.4631
|  | 631 | 93.4671
|  | 630 | 93.4726
|  | 629 | 93.4767
|  | 628 | 93.4796
|  | 627 | 93.4796
|  | 626 | 93.4794
|  | 625 | 93.4826
|  | 624 | 93.4933
|  | 623 | 93.5045
|  | 622 | 93.5107
|  | 621 | 93.5177
|  | 620 | 93.5268
|  | 619 | 93.5345
|  | 618 | 93.5378
|  | 617 | 93.5405
|  | 616 | 93.5429
|  | 615 | 93.5441
|  | 614 | 93.5488
|  | 613 | 93.5525
|  | 612 | 93.556
|  | 611 | 93.5547
|  | 610 | 93.5536
|  | 609 | 93.5566
|  | 608 | 93.5565
|  | 607 | 93.552
|  | 606 | 93.5472
|  | 605 | 93.5436
|  | 604 | 93.5388
|  | 603 | 93.5335
|  | 602 | 93.5282
|  | 601 | 93.518
|  | 600 | 93.5107
|  | 599 | 93.5011
|  | 598 | 93.4941
|  | 597 | 93.4874
|  | 596 | 93.4779
|  | 595 | 93.4721
|  | 594 | 93.468
|  | 593 | 93.4663
|  | 592 | 93.4638
|  | 591 | 93.4615
|  | 590 | 93.4597
|  | 589 | 93.4599
|  | 588 | 93.4621
|  | 587 | 93.4605
|  | 586 | 93.4615
|  | 585 | 93.4608
|  | 584 | 93.4579
|  | 583 | 93.4556
|  | 582 | 93.4498
|  | 581 | 93.4462
|  | 580 | 93.4408
|  | 579 | 93.4378
|  | 578 | 93.4374
|  | 577 | 93.4357
|  | 576 | 93.433
|  | 575 | 93.4306
|  | 574 | 93.43
|  | 573 | 93.4265
|  | 572 | 93.4199
|  | 571 | 93.4139
|  | 570 | 93.4094
|  | 569 | 93.4043
|  | 568 | 93.3987
|  | 567 | 93.3905
|  | 566 | 93.3813
|  | 565 | 93.3683
|  | 564 | 93.3563
|  | 563 | 93.3435
|  | 562 | 93.3324
|  | 561 | 93.3222
|  | 560 | 93.3122
|  | 559 | 93.3089
|  | 558 | 93.3087
|  | 557 | 93.3085
|  | 556 | 93.3112
|  | 555 | 93.3108
|  | 554 | 93.3145
|  | 553 | 93.3187
|  | 552 | 93.3265
|  | 551 | 93.3378
|  | 550 | 93.3501
|  | 549 | 93.3574
|  | 548 | 93.3655
|  | 547 | 93.3781
|  | 546 | 93.3878
|  | 545 | 93.3957
|  | 544 | 93.4022
|  | 543 | 93.4087
|  | 542 | 93.418
|  | 541 | 93.4296
|  | 540 | 93.441
|  | 539 | 93.4505
|  | 538 | 93.4542
|  | 537 | 93.4591
|  | 536 | 93.4696
|  | 535 | 93.4777
|  | 534 | 93.4841
|  | 533 | 93.4893
|  | 532 | 93.492
|  | 531 | 93.4955
|  | 530 | 93.5003
|  | 529 | 93.5057
|  | 528 | 93.5029
|  | 527 | 93.4998
|  | 526 | 93.4976
|  | 525 | 93.4977
|  | 524 | 93.4947
|  | 523 | 93.4887
|  | 522 | 93.4823
|  | 521 | 93.4735
|  | 520 | 93.4661
|  | 519 | 93.459
|  | 518 | 93.4516
|  | 517 | 93.4394
|  | 516 | 93.4259
|  | 515 | 93.4176
|  | 514 | 93.407
|  | 513 | 93.3943
|  | 512 | 93.3859
|  | 511 | 93.3821
|  | 510 | 93.3801
|  | 509 | 93.3807
|  | 508 | 93.384
|  | 507 | 93.3856
|  | 506 | 93.3892
|  | 505 | 93.3961
|  | 504 | 93.4094
|  | 503 | 93.4222
|  | 502 | 93.4385
|  | 501 | 93.4576
|  | 500 | 93.4781
|  | 499 | 93.4941
|  | 498 | 93.5054
|  | 497 | 93.5135
|  | 496 | 93.5199
|  | 495 | 93.5253
|  | 494 | 93.5328
|  | 493 | 93.5403
|  | 492 | 93.5398
|  | 491 | 93.5353
|  | 490 | 93.533
|  | 489 | 93.5217
|  | 488 | 93.5104
|  | 487 | 93.5003
|  | 486 | 93.4903
|  | 485 | 93.4817
|  | 484 | 93.4768
|  | 483 | 93.4747
|  | 482 | 93.4703
|  | 481 | 93.4652
|  | 480 | 93.4601
|  | 479 | 93.4607
|  | 478 | 93.4605
|  | 477 | 93.4595
|  | 476 | 93.4639
|  | 475 | 93.468
|  | 474 | 93.4727
|  | 473 | 93.4783
|  | 472 | 93.487
|  | 471 | 93.4941
|  | 470 | 93.4978
|  | 469 | 93.5054
|  | 468 | 93.5118
|  | 467 | 93.5199
|  | 466 | 93.5255
|  | 465 | 93.5303
|  | 464 | 93.5339
|  | 463 | 93.54
|  | 462 | 93.5431
|  | 461 | 93.5419
|  | 460 | 93.5424
|  | 459 | 93.5424
|  | 458 | 93.541
|  | 457 | 93.5413
|  | 456 | 93.5398
|  | 455 | 93.5419
|  | 454 | 93.5397
|  | 453 | 93.5433
|  | 452 | 93.5544
|  | 451 | 93.5677
|  | 450 | 93.5785
|  | 449 | 93.5947
|  | 448 | 93.6151
|  | 447 | 93.6306
|  | 446 | 93.6444
|  | 445 | 93.6633
|  | 444 | 93.6797
|  | 443 | 93.6963
|  | 442 | 93.7098
|  | 441 | 93.7297
|  | 440 | 93.746
|  | 439 | 93.7523
|  | 438 | 93.7586
|  | 437 | 93.7641
|  | 436 | 93.7686
|  | 435 | 93.7711
|  | 434 | 93.7789
|  | 433 | 93.7835
|  | 432 | 93.7804
|  | 431 | 93.7824
|  | 430 | 93.7855
|  | 429 | 93.7901
|  | 428 | 93.7875
|  | 427 | 93.786
|  | 426 | 93.7939
|  | 425 | 93.8004
|  | 424 | 93.8057
|  | 423 | 93.8073
|  | 422 | 93.812
|  | 421 | 93.8131
|  | 420 | 93.8195
|  | 419 | 93.8295
|  | 418 | 93.8325
|  | 417 | 93.8325
|  | 416 | 93.8337
|  | 415 | 93.8396
|  | 414 | 93.8363
|  | 413 | 93.8235
|  | 412 | 93.8059
|  | 411 | 93.791
|  | 410 | 93.7748
|  | 409 | 93.7451
|  | 408 | 93.7065
|  | 407 | 93.6507
|  | 406 | 93.5836
|  | 405 | 93.5796
|  | 404 | 93.5323
|  | 403 | 93.4211
|  | 402 | 93.2686
|  | 401 | 93.0916
|  | 400 | 92.9267
|  | 399 | 92.73
|  | 398 | 92.5219
|  | 397 | 92.2236
|  | 396 | 91.8076
|  | 395 | 91.3414
|  | 394 | 90.7716
|  | 393 | 90.0758
|  | 392 | 89.1891
|  | 391 | 88.1331
|  | 390 | 86.9735
|  | 389 | 85.6552
|  | 388 | 84.1107
|  | 387 | 82.2655
|  | 386 | 80.1676
|  | 385 | 77.7529
|  | 384 | 75.0826
|  | 383 | 72.205
|  | 382 | 69.0192
|  | 381 | 65.6208
|  | 380 | 61.9836
|  | 379 | 58.1966
|  | 378 | 54.3491
|  | 377 | 50.3811
|  | 376 | 46.3588
|  | 375 | 42.3392
|  | 374 | 38.4261
|  | 373 | 34.6229
|  | 372 | 31.009
|  | 371 | 27.6082
|  | 370 | 24.4371
|  | 369 | 21.5439
|  | 368 | 18.9025
|  | 367 | 16.5747
|  | 366 | 14.4684
|  | 365 | 12.5904
|  | 364 | 10.9502
|  | 363 | 9.5254
|  | 362 | 8.3247
|  | 361 | 7.2747
|  | 360 | 6.3839
|  | 359 | 5.6082
|  | 358 | 4.9486
|  | 357 | 4.3823
|  | 356 | 3.8903
|  | 355 | 3.4721
|  | 354 | 3.1054
|  | 353 | 2.7942
|  | 352 | 2.5184
|  | 351 | 2.2839
|  | 350 | 2.0821
|  | 349 | 1.9005
|  | 348 | 1.7517
|  | 347 | 1.6226
|  | 346 | 1.5327
|  | 345 | 1.4742
|  | 344 | 1.422
|  | 343 | 1.3741
|  | 342 | 1.3349
|  | 341 | 1.3184
|  | 340 | 1.3262
|  | 339 | 1.3502
|  | 338 | 1.368
|  | 337 | 1.3963
|  | 336 | 1.4436
|  | 335 | 1.4989
|  | 334 | 1.5723
|  | 333 | 1.6439
|  | 332 | 1.7208
|  | 331 | 1.8261
|  | 330 | 1.9607
|  | 329 | 2.1217
|  | 328 | 2.2728
|  | 327 | 2.4337
|  | 326 | 2.6288
|  | 325 | 2.8404
|  | 324 | 3.0548
|  | 323 | 3.2619
|  | 322 | 3.4697
|  | 321 | 3.679
|  | 320 | 3.8626
|  | 319 | 4.023
|  | 318 | 4.1745
|  | 317 | 4.2943
|  | 316 | 4.3442
|  | 315 | 4.3522
|  | 314 | 4.3074
|  | 313 | 4.2172
|  | 312 | 4.1222
|  | 311 | 4.004
|  | 310 | 3.8687
|  | 309 | 3.7267
|  | 308 | 3.5538
|  | 307 | 3.3852
|  | 306 | 3.2262
|  | 305 | 3.1014
|  | 304 | 2.9707
|  | 303 | 2.8663
|  | 302 | 2.7967
|  | 301 | 2.7471
|  | 300 | 2.6939