## Responsivity
NS170C Responsivity
|  | Wavelength (nm) | Normalized Responsivity
|  | 700 | 4.7789e-05
|  | 705 | 4.7627e-05
|  | 710 | 4.0576e-05
|  | 715 | 3.3353e-05
Product Raw Data |  | 720 | 2.5019e-05
NS170C Responsivity |  | 725 | 1.5386e-05
|  | 730 | 6.7535e-06
Item # | NS170C | 735 | 1.5643e-06
DISCLAIMER: The data presented here are typical. Slight variations in performance data will occur from lot to lot. Please contact Technical Support with any questions regarding the use or reliability of this data. |  | 740 | 5.0998e-07
|  | 745 | 4.1033e-06
|  | 750 | 1.3104e-05
|  | 755 | 2.7457e-05
|  | 760 | 4.6249e-05
|  | 765 | 7.1892e-05
This data may be used in publications. However, please cite Thorlabs as the source. |  | 770 | 0.00012533
|  | 775 | 0.0069477
|  | 780 | 0.1266
Additional Information: |  | 785 | 0.29104 | Note: This is a theoretical curve that is representative of the SHG power detected as a function of the focused pulse's central wavelength. Degree level changes to the pitch, roll, and yaw of the sensor relative to the incident light can cause changes to the shape of the responsivity. Under typical laboratory conditions, the orientation of the sensor can be adjusted by-hand to optimize the SHG signal level; however, users should take note that such an optimization routine is necessary to establish long-term system performance data or global maximum SHG readings. For singular pulse optimization tasks, less care is necessary in pitch/roll optimization, as the peak power readout through the SHG signal on the power meter will respond appropriately even if off the global best orientation; however, we would still recommend optimizing the crystal rotation (yaw).
|  | 790 | 0.353
|  | 795 | 0.40796
|  | 800 | 0.46419
|  | 805 | 0.51894
|  | 810 | 0.57276
|  | 815 | 0.62362
|  | 820 | 0.67337
|  | 825 | 0.70956
|  | 830 | 0.7464
|  | 835 | 0.78826
|  | 840 | 0.8222
|  | 845 | 0.85916
|  | 850 | 0.8883
|  | 855 | 0.91383
|  | 860 | 0.93846
|  | 865 | 0.95983
|  | 870 | 0.96586
|  | 875 | 0.98806
|  | 880 | 0.99246
|  | 885 | 0.98857
|  | 890 | 0.9883
|  | 895 | 0.99078
|  | 900 | 1
|  | 905 | 0.98445
|  | 910 | 0.97911
|  | 915 | 0.9847
|  | 920 | 0.97408
|  | 925 | 0.9674
|  | 930 | 0.95377
|  | 935 | 0.96008
|  | 940 | 0.948
|  | 945 | 0.94479
|  | 950 | 0.93242
|  | 955 | 0.91478
|  | 960 | 0.9037
|  | 965 | 0.89354
|  | 970 | 0.87709
|  | 975 | 0.86295
|  | 980 | 0.84629
|  | 985 | 0.83276
|  | 990 | 0.8187
|  | 995 | 0.80287
|  | 1000 | 0.78766
|  | 1005 | 0.77334
|  | 1010 | 0.75768
|  | 1015 | 0.74175
|  | 1020 | 0.72803
|  | 1025 | 0.70756
|  | 1030 | 0.6945
|  | 1035 | 0.68013
|  | 1040 | 0.66962
|  | 1045 | 0.65429
|  | 1050 | 0.64127
|  | 1055 | 0.62636
|  | 1060 | 0.61827
|  | 1065 | 0.6066
|  | 1070 | 0.59383
|  | 1075 | 0.58708
|  | 1080 | 0.57599
|  | 1085 | 0.56417
|  | 1090 | 0.55767
|  | 1095 | 0.55193
|  | 1100 | 0.54136
|  | 1105 | 0.53217
|  | 1110 | 0.52602
|  | 1115 | 0.51656
|  | 1120 | 0.5067
|  | 1125 | 0.49717
|  | 1130 | 0.48722
|  | 1135 | 0.48126
|  | 1140 | 0.47609
|  | 1145 | 0.4632
|  | 1150 | 0.45582
|  | 1155 | 0.44946
|  | 1160 | 0.443
|  | 1165 | 0.42976
|  | 1170 | 0.42523
|  | 1175 | 0.41376
|  | 1180 | 0.41046
|  | 1185 | 0.40099
|  | 1190 | 0.39405
|  | 1195 | 0.38543
|  | 1200 | 0.37735
|  | 1205 | 0.36969
|  | 1210 | 0.36599
|  | 1215 | 0.35559
|  | 1220 | 0.35173
|  | 1225 | 0.33759
|  | 1230 | 0.33906
|  | 1235 | 0.32666
|  | 1240 | 0.32033
|  | 1245 | 0.31444
|  | 1250 | 0.31131
|  | 1255 | 0.29466
|  | 1260 | 0.2965
|  | 1265 | 0.28652
|  | 1270 | 0.28154
|  | 1275 | 0.27405
|  | 1280 | 0.27046
|  | 1285 | 0.25823
|  | 1290 | 0.25694
|  | 1295 | 0.24373
|  | 1300 | 0.24483
|  | 1305 | 0.23604
|  | 1310 | 0.23114
|  | 1315 | 0.22453
|  | 1320 | 0.22174
|  | 1325 | 0.21103
|  | 1330 | 0.21058
|  | 1335 | 0.20212
|  | 1340 | 0.1985
|  | 1345 | 0.1896
|  | 1350 | 0.18456
|  | 1355 | 0.17872
|  | 1360 | 0.17754
|  | 1365 | 0.16768
|  | 1370 | 0.16558
|  | 1375 | 0.15611
|  | 1380 | 0.15133
|  | 1385 | 0.14604
|  | 1390 | 0.14234
|  | 1395 | 0.024525
|  | 1400 | 0.00026854

## Optical Filters
NS170C Optical Filters
|  | Wavelength (nm) | Transmission (%) | OD
|  | 200 | 3.5594e-09 | 10.4486
|  | 205 | 1.0921e-09 | 10.9617
|  | 210 | 1.4699e-09 | 10.8327
|  | 215 | 5.1866e-10 | 11.2851
Product Raw Data |  | 220 | 1.2483e-09 | 10.9037
NS170C Optical Filters |  | 225 | 1.0422e-09 | 10.982
|  | 230 | 3.1028e-10 | 11.5083
Item # | NS170C | 235 | 2.885e-10 | 11.5399
DISCLAIMER: The data presented here are typical. Slight variations in performance data will occur from lot to lot. Please contact Technical Support with any questions regarding the use or reliability of this data. |  | 240 | 4.1649e-10 | 11.3804
|  | 245 | 2.1077e-09 | 10.6762
|  | 250 | 6.9025e-10 | 11.161
|  | 255 | 5.0226e-10 | 11.2991
|  | 260 | 6.5129e-10 | 11.1862
|  | 265 | 3.2864e-09 | 10.4833
This data may be used in publications. However, please cite Thorlabs as the source. |  | 270 | 1.1816e-09 | 10.9275
|  | 275 | 2.0005e-08 | 9.6989
|  | 280 | 9.3581e-08 | 9.0288
Additional Information: |  | 285 | 3.145e-07 | 8.5024
|  | 290 | 8.2606e-07 | 8.083
|  | 295 | 1.8296e-06 | 7.7377
|  | 300 | 3.6675e-06 | 7.4356
|  | 305 | 5.8306e-06 | 7.2343
|  | 310 | 8.8789e-06 | 7.0516
|  | 315 | 1.2816e-05 | 6.8922
|  | 320 | 1.5896e-05 | 6.7987
|  | 325 | 1.9195e-05 | 6.7168
|  | 330 | 2.3036e-05 | 6.6376
|  | 335 | 2.4246e-05 | 6.6154
|  | 340 | 2.4782e-05 | 6.6059
|  | 345 | 2.7806e-05 | 6.5559
|  | 350 | 5.9168e-05 | 6.2279
|  | 355 | 2.6196e-05 | 6.5818
|  | 360 | 4.7193e-05 | 6.3261
|  | 365 | 4.9547e-05 | 6.305
|  | 370 | 2.8257e-05 | 6.5489
|  | 375 | 1.192e-05 | 6.9237
|  | 380 | 0.00154 | 4.8129
|  | 385 | 1.3268 | 1.8772
|  | 390 | 35.295 | 0.45229
|  | 395 | 81.5583 | 0.08853
|  | 400 | 80.7748 | 0.09272
|  | 405 | 78.209 | 0.10674
|  | 410 | 79.0008 | 0.10237
|  | 415 | 79.8759 | 0.09758
|  | 420 | 78.7233 | 0.1039
|  | 425 | 77.4496 | 0.11098
|  | 430 | 79.0781 | 0.10194
|  | 435 | 79.6421 | 0.09886
|  | 440 | 80.5078 | 0.09416
|  | 445 | 81.2997 | 0.08991
|  | 450 | 80.6549 | 0.09337
|  | 455 | 80.5688 | 0.09383
|  | 460 | 80.7334 | 0.09295
|  | 465 | 81.1066 | 0.09094
|  | 470 | 81.6095 | 0.08826
|  | 475 | 82.6369 | 0.08283
|  | 480 | 82.4281 | 0.08392
|  | 485 | 82.6038 | 0.083
|  | 490 | 82.8134 | 0.0819
|  | 495 | 82.9817 | 0.08102
|  | 500 | 82.6863 | 0.08257
|  | 505 | 83.2854 | 0.07943
|  | 510 | 82.9133 | 0.08138
|  | 515 | 82.4139 | 0.084
|  | 520 | 82.1021 | 0.08565
|  | 525 | 81.8089 | 0.0872
|  | 530 | 81.2395 | 0.09023
|  | 535 | 81.683 | 0.08787
|  | 540 | 82.1605 | 0.08534
|  | 545 | 83.0785 | 0.08051
|  | 550 | 83.038 | 0.08072
|  | 555 | 83.2593 | 0.07957
|  | 560 | 82.6904 | 0.08255
|  | 565 | 82.7966 | 0.08199
|  | 570 | 82.2703 | 0.08476
|  | 575 | 81.9704 | 0.08634
|  | 580 | 81.6676 | 0.08795
|  | 585 | 80.9908 | 0.09156
|  | 590 | 80.7092 | 0.09308
|  | 595 | 79.2004 | 0.10127
|  | 600 | 78.1582 | 0.10703
|  | 605 | 77.3205 | 0.11171
|  | 610 | 75.8335 | 0.12014
|  | 615 | 74.5324 | 0.12765
|  | 620 | 73.0814 | 0.13619
|  | 625 | 71.8387 | 0.14364
|  | 630 | 69.5157 | 0.15792
|  | 635 | 67.7142 | 0.16932
|  | 640 | 65.9366 | 0.18087
|  | 645 | 64.1561 | 0.19276
|  | 650 | 62.4166 | 0.2047
|  | 655 | 60.3214 | 0.21953
|  | 660 | 57.9611 | 0.23686
|  | 665 | 55.8034 | 0.25334
|  | 670 | 53.5441 | 0.27129
|  | 675 | 51.4296 | 0.28879
|  | 680 | 48.7539 | 0.31199
|  | 685 | 46.5653 | 0.33194
|  | 690 | 43.8368 | 0.35816
|  | 695 | 40.8597 | 0.38871
|  | 700 | 3.1152 | 1.5065
|  | 705 | 0.00011477 | 5.9402
|  | 710 | 1.5758e-05 | 6.8025
|  | 715 | 6.3845e-06 | 7.1949
|  | 720 | 5.9206e-06 | 7.2276
|  | 725 | 7.6994e-06 | 7.1135
|  | 730 | 2.544e-06 | 7.5945
|  | 735 | 1.3656e-05 | 6.8647
|  | 740 | 2.1665e-05 | 6.6642
|  | 745 | 6.3452e-06 | 7.1975
|  | 750 | 1.9044e-06 | 7.7202
|  | 755 | 3.2652e-06 | 7.4861
|  | 760 | 2.955e-06 | 7.5294
|  | 765 | 2.8128e-06 | 7.5509
|  | 770 | 6.7402e-06 | 7.1713
|  | 775 | 6.787e-06 | 7.1683
|  | 780 | 6.8766e-06 | 7.1626
|  | 785 | 3.4058e-06 | 7.4678
|  | 790 | 1.5841e-06 | 7.8002
|  | 795 | 5.7616e-06 | 7.2395
|  | 800 | 1.2165e-05 | 6.9149
|  | 805 | 1.2738e-05 | 6.8949
|  | 810 | 1.224e-06 | 7.9122
|  | 815 | 1.3867e-07 | 8.858
|  | 820 | 1.6017e-06 | 7.7954
|  | 825 | 3.346e-07 | 8.4755
|  | 830 | 4.216e-07 | 8.3751
|  | 835 | 5.7458e-07 | 8.2407
|  | 840 | 7.9771e-08 | 9.0982
|  | 845 | 8.1545e-07 | 8.0886
|  | 850 | 2.8835e-06 | 7.5401
|  | 855 | 2.2221e-06 | 7.6532
|  | 860 | 8.4056e-08 | 9.0754
|  | 865 | 4.2685e-08 | 9.3697
|  | 870 | 3.968e-06 | 7.4014
|  | 875 | 8.1648e-08 | 9.0881
|  | 880 | 2.309e-08 | 9.6366
|  | 885 | 2.7339e-06 | 7.5632
|  | 890 | 5.6301e-07 | 8.2495
|  | 895 | 3.8514e-08 | 9.4144
|  | 900 | 3.5999e-08 | 9.4437
|  | 905 | 1.709e-08 | 9.7673
|  | 910 | 2.9518e-08 | 9.5299
|  | 915 | 5.3573e-07 | 8.2711
|  | 920 | 1.8141e-08 | 9.7413
|  | 925 | 7.0936e-09 | 10.1491
|  | 930 | 2.3523e-08 | 9.6285
|  | 935 | 1.7784e-08 | 9.75
|  | 940 | 5.124e-09 | 10.2904
|  | 945 | 6.436e-09 | 10.1914
|  | 950 | 3.8944e-09 | 10.4096
|  | 955 | 1.4827e-08 | 9.829
|  | 960 | 1.2362e-08 | 9.9079
|  | 965 | 4.1331e-09 | 10.3837
|  | 970 | 2.8668e-09 | 10.5426
|  | 975 | 1.0871e-07 | 8.9637
|  | 980 | 4.5294e-09 | 10.344
|  | 985 | 9.1545e-08 | 9.0384
|  | 990 | 1.9244e-09 | 10.7157
|  | 995 | 9.4557e-10 | 11.0243
|  | 1000 | 8.5156e-10 | 11.0698
|  | 1005 | 8.9221e-10 | 11.0495
|  | 1010 | 1.0245e-09 | 10.9895
|  | 1015 | 1.3331e-09 | 10.8751
|  | 1020 | 2.1106e-09 | 10.6756
|  | 1025 | 3.1149e-09 | 10.5066
|  | 1030 | 5.328e-10 | 11.2734
|  | 1035 | 1.0676e-08 | 9.9716
|  | 1040 | 1.6048e-09 | 10.7946
|  | 1045 | 1.2411e-09 | 10.9062
|  | 1050 | 3.7131e-10 | 11.4303
|  | 1055 | 1.0594e-09 | 10.9749
|  | 1060 | 2.2178e-09 | 10.6541
|  | 1065 | 2.1606e-09 | 10.6654
|  | 1070 | 1.5374e-10 | 11.8132
|  | 1075 | 2.754e-10 | 11.56
|  | 1080 | 1.4123e-08 | 9.8501
|  | 1085 | 7.3267e-10 | 11.1351
|  | 1090 | 8.9686e-10 | 11.0473
|  | 1095 | 4.536e-10 | 11.3433
|  | 1100 | 1.3767e-09 | 10.8612
|  | 1105 | 1.3261e-09 | 10.8774
|  | 1110 | 9.1769e-10 | 11.0373
|  | 1115 | 5.0706e-10 | 11.2949
|  | 1120 | 1.1269e-08 | 9.9481
|  | 1125 | 9.8621e-09 | 10.006
|  | 1130 | 1.8249e-10 | 11.7388
|  | 1135 | 1.1388e-08 | 9.9436
|  | 1140 | 4.4064e-10 | 11.3559
|  | 1145 | 1.6879e-09 | 10.7727
|  | 1150 | 2.5373e-09 | 10.5956
|  | 1155 | 2.6009e-09 | 10.5849
|  | 1160 | 1.875e-09 | 10.727
|  | 1165 | 1.8214e-10 | 11.7396
|  | 1170 | 4.2612e-10 | 11.3705
|  | 1175 | 2.7783e-10 | 11.5562
|  | 1180 | 3.2296e-10 | 11.4908
|  | 1185 | 8.2124e-10 | 11.0855
|  | 1190 | 3.2995e-09 | 10.4816
|  | 1195 | 1.6645e-08 | 9.7787
|  | 1200 | 6.5024e-09 | 10.1869
|  | 1205 | 6.7184e-09 | 10.1727
|  | 1210 | 7.6155e-11 | 12.1183
|  | 1215 | 3.9046e-09 | 10.4084
|  | 1220 | 5.5983e-08 | 9.2519
|  | 1225 | 2.2707e-08 | 9.6438
|  | 1230 | 2.6761e-09 | 10.5725
|  | 1235 | 3.7142e-09 | 10.4301
|  | 1240 | 3.6272e-08 | 9.4404
|  | 1245 | 5.6577e-08 | 9.2474
|  | 1250 | 2.5408e-08 | 9.595
|  | 1255 | 1.5284e-07 | 8.8158
|  | 1260 | 1.9798e-07 | 8.7034
|  | 1265 | 6.2117e-08 | 9.2068
|  | 1270 | 1.181e-08 | 9.9277
|  | 1275 | 2.1393e-07 | 8.6697
|  | 1280 | 7.2126e-07 | 8.1419
|  | 1285 | 1.5693e-06 | 7.8043
|  | 1290 | 2.1519e-06 | 7.6672
|  | 1295 | 1.2415e-06 | 7.9061
|  | 1300 | 1.5302e-06 | 7.8153
|  | 1305 | 5.5782e-05 | 6.2535
|  | 1310 | 0.00014585 | 5.8361
|  | 1315 | 9.3354e-05 | 6.0299
|  | 1320 | 0.0081 | 4.0912
|  | 1325 | 0.02446 | 3.6116
|  | 1330 | 0.09527 | 3.0211
|  | 1335 | 0.05318 | 3.2743
|  | 1340 | 0.01222 | 3.913
|  | 1345 | 0.1078 | 2.9674
|  | 1350 | 0.05588 | 3.2527
|  | 1355 | 0.0112 | 3.9506
|  | 1360 | 0.02581 | 3.5882
|  | 1365 | 0.11102 | 2.9546
|  | 1370 | 0.01557 | 3.8077
|  | 1375 | 0.04334 | 3.3631
|  | 1380 | 0.0881 | 3.055
|  | 1385 | 0.09013 | 3.0451
|  | 1390 | 0.0525 | 3.2798
|  | 1395 | 0.02118 | 3.6742
|  | 1400 | 0.005 | 4.3007
|  | 1405 | 0.00044196 | 5.3546
|  | 1410 | 0.00905 | 4.0435
|  | 1415 | 0.02163 | 3.665
|  | 1420 | 0.02873 | 3.5417
|  | 1425 | 0.01614 | 3.7921
|  | 1430 | 0.01766 | 3.753
|  | 1435 | 0.03156 | 3.5008
|  | 1440 | 0.03472 | 3.4594
|  | 1445 | 0.01242 | 3.9058
|  | 1450 | 0.00693 | 4.1591
|  | 1455 | 0.03105 | 3.5079
|  | 1460 | 0.0357 | 3.4473
|  | 1465 | 0.00498 | 4.3028
|  | 1470 | 0.01965 | 3.7066
|  | 1475 | 0.03988 | 3.3992
|  | 1480 | 0.06874 | 3.1628
|  | 1485 | 0.07626 | 3.1177
|  | 1490 | 0.05319 | 3.2742
|  | 1495 | 0.0208 | 3.6819
|  | 1500 | 0.00157 | 4.8053
|  | 1505 | 0.00988 | 4.0054
|  | 1510 | 0.01214 | 3.9159
|  | 1515 | 0.02254 | 3.6471
|  | 1520 | 0.00836 | 4.0778
|  | 1525 | 0.01033 | 3.986
|  | 1530 | 0.03931 | 3.4055
|  | 1535 | 0.03626 | 3.4405
|  | 1540 | 0.01256 | 3.9012
|  | 1545 | 0.01667 | 3.778
|  | 1550 | 0.04901 | 3.3097
|  | 1555 | 0.05 | 3.301
|  | 1560 | 0.02984 | 3.5252
|  | 1565 | 0.02013 | 3.6961
|  | 1570 | 0.00484 | 4.315
|  | 1575 | 0.0085 | 4.0707
|  | 1580 | 0.00378 | 4.4221
|  | 1585 | 0.02072 | 3.6835
|  | 1590 | 0.03484 | 3.4579
|  | 1595 | 0.02916 | 3.5352
|  | 1600 | 0.0224 | 3.6498
|  | 1605 | 0.03591 | 3.4447
|  | 1610 | 0.04116 | 3.3856
|  | 1615 | 0.0416 | 3.3809
|  | 1620 | 0.03839 | 3.4158
|  | 1625 | 0.04636 | 3.3339
|  | 1630 | 0.05409 | 3.2669
|  | 1635 | 0.06084 | 3.2158
|  | 1640 | 0.0529 | 3.2765
|  | 1645 | 0.01513 | 3.8203
|  | 1650 | 0.01027 | 3.9883
|  | 1655 | 0.00664 | 4.178
|  | 1660 | 0.039 | 3.4089
|  | 1665 | 0.05448 | 3.2638
|  | 1670 | 0.0443 | 3.3536
|  | 1675 | 0.04602 | 3.337
|  | 1680 | 0.07294 | 3.137
|  | 1685 | 0.06729 | 3.172
|  | 1690 | 0.03827 | 3.4172
|  | 1695 | 0.03905 | 3.4083
|  | 1700 | 0.06593 | 3.1809
|  | 1705 | 0.08869 | 3.0521
|  | 1710 | 0.07302 | 3.1366
|  | 1715 | 0.04015 | 3.3963
|  | 1720 | 0.03917 | 3.407
|  | 1725 | 0.05223 | 3.2821
|  | 1730 | 0.0635 | 3.1972
|  | 1735 | 0.08103 | 3.0914
|  | 1740 | 0.10222 | 2.9905
|  | 1745 | 0.09687 | 3.0138
|  | 1750 | 0.05769 | 3.2389
|  | 1755 | 0.00732 | 4.1355
|  | 1760 | 0.00817 | 4.0875
|  | 1765 | 0.02335 | 3.6316
|  | 1770 | 0.09909 | 3.004
|  | 1775 | 0.2168 | 2.6639
|  | 1780 | 0.24715 | 2.607
|  | 1785 | 0.18772 | 2.7265
|  | 1790 | 0.15639 | 2.8058
|  | 1795 | 0.1149 | 2.9397
|  | 1800 | 0.08406 | 3.0754
|  | 1805 | 0.07423 | 3.1294
|  | 1810 | 0.08811 | 3.055
|  | 1815 | 0.08728 | 3.0591
|  | 1820 | 0.0204 | 3.6904
|  | 1825 | 0.0048 | 4.3183
|  | 1830 | 0.00297 | 4.5271
|  | 1835 | 0.08374 | 3.0771
|  | 1840 | 0.09171 | 3.0376
|  | 1845 | 0.25796 | 2.5884
|  | 1850 | 0.25534 | 2.5929
|  | 1855 | 0.0282 | 3.5498
|  | 1860 | 0.26965 | 2.5692
|  | 1865 | 0.03148 | 3.502
|  | 1870 | 0.36773 | 2.4345
|  | 1875 | 0.31669 | 2.4994
|  | 1880 | 0.16334 | 2.7869
|  | 1885 | 0.05008 | 3.3003
|  | 1890 | 0.0447 | 3.3497
|  | 1895 | 0.0236 | 3.6271
|  | 1900 | 0.03974 | 3.4008
|  | 1905 | 0.04221 | 3.3746
|  | 1910 | 0.12115 | 2.9167
|  | 1915 | 0.14714 | 2.8323
|  | 1920 | 0.03425 | 3.4653
|  | 1925 | 0.11956 | 2.9224
|  | 1930 | 0.15717 | 2.8036
|  | 1935 | 0.21304 | 2.6715
|  | 1940 | 0.20489 | 2.6885
|  | 1945 | 0.16578 | 2.7805
|  | 1950 | 0.15929 | 2.7978
|  | 1955 | 0.15818 | 2.8009
|  | 1960 | 0.16007 | 2.7957
|  | 1965 | 0.15489 | 2.81
|  | 1970 | 0.16165 | 2.7914
|  | 1975 | 0.15506 | 2.8095
|  | 1980 | 0.13573 | 2.8673
|  | 1985 | 0.09457 | 3.0242
|  | 1990 | 0.06949 | 3.1581
|  | 1995 | 0.09097 | 3.0411
|  | 2000 | 0.10763 | 2.968
|  | 2005 | 0.0997 | 3.0013
|  | 2010 | 0.08618 | 3.0646
|  | 2015 | 0.0678 | 3.1688
|  | 2020 | 0.065 | 3.1871
|  | 2025 | 0.07055 | 3.1515
|  | 2030 | 0.07637 | 3.1171
|  | 2035 | 0.0777 | 3.1096
|  | 2040 | 0.07313 | 3.1359
|  | 2045 | 0.07102 | 3.1486
|  | 2050 | 0.08246 | 3.0838
|  | 2055 | 0.09478 | 3.0233
|  | 2060 | 0.09539 | 3.0205
|  | 2065 | 0.05796 | 3.2369
|  | 2070 | 0.04332 | 3.3634
|  | 2075 | 0.07331 | 3.1348
|  | 2080 | 0.08122 | 3.0903
|  | 2085 | 0.08433 | 3.074
|  | 2090 | 0.08572 | 3.0669
|  | 2095 | 0.08009 | 3.0964
|  | 2100 | 0.07707 | 3.1131
|  | 2105 | 0.07293 | 3.1371
|  | 2110 | 0.07298 | 3.1368
|  | 2115 | 0.07478 | 3.1262
|  | 2120 | 0.08267 | 3.0826
|  | 2125 | 0.08173 | 3.0876
|  | 2130 | 0.06833 | 3.1654
|  | 2135 | 0.07605 | 3.1189
|  | 2140 | 0.08773 | 3.0568
|  | 2145 | 0.07607 | 3.1188
|  | 2150 | 0.06826 | 3.1658
|  | 2155 | 0.05768 | 3.239
|  | 2160 | 0.07543 | 3.1225
|  | 2165 | 0.12515 | 2.9026
|  | 2170 | 0.1538 | 2.8131
|  | 2175 | 0.13613 | 2.866
|  | 2180 | 0.12123 | 2.9164
|  | 2185 | 0.08195 | 3.0865
|  | 2190 | 0.01431 | 3.8443
|  | 2195 | 0.03027 | 3.519
|  | 2200 | 0.00344 | 4.4639
|  | 2205 | 0.04365 | 3.36
|  | 2210 | 0.07903 | 3.1022
|  | 2215 | 0.06306 | 3.2002
|  | 2220 | 0.06578 | 3.1819
|  | 2225 | 0.07818 | 3.1069
|  | 2230 | 0.0734 | 3.1343
|  | 2235 | 0.09722 | 3.0123
|  | 2240 | 0.08776 | 3.0567
|  | 2245 | 0.06596 | 3.1808
|  | 2250 | 0.08537 | 3.0687
|  | 2255 | 0.1094 | 2.961
|  | 2260 | 0.09442 | 3.0249
|  | 2265 | 0.06622 | 3.179
|  | 2270 | 0.07926 | 3.101
|  | 2275 | 0.09786 | 3.0094
|  | 2280 | 0.11627 | 2.9345
|  | 2285 | 0.10035 | 2.9985
|  | 2290 | 0.0969 | 3.0137
|  | 2295 | 0.128 | 2.8928
|  | 2300 | 0.12194 | 2.9139
|  | 2305 | 0.083 | 3.0809
|  | 2310 | 0.06882 | 3.1623
|  | 2315 | 0.10487 | 2.9794
|  | 2320 | 0.14437 | 2.8405
|  | 2325 | 0.1359 | 2.8668
|  | 2330 | 0.1187 | 2.9255
|  | 2335 | 0.10214 | 2.9908
|  | 2340 | 0.1196 | 2.9223
|  | 2345 | 0.11027 | 2.9576
|  | 2350 | 0.11288 | 2.9474
|  | 2355 | 0.13938 | 2.8558
|  | 2360 | 0.13971 | 2.8548
|  | 2365 | 0.16388 | 2.7855
|  | 2370 | 0.13955 | 2.8553
|  | 2375 | 0.14649 | 2.8342
|  | 2380 | 0.18057 | 2.7433
|  | 2385 | 0.1695 | 2.7708
|  | 2390 | 0.1592 | 2.7981
|  | 2395 | 0.17526 | 2.7563
|  | 2400 | 0.15651 | 2.8055
|  | 2405 | 0.15928 | 2.7978
|  | 2410 | 0.19318 | 2.714
|  | 2415 | 0.19262 | 2.7153
|  | 2420 | 0.18696 | 2.7283
|  | 2425 | 0.21224 | 2.6732
|  | 2430 | 0.20853 | 2.6808
|  | 2435 | 0.20072 | 2.6974
|  | 2440 | 0.20955 | 2.6787
|  | 2445 | 0.24619 | 2.6087
|  | 2450 | 0.24344 | 2.6136
|  | 2455 | 0.22165 | 2.6543
|  | 2460 | 0.248 | 2.6056
|  | 2465 | 0.25095 | 2.6004
|  | 2470 | 0.28506 | 2.5451
|  | 2475 | 0.27823 | 2.5556
|  | 2480 | 0.27742 | 2.5568
|  | 2485 | 0.30018 | 2.5226
|  | 2490 | 0.34029 | 2.4682
|  | 2495 | 0.35697 | 2.4474
|  | 2500 | 0.38103 | 2.419
|  | 2505 | 0.41953 | 2.3772
|  | 2510 | 0.40498 | 2.3926
|  | 2515 | 0.36372 | 2.4392
|  | 2520 | 0.27946 | 2.5537
|  | 2525 | 0.27997 | 2.5529
|  | 2530 | 0.40959 | 2.3876
|  | 2535 | 0.46165 | 2.3357
|  | 2540 | 0.47531 | 2.323
|  | 2545 | 0.52422 | 2.2805
|  | 2550 | 0.37839 | 2.4221
|  | 2555 | 0.22464 | 2.6485
|  | 2560 | 0.37009 | 2.4317
|  | 2565 | 0.54538 | 2.2633
|  | 2570 | 0.48739 | 2.3121
|  | 2575 | 0.27822 | 2.5556
|  | 2580 | 0.22826 | 2.6416
|  | 2585 | 0.27291 | 2.564
|  | 2590 | 0.36758 | 2.4346
|  | 2595 | 0.42875 | 2.3678
|  | 2600 | 0.45376 | 2.3432

## Focal Position
NS170C Response vs. Focal Position
|  | Focal Position (µm) | Normalized SHG Signal (uW)
|  | -530 | 0.001087
|  | -480 | 0.0014493
|  | -430 | 0.0014493
|  | -330 | 0.0014493
Product Raw Data |  | -230 | 0.0018116
NS170C Response vs. Objective Focal Position |  | -180 | 0.0021739
|  | -130 | 0.0032609
Item # | NS170C | -80 | 0.0076087
DISCLAIMER: The data presented here are typical. Slight variations in performance data will occur from lot to lot. Please contact Technical Support with any questions regarding the use or reliability of this data. |  | -60 | 0.01087
|  | -40 | 0.025362
|  | -30 | 0.047101
|  | -20 | 0.27572
|  | -15 | 0.62681
|  | -10 | 0.82246
This data may be used in publications. However, please cite Thorlabs as the source. |  | -5 | 0.96739
|  | 0 | 1
|  | 5 | 0.97101
Additional Information: |  | 10 | 0.8913
Data was collected using an objective with NA = 0.5. |  | 15 | 0.53623
|  | 20 | 0.2971
|  | 25 | 0.14674
|  | 30 | 0.078623
|  | 40 | 0.030072
|  | 50 | 0.016667
|  | 60 | 0.01087
|  | 70 | 0.0083333
|  | 80 | 0.0065217
|  | 100 | 0.0047101
|  | 120 | 0.0032609
|  | 170 | 0.0025362
|  | 220 | 0.0021739
|  | 320 | 0.0018116
|  | 470 | 0.0014493

## Power Dependence
NS170C SHG Dependence on Average Laser Power
|  | Input NIR Laser Power (mW) | Measured | Theoretical
|  | 64.6119 | 250 | 250
|  | 58.209 | 200 | 202.9056
|  | 48.5075 | 140 | 140.9067
|  | 39 | 91.6 | 91.0843
Product Raw Data |  | 29.1045 | 52 | 50.7264
NS170C SHG Signal Dependence on Average Input Laser Power |  | 19.5679 | 23.9 | 22.93
|  | 9.7015 | 6.5 | 5.6363
Item # | NS170C | 4.5888 | 1.6 | 1.261
DISCLAIMER: The data presented here are typical. Slight variations in performance data will occur from lot to lot. Please contact Technical Support with any questions regarding the use or reliability of this data.
This data may be used in publications. However, please cite Thorlabs as the source.
Additional Information: |  |  |  |  | Note: The theoretical SHG power was calculated using the relationship (PSHG/PSHG,0) = (PNIR/PNIR,0)2 where PNIR is the input NIR laser power, PNIR,0 is the initial input NIR laser power, PSHG is the theoretical SHG power for a given PNIR, and PSHG,0 is the initial theoretical SHG power at PNIR,0.
Data was collected for an input laser centered at 950 nm with 56 fs pulses.

## NA Dependence
NS170C SHG Dependence on NA
|  | Objective NA | SHG Power (uW)
|  | 0.13 | 1345
|  | 0.3 | 1419
|  | 0.5 | 966
|  | 0.65 | 450
Product Raw Data
NS170C SHG Signal Dependence on Objective NA
Item # | NS170C
DISCLAIMER: The data presented here are typical. Slight variations in performance data will occur from lot to lot. Please contact Technical Support with any questions regarding the use or reliability of this data.
This data may be used in publications. However, please cite Thorlabs as the source.
Additional Information:
The average laser power through the objective was held constant at 100 mW for each measurement.

## Dispersion
NS170C Response vs. GDD Compensation
|  | Dispersion Precompensation (x1000 fs^2) | Measured | Theoretical
|  | -12.2179 | 0.67622 | 0.65004
|  | -11.0723 | 0.76223 | 0.75454
|  | -9.9307 | 0.81619 | 0.86607
|  | -8.7771 | 0.92243 | 0.95873
Product Raw Data |  | -7.6267 | 1 | 1
NS170C Response vs. GDD Compensation |  | -6.4874 | 0.94941 | 0.97304
|  | -5.313 | 0.88196 | 0.88885
Item # | NS170C | -4.1694 | 0.80776 | 0.77871
DISCLAIMER: The data presented here are typical. Slight variations in performance data will occur from lot to lot. Please contact Technical Support with any questions regarding the use or reliability of this data. |  | -3.0274 | 0.74368 | 0.67076
|  | -1.8653 | 0.62732 | 0.57942
|  | -0.73467 | 0.57673 | 0.50609
|  | 0.41812 | 0.49241 | 0.44768
|  | 1.5687 | 0.44182 | 0.40065
|  | 2.7047 | 0.36425 | 0.36218
This data may be used in publications. However, please cite Thorlabs as the source. |  | 3.8673 | 0.31703 | 0.3298
|  | 4.9995 | 0.28162 | 0.30235
|  | 6.1479 | 0.23946 | 0.27872
Additional Information: |  | 7.2977 | 0.19224 | 0.2585
Data was collected for a Tiberius tunable Ti:Sapphire laser centered at 800 nm with 100 fs pulses, and the dispersion was adjusted using a FSPC pulse compressor.