## T155809
SN: | T155809
Item #: | PN1310R2A2
Item Description: | 2x2 90:10 PM Narrowband Fiber Optic Coupler
Fiber Type: | Equivalent to PM 13-U25D
Port Name: | White (Input) - White (Signal Output)
Test Wavelength (nm): | 1310
Insertion Loss (dB): | -0.5
Coupling Ratio (%): | 89.8
PER (dB): | 24
Port Name: | White (Input) - Red (Tap Output)
Test Wavelength (nm): | 1310
Insertion Loss (dB): | -9.97
Coupling Ratio (%): | 10.2
PER (dB): | 20