## T149411
SN: | T149411
Item #: | TW805R5A2
Item Description: | 2x2 50:50 Wideband Fiber Optic Coupler
Fiber Type: | Thorlabs 780HP
Port Name: | White (Input) - White (Signal Output)
Test Wavelength (nm): | 805
Insertion Loss (dB): | -3.18
Coupling Ratio (%): | 48.7
Uniformity (dB): | 0.35
Port Name: | White (Input) - Red (Tap Output)
Test Wavelength (nm): | 805
Insertion Loss (dB): | -2.95
Coupling Ratio (%): | 51.3
Uniformity (dB): | 0.36
Spectral Response
Wavelength (nm) | Insertion Loss - White (Signal Output) (dB) | Coupling Ratio - White (Signal Output) (%) | Insertion Loss - Red (Tap Output) (dB) | Coupling Ratio - Red (Tap Output) (%)
720 | -2.798 | 52.887 | -3.3 | 47.113
720.341 | -2.801 | 52.847 | -3.296 | 47.153
720.681 | -2.809 | 52.761 | -3.29 | 47.239
721.022 | -2.814 | 52.704 | -3.284 | 47.296
721.363 | -2.815 | 52.673 | -3.28 | 47.327
721.703 | -2.816 | 52.638 | -3.274 | 47.362
722.044 | -2.816 | 52.598 | -3.268 | 47.402
722.385 | -2.815 | 52.578 | -3.263 | 47.422
722.725 | -2.813 | 52.577 | -3.261 | 47.423
723.066 | -2.816 | 52.55 | -3.26 | 47.45
723.407 | -2.823 | 52.502 | -3.258 | 47.498
723.747 | -2.825 | 52.473 | -3.255 | 47.527
724.088 | -2.822 | 52.461 | -3.25 | 47.539
724.429 | -2.825 | 52.433 | -3.248 | 47.567
724.77 | -2.832 | 52.393 | -3.248 | 47.607
725.11 | -2.836 | 52.35 | -3.244 | 47.65
725.451 | -2.837 | 52.305 | -3.238 | 47.695
725.792 | -2.841 | 52.259 | -3.234 | 47.741
726.132 | -2.846 | 52.214 | -3.231 | 47.786
726.473 | -2.846 | 52.183 | -3.226 | 47.817
726.814 | -2.844 | 52.163 | -3.22 | 47.837
727.154 | -2.844 | 52.147 | -3.217 | 47.853
727.495 | -2.844 | 52.132 | -3.215 | 47.868
727.836 | -2.846 | 52.116 | -3.214 | 47.884
728.176 | -2.849 | 52.096 | -3.213 | 47.904
728.517 | -2.855 | 52.027 | -3.207 | 47.973
728.858 | -2.862 | 51.938 | -3.199 | 48.062
729.198 | -2.861 | 51.946 | -3.199 | 48.054
729.539 | -2.855 | 51.998 | -3.203 | 48.002
729.88 | -2.859 | 51.957 | -3.199 | 48.043
730.22 | -2.866 | 51.872 | -3.191 | 48.128
730.561 | -2.871 | 51.82 | -3.188 | 48.18
730.902 | -2.875 | 51.785 | -3.186 | 48.215
731.242 | -2.876 | 51.781 | -3.185 | 48.219
731.583 | -2.875 | 51.789 | -3.186 | 48.211
731.924 | -2.876 | 51.778 | -3.185 | 48.222
732.265 | -2.877 | 51.76 | -3.183 | 48.24
732.605 | -2.876 | 51.737 | -3.178 | 48.263
732.946 | -2.875 | 51.712 | -3.172 | 48.288
733.287 | -2.877 | 51.683 | -3.17 | 48.317
733.627 | -2.881 | 51.653 | -3.168 | 48.347
733.968 | -2.886 | 51.615 | -3.167 | 48.385
734.309 | -2.892 | 51.574 | -3.165 | 48.426
734.649 | -2.898 | 51.533 | -3.164 | 48.467
734.99 | -2.904 | 51.492 | -3.164 | 48.508
735.331 | -2.906 | 51.449 | -3.158 | 48.551
735.671 | -2.907 | 51.409 | -3.152 | 48.591
736.012 | -2.905 | 51.413 | -3.151 | 48.587
736.353 | -2.904 | 51.423 | -3.151 | 48.577
736.693 | -2.912 | 51.383 | -3.153 | 48.617
737.034 | -2.922 | 51.331 | -3.153 | 48.669
737.375 | -2.922 | 51.291 | -3.146 | 48.709
737.715 | -2.92 | 51.256 | -3.138 | 48.744
738.056 | -2.924 | 51.237 | -3.139 | 48.763
738.397 | -2.93 | 51.222 | -3.143 | 48.778
738.737 | -2.935 | 51.201 | -3.144 | 48.799
739.078 | -2.939 | 51.183 | -3.145 | 48.817
739.419 | -2.937 | 51.187 | -3.143 | 48.813
739.76 | -2.936 | 51.185 | -3.141 | 48.815
740.1 | -2.945 | 51.095 | -3.135 | 48.905
740.441 | -2.956 | 51 | -3.129 | 49
740.782 | -2.956 | 50.992 | -3.128 | 49.008
741.122 | -2.955 | 50.995 | -3.128 | 49.005
741.463 | -2.959 | 50.957 | -3.125 | 49.043
741.804 | -2.963 | 50.921 | -3.123 | 49.079
742.144 | -2.961 | 50.941 | -3.124 | 49.059
742.485 | -2.959 | 50.963 | -3.126 | 49.037
742.826 | -2.963 | 50.934 | -3.125 | 49.066
743.166 | -2.967 | 50.898 | -3.123 | 49.102
743.507 | -2.967 | 50.863 | -3.117 | 49.137
743.848 | -2.967 | 50.831 | -3.112 | 49.169
744.188 | -2.969 | 50.82 | -3.112 | 49.18
744.529 | -2.972 | 50.806 | -3.112 | 49.194
744.87 | -2.978 | 50.759 | -3.11 | 49.241
745.21 | -2.984 | 50.708 | -3.107 | 49.292
745.551 | -2.987 | 50.669 | -3.103 | 49.331
745.892 | -2.99 | 50.635 | -3.1 | 49.365
746.232 | -2.991 | 50.62 | -3.098 | 49.38
746.573 | -2.991 | 50.609 | -3.097 | 49.391
746.914 | -2.99 | 50.603 | -3.094 | 49.397
747.255 | -2.989 | 50.587 | -3.091 | 49.413
747.595 | -2.996 | 50.534 | -3.088 | 49.466
747.936 | -3.002 | 50.482 | -3.085 | 49.518
748.277 | -3.005 | 50.457 | -3.084 | 49.543
748.617 | -3.006 | 50.431 | -3.081 | 49.569
748.958 | -3.006 | 50.387 | -3.073 | 49.613
749.299 | -3.006 | 50.353 | -3.068 | 49.647
749.639 | -3.009 | 50.352 | -3.07 | 49.648
749.98 | -3.012 | 50.346 | -3.072 | 49.654
750.321 | -3.017 | 50.311 | -3.071 | 49.689
750.661 | -3.021 | 50.273 | -3.069 | 49.727
751.002 | -3.024 | 50.241 | -3.066 | 49.759
751.343 | -3.025 | 50.216 | -3.062 | 49.784
751.683 | -3.025 | 50.205 | -3.061 | 49.795
752.024 | -3.026 | 50.193 | -3.06 | 49.807
752.365 | -3.031 | 50.171 | -3.06 | 49.829
752.705 | -3.034 | 50.151 | -3.06 | 49.849
753.046 | -3.033 | 50.139 | -3.057 | 49.861
753.387 | -3.033 | 50.122 | -3.054 | 49.878
753.727 | -3.033 | 50.092 | -3.049 | 49.908
754.068 | -3.033 | 50.065 | -3.044 | 49.935
754.409 | -3.034 | 50.048 | -3.042 | 49.952
754.75 | -3.035 | 50.031 | -3.041 | 49.969
755.09 | -3.038 | 50.01 | -3.04 | 49.99
755.431 | -3.041 | 49.994 | -3.04 | 50.006
755.772 | -3.042 | 49.984 | -3.04 | 50.016
756.112 | -3.044 | 49.961 | -3.037 | 50.039
756.453 | -3.046 | 49.914 | -3.031 | 50.086
756.794 | -3.051 | 49.855 | -3.026 | 50.145
757.134 | -3.058 | 49.792 | -3.022 | 50.208
757.475 | -3.061 | 49.767 | -3.02 | 50.233
757.816 | -3.059 | 49.791 | -3.023 | 50.209
758.156 | -3.059 | 49.793 | -3.023 | 50.207
758.497 | -3.063 | 49.748 | -3.019 | 50.252
758.838 | -3.065 | 49.706 | -3.014 | 50.294
759.178 | -3.065 | 49.683 | -3.01 | 50.317
759.519 | -3.066 | 49.671 | -3.008 | 50.329
759.86 | -3.068 | 49.667 | -3.01 | 50.333
760.2 | -3.07 | 49.658 | -3.011 | 50.342
760.541 | -3.072 | 49.641 | -3.01 | 50.359
760.882 | -3.074 | 49.616 | -3.007 | 50.384
761.222 | -3.074 | 49.588 | -3.003 | 50.412
761.563 | -3.076 | 49.57 | -3.001 | 50.43
761.904 | -3.078 | 49.557 | -3.001 | 50.443
762.245 | -3.083 | 49.512 | -2.998 | 50.488
762.585 | -3.089 | 49.443 | -2.992 | 50.557
762.926 | -3.089 | 49.427 | -2.99 | 50.573
763.267 | -3.085 | 49.465 | -2.992 | 50.535
763.607 | -3.084 | 49.473 | -2.992 | 50.527
763.948 | -3.087 | 49.444 | -2.991 | 50.556
764.289 | -3.085 | 49.449 | -2.99 | 50.551
764.629 | -3.079 | 49.482 | -2.989 | 50.518
764.97 | -3.078 | 49.474 | -2.987 | 50.526
765.311 | -3.083 | 49.423 | -2.983 | 50.577
765.651 | -3.086 | 49.38 | -2.978 | 50.62
765.992 | -3.087 | 49.356 | -2.975 | 50.644
766.333 | -3.087 | 49.346 | -2.974 | 50.654
766.673 | -3.089 | 49.341 | -2.974 | 50.659
767.014 | -3.091 | 49.328 | -2.975 | 50.672
767.355 | -3.095 | 49.306 | -2.974 | 50.694
767.695 | -3.097 | 49.281 | -2.972 | 50.719
768.036 | -3.099 | 49.257 | -2.97 | 50.743
768.377 | -3.1 | 49.237 | -2.968 | 50.763
768.717 | -3.102 | 49.222 | -2.967 | 50.778
769.058 | -3.103 | 49.214 | -2.967 | 50.786
769.399 | -3.103 | 49.211 | -2.966 | 50.789
769.74 | -3.102 | 49.203 | -2.964 | 50.797
770.08 | -3.101 | 49.192 | -2.96 | 50.808
770.421 | -3.1 | 49.182 | -2.957 | 50.818
770.762 | -3.099 | 49.175 | -2.956 | 50.825
771.102 | -3.1 | 49.165 | -2.955 | 50.835
771.443 | -3.101 | 49.155 | -2.954 | 50.845
771.784 | -3.104 | 49.149 | -2.956 | 50.851
772.124 | -3.107 | 49.144 | -2.958 | 50.856
772.465 | -3.109 | 49.132 | -2.959 | 50.868
772.806 | -3.11 | 49.116 | -2.957 | 50.884
773.146 | -3.111 | 49.099 | -2.955 | 50.901
773.487 | -3.111 | 49.087 | -2.952 | 50.913
773.828 | -3.11 | 49.082 | -2.95 | 50.918
774.168 | -3.108 | 49.088 | -2.949 | 50.912
774.509 | -3.107 | 49.106 | -2.952 | 50.894
774.85 | -3.108 | 49.117 | -2.954 | 50.883
775.19 | -3.111 | 49.081 | -2.951 | 50.919
775.531 | -3.115 | 49.03 | -2.946 | 50.97
775.872 | -3.116 | 49.011 | -2.944 | 50.989
776.212 | -3.115 | 49.014 | -2.944 | 50.986
776.553 | -3.114 | 49.023 | -2.944 | 50.977
776.894 | -3.112 | 49.023 | -2.943 | 50.977
777.234 | -3.113 | 48.996 | -2.939 | 51.004
777.575 | -3.115 | 48.969 | -2.936 | 51.031
777.916 | -3.118 | 48.984 | -2.941 | 51.016
778.257 | -3.119 | 49.016 | -2.948 | 50.984
778.597 | -3.116 | 49.035 | -2.948 | 50.965
778.938 | -3.113 | 49.033 | -2.945 | 50.967
779.279 | -3.116 | 48.997 | -2.942 | 51.003
779.619 | -3.121 | 48.963 | -2.94 | 51.037
779.96 | -3.12 | 48.976 | -2.942 | 51.024
780.301 | -3.119 | 48.996 | -2.944 | 51.004
780.641 | -3.123 | 48.971 | -2.944 | 51.029
780.982 | -3.128 | 48.937 | -2.944 | 51.063
781.323 | -3.129 | 48.937 | -2.945 | 51.063
781.663 | -3.126 | 48.959 | -2.945 | 51.041
782.004 | -3.119 | 48.993 | -2.945 | 51.007
782.345 | -3.115 | 49.01 | -2.943 | 50.99
782.685 | -3.122 | 48.971 | -2.943 | 51.029
783.026 | -3.129 | 48.924 | -2.942 | 51.076
783.367 | -3.128 | 48.916 | -2.94 | 51.084
783.707 | -3.125 | 48.932 | -2.939 | 51.068
784.048 | -3.122 | 48.961 | -2.942 | 51.039
784.389 | -3.123 | 48.975 | -2.945 | 51.025
784.729 | -3.13 | 48.943 | -2.946 | 51.057
785.07 | -3.135 | 48.917 | -2.947 | 51.083
785.411 | -3.133 | 48.947 | -2.95 | 51.053
785.752 | -3.131 | 48.976 | -2.953 | 51.024
786.092 | -3.136 | 48.952 | -2.953 | 51.048
786.433 | -3.14 | 48.911 | -2.951 | 51.089
786.774 | -3.14 | 48.889 | -2.947 | 51.111
787.114 | -3.138 | 48.879 | -2.944 | 51.121
787.455 | -3.137 | 48.878 | -2.943 | 51.122
787.796 | -3.137 | 48.888 | -2.944 | 51.112
788.136 | -3.138 | 48.911 | -2.948 | 51.089
788.477 | -3.137 | 48.931 | -2.952 | 51.069
788.818 | -3.136 | 48.935 | -2.951 | 51.065
789.158 | -3.136 | 48.931 | -2.951 | 51.069
789.499 | -3.14 | 48.926 | -2.954 | 51.074
789.84 | -3.142 | 48.935 | -2.957 | 51.065
790.18 | -3.137 | 48.968 | -2.958 | 51.032
790.521 | -3.133 | 48.991 | -2.958 | 51.009
790.862 | -3.134 | 48.98 | -2.957 | 51.02
791.202 | -3.138 | 48.953 | -2.956 | 51.047
791.543 | -3.141 | 48.924 | -2.954 | 51.076
791.884 | -3.144 | 48.91 | -2.955 | 51.09
792.224 | -3.145 | 48.918 | -2.957 | 51.082
792.565 | -3.146 | 48.917 | -2.958 | 51.083
792.906 | -3.149 | 48.889 | -2.956 | 51.111
793.247 | -3.151 | 48.862 | -2.954 | 51.138
793.587 | -3.152 | 48.861 | -2.954 | 51.139
793.928 | -3.148 | 48.882 | -2.954 | 51.118
794.269 | -3.141 | 48.917 | -2.953 | 51.083
794.609 | -3.139 | 48.929 | -2.953 | 51.071
794.95 | -3.146 | 48.904 | -2.955 | 51.096
795.291 | -3.151 | 48.89 | -2.958 | 51.11
795.631 | -3.151 | 48.915 | -2.962 | 51.085
795.972 | -3.149 | 48.933 | -2.964 | 51.067
796.313 | -3.15 | 48.919 | -2.962 | 51.081
796.653 | -3.153 | 48.895 | -2.961 | 51.105
796.994 | -3.156 | 48.877 | -2.961 | 51.123
797.335 | -3.16 | 48.865 | -2.963 | 51.135
797.675 | -3.162 | 48.859 | -2.964 | 51.141
798.016 | -3.163 | 48.854 | -2.964 | 51.146
798.357 | -3.162 | 48.852 | -2.963 | 51.148
798.697 | -3.159 | 48.865 | -2.962 | 51.135
799.038 | -3.155 | 48.892 | -2.963 | 51.108
799.379 | -3.156 | 48.906 | -2.966 | 51.094
799.719 | -3.161 | 48.894 | -2.969 | 51.106
800.06 | -3.164 | 48.873 | -2.969 | 51.127
800.401 | -3.164 | 48.853 | -2.964 | 51.147
800.741 | -3.165 | 48.836 | -2.962 | 51.164
801.082 | -3.168 | 48.825 | -2.964 | 51.175
801.423 | -3.168 | 48.819 | -2.963 | 51.181
801.764 | -3.165 | 48.815 | -2.96 | 51.185
802.104 | -3.164 | 48.801 | -2.956 | 51.199
802.445 | -3.167 | 48.781 | -2.955 | 51.219
802.786 | -3.167 | 48.785 | -2.956 | 51.215
803.126 | -3.166 | 48.807 | -2.959 | 51.193
803.467 | -3.166 | 48.799 | -2.957 | 51.201
803.808 | -3.167 | 48.755 | -2.951 | 51.245
804.148 | -3.17 | 48.72 | -2.948 | 51.28
804.489 | -3.173 | 48.71 | -2.949 | 51.29
804.83 | -3.177 | 48.704 | -2.952 | 51.296
805.17 | -3.182 | 48.701 | -2.956 | 51.299
805.511 | -3.18 | 48.727 | -2.959 | 51.273
805.852 | -3.174 | 48.772 | -2.961 | 51.228
806.192 | -3.173 | 48.786 | -2.962 | 51.214
806.533 | -3.178 | 48.762 | -2.963 | 51.238
806.874 | -3.182 | 48.738 | -2.962 | 51.262
807.214 | -3.181 | 48.729 | -2.96 | 51.271
807.555 | -3.176 | 48.733 | -2.956 | 51.267
807.896 | -3.169 | 48.742 | -2.95 | 51.258
808.236 | -3.164 | 48.742 | -2.945 | 51.258
808.577 | -3.163 | 48.733 | -2.943 | 51.267
808.918 | -3.168 | 48.719 | -2.945 | 51.281
809.259 | -3.173 | 48.713 | -2.949 | 51.287
809.599 | -3.169 | 48.725 | -2.948 | 51.275
809.94 | -3.161 | 48.75 | -2.943 | 51.25
810.281 | -3.161 | 48.765 | -2.946 | 51.235
810.621 | -3.17 | 48.775 | -2.957 | 51.225
810.962 | -3.182 | 48.798 | -2.973 | 51.202
811.303 | -3.191 | 48.823 | -2.987 | 51.177
811.643 | -3.195 | 48.817 | -2.989 | 51.183
811.984 | -3.195 | 48.784 | -2.983 | 51.216
812.325 | -3.197 | 48.75 | -2.98 | 51.25
812.665 | -3.2 | 48.732 | -2.98 | 51.268
813.006 | -3.194 | 48.742 | -2.975 | 51.258
813.347 | -3.184 | 48.755 | -2.967 | 51.245
813.687 | -3.177 | 48.731 | -2.957 | 51.269
814.028 | -3.176 | 48.685 | -2.947 | 51.315
814.369 | -3.174 | 48.656 | -2.94 | 51.344
814.709 | -3.17 | 48.656 | -2.936 | 51.344
815.05 | -3.161 | 48.689 | -2.933 | 51.311
815.391 | -3.153 | 48.724 | -2.931 | 51.276
815.731 | -3.152 | 48.718 | -2.929 | 51.282
816.072 | -3.157 | 48.702 | -2.931 | 51.298
816.413 | -3.16 | 48.738 | -2.941 | 51.262
816.753 | -3.163 | 48.79 | -2.952 | 51.21
817.094 | -3.168 | 48.791 | -2.958 | 51.209
817.435 | -3.173 | 48.764 | -2.959 | 51.236
817.776 | -3.175 | 48.757 | -2.959 | 51.243
818.116 | -3.173 | 48.773 | -2.96 | 51.227
818.457 | -3.17 | 48.805 | -2.962 | 51.195
818.798 | -3.166 | 48.831 | -2.963 | 51.169
819.138 | -3.166 | 48.828 | -2.962 | 51.172
819.479 | -3.167 | 48.815 | -2.961 | 51.185
819.82 | -3.164 | 48.825 | -2.96 | 51.175
820.16 | -3.159 | 48.852 | -2.96 | 51.148
820.501 | -3.155 | 48.882 | -2.961 | 51.118
820.842 | -3.154 | 48.907 | -2.964 | 51.093
821.182 | -3.156 | 48.917 | -2.968 | 51.083
821.523 | -3.159 | 48.915 | -2.97 | 51.085
821.864 | -3.157 | 48.911 | -2.968 | 51.089
822.204 | -3.154 | 48.914 | -2.965 | 51.086
822.545 | -3.151 | 48.937 | -2.967 | 51.063
822.886 | -3.15 | 48.965 | -2.97 | 51.035
823.226 | -3.149 | 48.978 | -2.972 | 51.022
823.567 | -3.149 | 48.976 | -2.971 | 51.024
823.908 | -3.148 | 48.957 | -2.967 | 51.043
824.248 | -3.146 | 48.941 | -2.962 | 51.059
824.589 | -3.143 | 48.951 | -2.961 | 51.049
824.93 | -3.142 | 48.969 | -2.962 | 51.031
825.271 | -3.145 | 48.977 | -2.967 | 51.023
825.611 | -3.148 | 48.987 | -2.972 | 51.013
825.952 | -3.145 | 49.009 | -2.973 | 50.991
826.293 | -3.14 | 49.038 | -2.973 | 50.962
826.633 | -3.137 | 49.067 | -2.974 | 50.933
826.974 | -3.135 | 49.085 | -2.976 | 50.915
827.315 | -3.135 | 49.08 | -2.975 | 50.92
827.655 | -3.136 | 49.068 | -2.974 | 50.932
827.996 | -3.135 | 49.064 | -2.972 | 50.936
828.337 | -3.134 | 49.065 | -2.971 | 50.935
828.677 | -3.135 | 49.069 | -2.974 | 50.931
829.018 | -3.136 | 49.076 | -2.976 | 50.924
829.359 | -3.134 | 49.086 | -2.975 | 50.914
829.699 | -3.13 | 49.108 | -2.975 | 50.892
830.04 | -3.125 | 49.15 | -2.978 | 50.85
830.381 | -3.123 | 49.18 | -2.98 | 50.82
830.721 | -3.124 | 49.168 | -2.98 | 50.832
831.062 | -3.126 | 49.164 | -2.98 | 50.836
831.403 | -3.122 | 49.208 | -2.985 | 50.792
831.743 | -3.119 | 49.252 | -2.989 | 50.748
832.084 | -3.117 | 49.261 | -2.989 | 50.739
832.425 | -3.117 | 49.264 | -2.989 | 50.736
832.766 | -3.117 | 49.282 | -2.992 | 50.718
833.106 | -3.116 | 49.298 | -2.994 | 50.702
833.447 | -3.116 | 49.304 | -2.995 | 50.696
833.788 | -3.116 | 49.308 | -2.995 | 50.692
834.128 | -3.114 | 49.319 | -2.996 | 50.681
834.469 | -3.112 | 49.341 | -2.998 | 50.659
834.81 | -3.109 | 49.379 | -3.001 | 50.621
835.15 | -3.107 | 49.413 | -3.005 | 50.587
835.491 | -3.108 | 49.433 | -3.009 | 50.567
835.832 | -3.109 | 49.443 | -3.012 | 50.557
836.172 | -3.108 | 49.444 | -3.012 | 50.556
836.513 | -3.107 | 49.45 | -3.012 | 50.55
836.854 | -3.107 | 49.467 | -3.014 | 50.533
837.194 | -3.106 | 49.486 | -3.017 | 50.514
837.535 | -3.105 | 49.501 | -3.019 | 50.499
837.876 | -3.104 | 49.514 | -3.02 | 50.486
838.216 | -3.102 | 49.524 | -3.019 | 50.476
838.557 | -3.1 | 49.53 | -3.018 | 50.47
838.898 | -3.099 | 49.531 | -3.017 | 50.469
839.238 | -3.098 | 49.534 | -3.017 | 50.466
839.579 | -3.098 | 49.544 | -3.019 | 50.456
839.92 | -3.098 | 49.562 | -3.022 | 50.438
840.26 | -3.097 | 49.588 | -3.026 | 50.412
840.601 | -3.096 | 49.61 | -3.028 | 50.39
840.942 | -3.093 | 49.624 | -3.028 | 50.376
841.283 | -3.09 | 49.646 | -3.029 | 50.354
841.623 | -3.087 | 49.683 | -3.032 | 50.317
841.964 | -3.085 | 49.717 | -3.036 | 50.283
842.305 | -3.084 | 49.74 | -3.039 | 50.26
842.645 | -3.083 | 49.754 | -3.04 | 50.246
842.986 | -3.082 | 49.762 | -3.041 | 50.238
843.327 | -3.081 | 49.772 | -3.041 | 50.228
843.667 | -3.08 | 49.782 | -3.042 | 50.218
844.008 | -3.081 | 49.78 | -3.042 | 50.22
844.349 | -3.083 | 49.769 | -3.043 | 50.231
844.689 | -3.082 | 49.791 | -3.046 | 50.209
845.03 | -3.077 | 49.85 | -3.051 | 50.15
845.371 | -3.073 | 49.894 | -3.055 | 50.106
845.711 | -3.073 | 49.906 | -3.056 | 50.094
846.052 | -3.072 | 49.912 | -3.057 | 50.088
846.393 | -3.07 | 49.922 | -3.056 | 50.078
846.733 | -3.069 | 49.93 | -3.057 | 50.07
847.074 | -3.068 | 49.94 | -3.058 | 50.06
847.415 | -3.067 | 49.973 | -3.062 | 50.027
847.755 | -3.063 | 50.024 | -3.067 | 49.976
848.096 | -3.061 | 50.055 | -3.07 | 49.945
848.437 | -3.059 | 50.063 | -3.07 | 49.937
848.778 | -3.059 | 50.074 | -3.071 | 49.926
849.118 | -3.058 | 50.09 | -3.073 | 49.91
849.459 | -3.058 | 50.092 | -3.075 | 49.908
849.8 | -3.06 | 50.084 | -3.075 | 49.916
850.14 | -3.061 | 50.091 | -3.077 | 49.909
850.481 | -3.061 | 50.117 | -3.082 | 49.883
850.822 | -3.058 | 50.155 | -3.084 | 49.845
851.162 | -3.051 | 50.199 | -3.086 | 49.801
851.503 | -3.046 | 50.237 | -3.087 | 49.763
851.844 | -3.042 | 50.268 | -3.088 | 49.732
852.184 | -3.04 | 50.291 | -3.091 | 49.709
852.525 | -3.041 | 50.31 | -3.095 | 49.69
852.866 | -3.043 | 50.334 | -3.101 | 49.666
853.206 | -3.045 | 50.359 | -3.107 | 49.641
853.547 | -3.041 | 50.376 | -3.106 | 49.624
853.888 | -3.034 | 50.39 | -3.102 | 49.61
854.228 | -3.03 | 50.433 | -3.106 | 49.567
854.569 | -3.03 | 50.487 | -3.114 | 49.513
854.91 | -3.028 | 50.503 | -3.116 | 49.497
855.25 | -3.026 | 50.497 | -3.112 | 49.503
855.591 | -3.023 | 50.529 | -3.114 | 49.471
855.932 | -3.019 | 50.58 | -3.12 | 49.42
856.273 | -3.017 | 50.597 | -3.121 | 49.403
856.613 | -3.017 | 50.587 | -3.119 | 49.413
856.954 | -3.02 | 50.554 | -3.116 | 49.446
857.295 | -3.023 | 50.528 | -3.115 | 49.472
857.635 | -3.019 | 50.584 | -3.121 | 49.416
857.976 | -3.012 | 50.676 | -3.129 | 49.324
858.317 | -3.008 | 50.714 | -3.132 | 49.286
858.657 | -3.005 | 50.723 | -3.131 | 49.277
858.998 | -3.003 | 50.746 | -3.133 | 49.254
859.339 | -3.001 | 50.778 | -3.136 | 49.222
859.679 | -2.998 | 50.799 | -3.136 | 49.201
860.02 | -2.995 | 50.817 | -3.137 | 49.183
860.361 | -2.994 | 50.846 | -3.141 | 49.154
860.701 | -2.993 | 50.883 | -3.146 | 49.117
861.042 | -2.987 | 50.928 | -3.148 | 49.072
861.383 | -2.981 | 50.973 | -3.15 | 49.027
861.723 | -2.977 | 51.005 | -3.151 | 48.995
862.064 | -2.975 | 51.027 | -3.153 | 48.973
862.405 | -2.976 | 51.031 | -3.155 | 48.969
862.745 | -2.978 | 51.032 | -3.157 | 48.968
863.086 | -2.978 | 51.054 | -3.161 | 48.946
863.427 | -2.976 | 51.083 | -3.165 | 48.917
863.768 | -2.972 | 51.114 | -3.165 | 48.886
864.108 | -2.967 | 51.14 | -3.165 | 48.86
864.449 | -2.967 | 51.14 | -3.165 | 48.86
864.79 | -2.968 | 51.135 | -3.165 | 48.865
865.13 | -2.968 | 51.143 | -3.166 | 48.857
865.471 | -2.966 | 51.157 | -3.167 | 48.843
865.812 | -2.962 | 51.183 | -3.168 | 48.817
866.152 | -2.958 | 51.213 | -3.169 | 48.787
866.493 | -2.954 | 51.256 | -3.172 | 48.744
866.834 | -2.95 | 51.3 | -3.176 | 48.7
867.174 | -2.95 | 51.337 | -3.182 | 48.663
867.515 | -2.951 | 51.372 | -3.189 | 48.628
867.856 | -2.95 | 51.402 | -3.194 | 48.598
868.196 | -2.948 | 51.432 | -3.197 | 48.568
868.537 | -2.944 | 51.461 | -3.198 | 48.539
868.878 | -2.94 | 51.489 | -3.199 | 48.511
869.218 | -2.938 | 51.515 | -3.201 | 48.485
869.559 | -2.936 | 51.539 | -3.204 | 48.461
869.9 | -2.934 | 51.557 | -3.204 | 48.443
870.24 | -2.931 | 51.577 | -3.205 | 48.423
870.581 | -2.928 | 51.623 | -3.21 | 48.377
870.922 | -2.926 | 51.672 | -3.217 | 48.328
871.263 | -2.924 | 51.724 | -3.224 | 48.276
871.603 | -2.922 | 51.767 | -3.229 | 48.233
871.944 | -2.919 | 51.759 | -3.224 | 48.241
872.285 | -2.915 | 51.759 | -3.221 | 48.241
872.625 | -2.912 | 51.828 | -3.229 | 48.172
872.966 | -2.908 | 51.893 | -3.237 | 48.107
873.307 | -2.907 | 51.9 | -3.237 | 48.1
873.647 | -2.906 | 51.902 | -3.236 | 48.098
873.988 | -2.905 | 51.914 | -3.238 | 48.086
874.329 | -2.904 | 51.938 | -3.241 | 48.062
874.669 | -2.899 | 52.011 | -3.248 | 47.989
875.01 | -2.893 | 52.075 | -3.254 | 47.925
875.351 | -2.89 | 52.08 | -3.252 | 47.92
875.691 | -2.887 | 52.085 | -3.249 | 47.915
876.032 | -2.885 | 52.109 | -3.251 | 47.891
876.373 | -2.883 | 52.138 | -3.254 | 47.862
876.713 | -2.882 | 52.176 | -3.26 | 47.824
877.054 | -2.881 | 52.22 | -3.267 | 47.78
877.395 | -2.877 | 52.284 | -3.275 | 47.716
877.735 | -2.874 | 52.33 | -3.28 | 47.67
878.076 | -2.872 | 52.317 | -3.275 | 47.683
878.417 | -2.869 | 52.325 | -3.273 | 47.675
878.758 | -2.862 | 52.41 | -3.281 | 47.59
879.098 | -2.856 | 52.479 | -3.287 | 47.521
879.439 | -2.856 | 52.488 | -3.289 | 47.512
879.78 | -2.855 | 52.501 | -3.29 | 47.499
880.12 | -2.852 | 52.537 | -3.293 | 47.463
880.461 | -2.848 | 52.574 | -3.295 | 47.426
880.802 | -2.844 | 52.605 | -3.297 | 47.395
881.142 | -2.84 | 52.637 | -3.298 | 47.363
881.483 | -2.835 | 52.669 | -3.299 | 47.331
881.824 | -2.831 | 52.695 | -3.3 | 47.305
882.164 | -2.831 | 52.709 | -3.302 | 47.291
882.505 | -2.831 | 52.72 | -3.304 | 47.28
882.846 | -2.832 | 52.729 | -3.306 | 47.271
883.186 | -2.831 | 52.76 | -3.311 | 47.24
883.527 | -2.826 | 52.837 | -3.319 | 47.163
883.868 | -2.822 | 52.903 | -3.327 | 47.097
884.208 | -2.82 | 52.947 | -3.333 | 47.053
884.549 | -2.819 | 52.983 | -3.337 | 47.017
884.89 | -2.817 | 53.005 | -3.339 | 46.995
885.23 | -2.813 | 53.04 | -3.342 | 46.96
885.571 | -2.806 | 53.098 | -3.345 | 46.902
885.912 | -2.801 | 53.135 | -3.346 | 46.865
886.253 | -2.797 | 53.14 | -3.343 | 46.86
886.593 | -2.794 | 53.155 | -3.343 | 46.845
886.934 | -2.793 | 53.186 | -3.347 | 46.814
887.275 | -2.791 | 53.23 | -3.353 | 46.77
887.615 | -2.789 | 53.292 | -3.362 | 46.708
887.956 | -2.787 | 53.337 | -3.367 | 46.663
888.297 | -2.785 | 53.36 | -3.369 | 46.64
888.637 | -2.781 | 53.39 | -3.371 | 46.61
888.978 | -2.776 | 53.428 | -3.373 | 46.572
889.319 | -2.773 | 53.461 | -3.376 | 46.539
889.659 | -2.773 | 53.488 | -3.38 | 46.512
890 | -2.767 | 53.553 | -3.385 | 46.447