## ASE L-I-V
BOA1550PXS ASE LIV
|  | Current (mA) | Optical Power (mW) | Voltage (V)
|  | 0 | 2.011e-06 | 0
|  | 50 | 0.0106 | 0.854
|  | 100 | 0.1003 | 0.93
|  | 150 | 0.332 | 0.993
Product Raw Data |  | 200 | 0.7099 | 1.049
1550 nm Polarization-Dependent Optical Shutter/Switch, ≤21 dBm (Typ.) Output Power, Butterfly, PM, FC/APC |  | 250 | 1.18 | 1.102
|  | 300 | 1.685 | 1.153
|  | 350 | 2.191 | 1.202
Item # | BOA1550PXS | 400 | 2.644 | 1.25
DISCLAIMER: The data presented here are typical. Slight variations in performance data will occur from lot to lot. Please contact Technical Support with any questions regarding the use or reliability of this data. |  | 450 | 3.03 | 1.297
|  | 500 | 3.332 | 1.344
|  | 550 | 3.546 | 1.39
|  | 600 | 3.672 | 1.435
|  | 650 | 3.707 | 1.479
|  | 700 | 3.662 | 1.523
This data may be used in publications. However, please cite Thorlabs as the source. |  | 750 | 3.561 | 1.567
|  | 800 | 3.396 | 1.61
|  | 850 | 3.195 | 1.652
Additional Information: |  | 900 | 2.961 | 1.694
|  | 950 | 2.707 | 1.735

## Spectrum
BOA1550PXS ASE Spectrum
|  | Wavelength (nm) | Amplitude (dB)
|  | 1410 | -41.7915
|  | 1410.5 | -41.6147
|  | 1411 | -41.5668
|  | 1411.5 | -41.5295
Product Raw Data |  | 1412 | -41.4698
1550 nm Polarization-Dependent Optical Shutter/Switch, ≤21 dBm (Typ.) Output Power, Butterfly, PM, FC/APC |  | 1412.5 | -41.4603
|  | 1413 | -41.3753
|  | 1413.5 | -41.3185
Item # | BOA1550PXS | 1414 | -41.3111
DISCLAIMER: The data presented here are typical. Slight variations in performance data will occur from lot to lot. Please contact Technical Support with any questions regarding the use or reliability of this data. |  | 1414.5 | -41.3855
|  | 1415 | -41.2641
|  | 1415.5 | -41.1295
|  | 1416 | -41.0415
|  | 1416.5 | -40.9664
|  | 1417 | -40.901
This data may be used in publications. However, please cite Thorlabs as the source. |  | 1417.5 | -40.8744
|  | 1418 | -40.8411
|  | 1418.5 | -40.7127
Additional Information: |  | 1419 | -40.7403
I = 900 mA |  | 1419.5 | -40.7212
|  | 1420 | -40.5845
|  | 1420.5 | -40.4754
|  | 1421 | -40.4118
|  | 1421.5 | -40.3338
|  | 1422 | -40.2559
|  | 1422.5 | -40.1601
|  | 1423 | -40.1162
|  | 1423.5 | -40.0829
|  | 1424 | -40.0553
|  | 1424.5 | -39.9317
|  | 1425 | -39.7919
|  | 1425.5 | -39.7594
|  | 1426 | -39.6828
|  | 1426.5 | -39.5651
|  | 1427 | -39.4705
|  | 1427.5 | -39.4248
|  | 1428 | -39.3485
|  | 1428.5 | -39.3004
|  | 1429 | -39.1917
|  | 1429.5 | -39.0701
|  | 1430 | -38.979
|  | 1430.5 | -38.8802
|  | 1431 | -38.7707
|  | 1431.5 | -38.7678
|  | 1432 | -38.6773
|  | 1432.5 | -38.5986
|  | 1433 | -38.4718
|  | 1433.5 | -38.2835
|  | 1434 | -38.2091
|  | 1434.5 | -38.1993
|  | 1435 | -38.0601
|  | 1435.5 | -37.8954
|  | 1436 | -37.7928
|  | 1436.5 | -37.713
|  | 1437 | -37.5397
|  | 1437.5 | -37.4829
|  | 1438 | -37.4984
|  | 1438.5 | -37.2717
|  | 1439 | -37.1081
|  | 1439.5 | -37.045
|  | 1440 | -36.9559
|  | 1440.5 | -36.7588
|  | 1441 | -36.651
|  | 1441.5 | -36.6233
|  | 1442 | -36.521
|  | 1442.5 | -36.3219
|  | 1443 | -36.2446
|  | 1443.5 | -36.1004
|  | 1444 | -35.9045
|  | 1444.5 | -35.8097
|  | 1445 | -35.6642
|  | 1445.5 | -35.5985
|  | 1446 | -35.6897
|  | 1446.5 | -35.3391
|  | 1447 | -35.1737
|  | 1447.5 | -35.0561
|  | 1448 | -34.9033
|  | 1448.5 | -34.7976
|  | 1449 | -34.6851
|  | 1449.5 | -34.5366
|  | 1450 | -34.4359
|  | 1450.5 | -34.3991
|  | 1451 | -34.3737
|  | 1451.5 | -34.1449
|  | 1452 | -33.9558
|  | 1452.5 | -33.8972
|  | 1453 | -33.7496
|  | 1453.5 | -33.618
|  | 1454 | -33.474
|  | 1454.5 | -33.3751
|  | 1455 | -33.2603
|  | 1455.5 | -33.2196
|  | 1456 | -33.0731
|  | 1456.5 | -32.9333
|  | 1457 | -32.8066
|  | 1457.5 | -32.7013
|  | 1458 | -32.622
|  | 1458.5 | -32.4895
|  | 1459 | -32.3665
|  | 1459.5 | -32.2455
|  | 1460 | -32.152
|  | 1460.5 | -32.0961
|  | 1461 | -31.9271
|  | 1461.5 | -31.8095
|  | 1462 | -31.6933
|  | 1462.5 | -31.5652
|  | 1463 | -31.4591
|  | 1463.5 | -31.4224
|  | 1464 | -31.2489
|  | 1464.5 | -31.1063
|  | 1465 | -30.9926
|  | 1465.5 | -30.9643
|  | 1466 | -30.8055
|  | 1466.5 | -30.6929
|  | 1467 | -30.5889
|  | 1467.5 | -30.4703
|  | 1468 | -30.352
|  | 1468.5 | -30.1998
|  | 1469 | -30.07
|  | 1469.5 | -30.0117
|  | 1470 | -29.9718
|  | 1470.5 | -29.7691
|  | 1471 | -29.7819
|  | 1471.5 | -29.6238
|  | 1472 | -29.4493
|  | 1472.5 | -29.4169
|  | 1473 | -29.2938
|  | 1473.5 | -29.1594
|  | 1474 | -29.0733
|  | 1474.5 | -28.9165
|  | 1475 | -28.805
|  | 1475.5 | -28.7165
|  | 1476 | -28.6446
|  | 1476.5 | -28.5273
|  | 1477 | -28.4643
|  | 1477.5 | -28.3869
|  | 1478 | -28.3136
|  | 1478.5 | -28.1875
|  | 1479 | -28.0741
|  | 1479.5 | -28.0133
|  | 1480 | -27.9076
|  | 1480.5 | -27.8414
|  | 1481 | -27.7625
|  | 1481.5 | -27.6333
|  | 1482 | -27.5839
|  | 1482.5 | -27.4628
|  | 1483 | -27.3725
|  | 1483.5 | -27.2835
|  | 1484 | -27.1819
|  | 1484.5 | -27.135
|  | 1485 | -27.0703
|  | 1485.5 | -27.0087
|  | 1486 | -26.9719
|  | 1486.5 | -26.9013
|  | 1487 | -26.8884
|  | 1487.5 | -26.7445
|  | 1488 | -26.6351
|  | 1488.5 | -26.5518
|  | 1489 | -26.5031
|  | 1489.5 | -26.4142
|  | 1490 | -26.3878
|  | 1490.5 | -26.2757
|  | 1491 | -26.2121
|  | 1491.5 | -26.1424
|  | 1492 | -26.0518
|  | 1492.5 | -25.9666
|  | 1493 | -25.9094
|  | 1493.5 | -25.803
|  | 1494 | -25.7433
|  | 1494.5 | -25.6726
|  | 1495 | -25.5947
|  | 1495.5 | -25.5517
|  | 1496 | -25.4336
|  | 1496.5 | -25.379
|  | 1497 | -25.3207
|  | 1497.5 | -25.2442
|  | 1498 | -25.1569
|  | 1498.5 | -25.0945
|  | 1499 | -25.0208
|  | 1499.5 | -24.9505
|  | 1500 | -24.8888
|  | 1500.5 | -24.8377
|  | 1501 | -24.7932
|  | 1501.5 | -24.709
|  | 1502 | -24.6524
|  | 1502.5 | -24.5956
|  | 1503 | -24.5269
|  | 1503.5 | -24.4788
|  | 1504 | -24.4199
|  | 1504.5 | -24.3689
|  | 1505 | -24.314
|  | 1505.5 | -24.2383
|  | 1506 | -24.1536
|  | 1506.5 | -24.1164
|  | 1507 | -24.0802
|  | 1507.5 | -24.0076
|  | 1508 | -23.9564
|  | 1508.5 | -23.8941
|  | 1509 | -23.8507
|  | 1509.5 | -23.7702
|  | 1510 | -23.6753
|  | 1510.5 | -23.6468
|  | 1511 | -23.6225
|  | 1511.5 | -23.5583
|  | 1512 | -23.4857
|  | 1512.5 | -23.4525
|  | 1513 | -23.3931
|  | 1513.5 | -23.3258
|  | 1514 | -23.2583
|  | 1514.5 | -23.2274
|  | 1515 | -23.1874
|  | 1515.5 | -23.1143
|  | 1516 | -23.0578
|  | 1516.5 | -23.0277
|  | 1517 | -22.9954
|  | 1517.5 | -22.9233
|  | 1518 | -22.8617
|  | 1518.5 | -22.808
|  | 1519 | -22.7953
|  | 1519.5 | -22.7388
|  | 1520 | -22.6611
|  | 1520.5 | -22.6348
|  | 1521 | -22.6046
|  | 1521.5 | -22.5549
|  | 1522 | -22.5106
|  | 1522.5 | -22.4769
|  | 1523 | -22.4707
|  | 1523.5 | -22.4338
|  | 1524 | -22.3532
|  | 1524.5 | -22.3046
|  | 1525 | -22.2893
|  | 1525.5 | -22.2593
|  | 1526 | -22.209
|  | 1526.5 | -22.19
|  | 1527 | -22.1842
|  | 1527.5 | -22.1818
|  | 1528 | -22.1155
|  | 1528.5 | -22.0831
|  | 1529 | -22.0468
|  | 1529.5 | -22.0325
|  | 1530 | -21.9945
|  | 1530.5 | -21.966
|  | 1531 | -21.9698
|  | 1531.5 | -21.9488
|  | 1532 | -21.9179
|  | 1532.5 | -21.8699
|  | 1533 | -21.8603
|  | 1533.5 | -21.849
|  | 1534 | -21.8146
|  | 1534.5 | -21.7798
|  | 1535 | -21.7762
|  | 1535.5 | -21.7805
|  | 1536 | -21.753
|  | 1536.5 | -21.7176
|  | 1537 | -21.6997
|  | 1537.5 | -21.6937
|  | 1538 | -21.6724
|  | 1538.5 | -21.6412
|  | 1539 | -21.6147
|  | 1539.5 | -21.6132
|  | 1540 | -21.6075
|  | 1540.5 | -21.5949
|  | 1541 | -21.5628
|  | 1541.5 | -21.5402
|  | 1542 | -21.551
|  | 1542.5 | -21.5154
|  | 1543 | -21.4779
|  | 1543.5 | -21.4815
|  | 1544 | -21.4852
|  | 1544.5 | -21.4669
|  | 1545 | -21.4417
|  | 1545.5 | -21.4105
|  | 1546 | -21.4004
|  | 1546.5 | -21.3943
|  | 1547 | -21.3605
|  | 1547.5 | -21.3221
|  | 1548 | -21.3365
|  | 1548.5 | -21.3181
|  | 1549 | -21.3027
|  | 1549.5 | -21.2867
|  | 1550 | -21.292
|  | 1550.5 | -21.288
|  | 1551 | -21.2583
|  | 1551.5 | -21.2276
|  | 1552 | -21.2198
|  | 1552.5 | -21.2162
|  | 1553 | -21.22
|  | 1553.5 | -21.1896
|  | 1554 | -21.1884
|  | 1554.5 | -21.1899
|  | 1555 | -21.1874
|  | 1555.5 | -21.1439
|  | 1556 | -21.132
|  | 1556.5 | -21.1405
|  | 1557 | -21.1528
|  | 1557.5 | -21.1501
|  | 1558 | -21.1313
|  | 1558.5 | -21.1402
|  | 1559 | -21.1389
|  | 1559.5 | -21.1124
|  | 1560 | -21.0715
|  | 1560.5 | -21.073
|  | 1561 | -21.0932
|  | 1561.5 | -21.1034
|  | 1562 | -21.1019
|  | 1562.5 | -21.105
|  | 1563 | -21.1016
|  | 1563.5 | -21.0874
|  | 1564 | -21.0591
|  | 1564.5 | -21.049
|  | 1565 | -21.0665
|  | 1565.5 | -21.0799
|  | 1566 | -21.0884
|  | 1566.5 | -21.0983
|  | 1567 | -21.1064
|  | 1567.5 | -21.104
|  | 1568 | -21.0817
|  | 1568.5 | -21.074
|  | 1569 | -21.1213
|  | 1569.5 | -21.1551
|  | 1570 | -21.1691
|  | 1570.5 | -21.1589
|  | 1571 | -21.1524
|  | 1571.5 | -21.1708
|  | 1572 | -21.1743
|  | 1572.5 | -21.1523
|  | 1573 | -21.1609
|  | 1573.5 | -21.1987
|  | 1574 | -21.2415
|  | 1574.5 | -21.2486
|  | 1575 | -21.2384
|  | 1575.5 | -21.2424
|  | 1576 | -21.2521
|  | 1576.5 | -21.2503
|  | 1577 | -21.2512
|  | 1577.5 | -21.2923
|  | 1578 | -21.3427
|  | 1578.5 | -21.3779
|  | 1579 | -21.3788
|  | 1579.5 | -21.3905
|  | 1580 | -21.3823
|  | 1580.5 | -21.3839
|  | 1581 | -21.3932
|  | 1581.5 | -21.3898
|  | 1582 | -21.4388
|  | 1582.5 | -21.5025
|  | 1583 | -21.5384
|  | 1583.5 | -21.5438
|  | 1584 | -21.5322
|  | 1584.5 | -21.5458
|  | 1585 | -21.5536
|  | 1585.5 | -21.5713
|  | 1586 | -21.59
|  | 1586.5 | -21.6263
|  | 1587 | -21.68
|  | 1587.5 | -21.7251
|  | 1588 | -21.7274
|  | 1588.5 | -21.7239
|  | 1589 | -21.7417
|  | 1589.5 | -21.7897
|  | 1590 | -21.8149
|  | 1590.5 | -21.8376
|  | 1591 | -21.8892
|  | 1591.5 | -21.9398
|  | 1592 | -21.9531
|  | 1592.5 | -21.9536
|  | 1593 | -21.9437
|  | 1593.5 | -21.9685
|  | 1594 | -22.0387
|  | 1594.5 | -22.0753
|  | 1595 | -22.1183
|  | 1595.5 | -22.1811
|  | 1596 | -22.2278
|  | 1596.5 | -22.25
|  | 1597 | -22.2584
|  | 1597.5 | -22.2716
|  | 1598 | -22.3326
|  | 1598.5 | -22.3954
|  | 1599 | -22.4269
|  | 1599.5 | -22.463
|  | 1600 | -22.5182
|  | 1600.5 | -22.5738
|  | 1601 | -22.6276
|  | 1601.5 | -22.6536
|  | 1602 | -22.6857
|  | 1602.5 | -22.7408
|  | 1603 | -22.8389
|  | 1603.5 | -22.8713
|  | 1604 | -22.9222
|  | 1604.5 | -23.0019
|  | 1605 | -23.054
|  | 1605.5 | -23.0991
|  | 1606 | -23.1281
|  | 1606.5 | -23.1584
|  | 1607 | -23.229
|  | 1607.5 | -23.3456
|  | 1608 | -23.4182
|  | 1608.5 | -23.4537
|  | 1609 | -23.5354
|  | 1609.5 | -23.6142
|  | 1610 | -23.6812
|  | 1610.5 | -23.7359
|  | 1611 | -23.7725
|  | 1611.5 | -23.8775
|  | 1612 | -24.0197
|  | 1612.5 | -24.0876
|  | 1613 | -24.1132
|  | 1613.5 | -24.1799
|  | 1614 | -24.2767
|  | 1614.5 | -24.35
|  | 1615 | -24.4063
|  | 1615.5 | -24.4901
|  | 1616 | -24.6021
|  | 1616.5 | -24.7227
|  | 1617 | -24.8401
|  | 1617.5 | -24.9052
|  | 1618 | -24.9825
|  | 1618.5 | -25.0832
|  | 1619 | -25.2003
|  | 1619.5 | -25.3031
|  | 1620 | -25.3806
|  | 1620.5 | -25.4686
|  | 1621 | -25.6276
|  | 1621.5 | -25.7873
|  | 1622 | -25.8353
|  | 1622.5 | -25.8814
|  | 1623 | -25.9762
|  | 1623.5 | -26.1215
|  | 1624 | -26.2209
|  | 1624.5 | -26.3203
|  | 1625 | -26.4169
|  | 1625.5 | -26.6058
|  | 1626 | -26.7691
|  | 1626.5 | -26.9324
|  | 1627 | -26.9919
|  | 1627.5 | -27.1085
|  | 1628 | -27.2782
|  | 1628.5 | -27.5057
|  | 1629 | -27.604
|  | 1629.5 | -27.7427
|  | 1630 | -27.9215
|  | 1630.5 | -28.1282
|  | 1631 | -28.3193
|  | 1631.5 | -28.4159
|  | 1632 | -28.577
|  | 1632.5 | -28.7412
|  | 1633 | -28.9689
|  | 1633.5 | -29.2494
|  | 1634 | -29.3825
|  | 1634.5 | -29.4805
|  | 1635 | -29.6376
|  | 1635.5 | -29.8731
|  | 1636 | -30.0553
|  | 1636.5 | -30.2067
|  | 1637 | -30.4068
|  | 1637.5 | -30.6647
|  | 1638 | -30.9166
|  | 1638.5 | -31.1114
|  | 1639 | -31.2838
|  | 1639.5 | -31.5088
|  | 1640 | -31.7835
|  | 1640.5 | -32.009
|  | 1641 | -32.1988
|  | 1641.5 | -32.3731
|  | 1642 | -32.5849
|  | 1642.5 | -32.8583
|  | 1643 | -33.1232
|  | 1643.5 | -33.2944
|  | 1644 | -33.4641
|  | 1644.5 | -33.6963
|  | 1645 | -33.9473
|  | 1645.5 | -34.1318
|  | 1646 | -34.2948
|  | 1646.5 | -34.4773
|  | 1647 | -34.7057
|  | 1647.5 | -34.9398
|  | 1648 | -35.1412
|  | 1648.5 | -35.2688
|  | 1649 | -35.4406
|  | 1649.5 | -35.6719
|  | 1650 | -35.8777
|  | 1650.5 | -36.0304
|  | 1651 | -36.1511
|  | 1651.5 | -36.3011
|  | 1652 | -36.5416
|  | 1652.5 | -36.7624
|  | 1653 | -36.8737
|  | 1653.5 | -36.9739
|  | 1654 | -37.128
|  | 1654.5 | -37.3145
|  | 1655 | -37.4694
|  | 1655.5 | -37.6247
|  | 1656 | -37.7395
|  | 1656.5 | -37.8787
|  | 1657 | -38.0777
|  | 1657.5 | -38.27
|  | 1658 | -38.366
|  | 1658.5 | -38.4503
|  | 1659 | -38.6041
|  | 1659.5 | -38.7769
|  | 1660 | -38.9282

## Ripple Spectrum
BOA1550PXS Ripple Spectrum
|  | Wavelength (nm) | Amplitude (dB)
|  | 1550 | -33.7805
|  | 1550.006 | -33.7783
|  | 1550.0121 | -33.7808
|  | 1550.0181 | -33.7776
Product Raw Data |  | 1550.0239 | -33.7738
1550 nm Polarization-Dependent Optical Shutter/Switch, ≤21 dBm (Typ.) Output Power, Butterfly, PM, FC/APC |  | 1550.03 | -33.7706
|  | 1550.036 | -33.7658
|  | 1550.042 | -33.7609
Item # | BOA1550PXS | 1550.048 | -33.7557
DISCLAIMER: The data presented here are typical. Slight variations in performance data will occur from lot to lot. Please contact Technical Support with any questions regarding the use or reliability of this data. |  | 1550.054 | -33.751
|  | 1550.0601 | -33.7516
|  | 1550.066 | -33.7549
|  | 1550.072 | -33.7547
|  | 1550.078 | -33.7542
|  | 1550.084 | -33.7547
This data may be used in publications. However, please cite Thorlabs as the source. |  | 1550.09 | -33.7535
|  | 1550.0961 | -33.7538
|  | 1550.1019 | -33.7553
Additional Information: |  | 1550.108 | -33.7583
I = 900 mA |  | 1550.114 | -33.7664
|  | 1550.12 | -33.7753
|  | 1550.126 | -33.7803
|  | 1550.132 | -33.7838
|  | 1550.1379 | -33.7844
|  | 1550.144 | -33.7855
|  | 1550.15 | -33.7863
|  | 1550.156 | -33.7898
|  | 1550.162 | -33.7941
|  | 1550.168 | -33.8004
|  | 1550.1741 | -33.8064
|  | 1550.1799 | -33.8093
|  | 1550.1859 | -33.8082
|  | 1550.192 | -33.8101
|  | 1550.198 | -33.8037
|  | 1550.2041 | -33.8008
|  | 1550.21 | -33.7944
|  | 1550.2159 | -33.7925
|  | 1550.2221 | -33.7936
|  | 1550.228 | -33.7944
|  | 1550.2339 | -33.7927
|  | 1550.24 | -33.7869
|  | 1550.246 | -33.7866
|  | 1550.2521 | -33.7799
|  | 1550.2581 | -33.7729
|  | 1550.2639 | -33.7675
|  | 1550.27 | -33.7617
|  | 1550.276 | -33.7632
|  | 1550.282 | -33.765
|  | 1550.288 | -33.7657
|  | 1550.2939 | -33.7702
|  | 1550.3001 | -33.7652
|  | 1550.306 | -33.7633
|  | 1550.312 | -33.7623
|  | 1550.318 | -33.7631
|  | 1550.324 | -33.7656
|  | 1550.33 | -33.77
|  | 1550.3361 | -33.7745
|  | 1550.3419 | -33.7785
|  | 1550.348 | -33.7783
|  | 1550.354 | -33.7802
|  | 1550.36 | -33.7789
|  | 1550.3661 | -33.7824
|  | 1550.3719 | -33.7802
|  | 1550.3779 | -33.7826
|  | 1550.384 | -33.7854
|  | 1550.39 | -33.789
|  | 1550.396 | -33.7912
|  | 1550.402 | -33.7915
|  | 1550.408 | -33.7896
|  | 1550.4141 | -33.7854
|  | 1550.42 | -33.7837
|  | 1550.4259 | -33.7804
|  | 1550.432 | -33.7778
|  | 1550.438 | -33.7774
|  | 1550.4441 | -33.7789
|  | 1550.4499 | -33.7789
|  | 1550.4559 | -33.7823
|  | 1550.462 | -33.7781
|  | 1550.468 | -33.7758
|  | 1550.474 | -33.7689
|  | 1550.48 | -33.7665
|  | 1550.486 | -33.7637
|  | 1550.4921 | -33.7623
|  | 1550.498 | -33.7638
|  | 1550.5039 | -33.7659
|  | 1550.51 | -33.766
|  | 1550.516 | -33.7629
|  | 1550.522 | -33.7645
|  | 1550.5281 | -33.7615
|  | 1550.5339 | -33.7579
|  | 1550.54 | -33.757
|  | 1550.546 | -33.7595
|  | 1550.552 | -33.7587
|  | 1550.558 | -33.7593
|  | 1550.564 | -33.7576
|  | 1550.57 | -33.7554
|  | 1550.576 | -33.7554
|  | 1550.582 | -33.7541
|  | 1550.588 | -33.7522
|  | 1550.594 | -33.7554
|  | 1550.6 | -33.7551
|  | 1550.6061 | -33.7537
|  | 1550.6119 | -33.7596
|  | 1550.6179 | -33.7591
|  | 1550.624 | -33.7597
|  | 1550.63 | -33.7573
|  | 1550.6361 | -33.7534
|  | 1550.642 | -33.7548
|  | 1550.648 | -33.7568
|  | 1550.6541 | -33.7628
|  | 1550.66 | -33.7632
|  | 1550.666 | -33.769
|  | 1550.672 | -33.7711
|  | 1550.678 | -33.7692
|  | 1550.6841 | -33.7654
|  | 1550.6899 | -33.7635
|  | 1550.6959 | -33.7561
|  | 1550.702 | -33.7582
|  | 1550.708 | -33.7586
|  | 1550.714 | -33.7626
|  | 1550.72 | -33.7637
|  | 1550.726 | -33.7656
|  | 1550.7321 | -33.7588
|  | 1550.738 | -33.7546
|  | 1550.7439 | -33.7507
|  | 1550.75 | -33.7485
|  | 1550.756 | -33.7484
|  | 1550.762 | -33.7532
|  | 1550.7681 | -33.7578
|  | 1550.7739 | -33.759
|  | 1550.78 | -33.761
|  | 1550.786 | -33.7623
|  | 1550.792 | -33.7636
|  | 1550.798 | -33.7626
|  | 1550.804 | -33.7647
|  | 1550.8101 | -33.7709
|  | 1550.816 | -33.7713
|  | 1550.822 | -33.7806
|  | 1550.828 | -33.7837
|  | 1550.834 | -33.7827
|  | 1550.84 | -33.783
|  | 1550.8461 | -33.7771
|  | 1550.8519 | -33.7742
|  | 1550.858 | -33.7751
|  | 1550.864 | -33.7751
|  | 1550.87 | -33.7731
|  | 1550.8761 | -33.7796
|  | 1550.882 | -33.7827
|  | 1550.8879 | -33.7773
|  | 1550.894 | -33.7714
|  | 1550.9 | -33.7633
|  | 1550.906 | -33.754
|  | 1550.912 | -33.7501
|  | 1550.918 | -33.7482
|  | 1550.9241 | -33.7503
|  | 1550.93 | -33.7505
|  | 1550.9359 | -33.7531
|  | 1550.942 | -33.7536
|  | 1550.948 | -33.7544
|  | 1550.954 | -33.7529
|  | 1550.96 | -33.7488
|  | 1550.9659 | -33.7466
|  | 1550.9721 | -33.7477
|  | 1550.978 | -33.7558
|  | 1550.984 | -33.7588
|  | 1550.99 | -33.7669
|  | 1550.996 | -33.7692
|  | 1551.0021 | -33.7729
|  | 1551.0081 | -33.7766
|  | 1551.0139 | -33.7734
|  | 1551.02 | -33.7716
|  | 1551.026 | -33.7717
|  | 1551.032 | -33.773
|  | 1551.0381 | -33.779
|  | 1551.0439 | -33.7802
|  | 1551.0501 | -33.7783
|  | 1551.056 | -33.7759
|  | 1551.062 | -33.7695
|  | 1551.068 | -33.7649
|  | 1551.074 | -33.7596
|  | 1551.08 | -33.7556
|  | 1551.0861 | -33.7522
|  | 1551.092 | -33.7527
|  | 1551.098 | -33.75
|  | 1551.104 | -33.7451
|  | 1551.11 | -33.7414
|  | 1551.1161 | -33.7321
|  | 1551.1219 | -33.7228
|  | 1551.1279 | -33.7154
|  | 1551.134 | -33.7156
|  | 1551.14 | -33.7154
|  | 1551.146 | -33.7176
|  | 1551.152 | -33.7231
|  | 1551.158 | -33.7259
|  | 1551.1641 | -33.7289
|  | 1551.17 | -33.7281
|  | 1551.1759 | -33.7275
|  | 1551.182 | -33.7259
|  | 1551.188 | -33.7264
|  | 1551.1941 | -33.7305
|  | 1551.1999 | -33.7385
|  | 1551.2059 | -33.7449
|  | 1551.212 | -33.754
|  | 1551.218 | -33.7559
|  | 1551.224 | -33.7525
|  | 1551.23 | -33.7528
|  | 1551.236 | -33.7472
|  | 1551.2421 | -33.7445
|  | 1551.248 | -33.7472
|  | 1551.2539 | -33.7472
|  | 1551.26 | -33.748
|  | 1551.266 | -33.7483
|  | 1551.272 | -33.7473
|  | 1551.2781 | -33.7425
|  | 1551.2839 | -33.7366
|  | 1551.29 | -33.7326
|  | 1551.296 | -33.7286
|  | 1551.302 | -33.7306
|  | 1551.308 | -33.7337
|  | 1551.314 | -33.7346
|  | 1551.32 | -33.7356
|  | 1551.326 | -33.7301
|  | 1551.332 | -33.726
|  | 1551.338 | -33.7245
|  | 1551.344 | -33.7214
|  | 1551.35 | -33.7225
|  | 1551.3561 | -33.7274
|  | 1551.3619 | -33.7299
|  | 1551.3679 | -33.7361
|  | 1551.374 | -33.741
|  | 1551.38 | -33.7392
|  | 1551.3861 | -33.7343
|  | 1551.392 | -33.7307
|  | 1551.398 | -33.728
|  | 1551.4041 | -33.7303
|  | 1551.41 | -33.734
|  | 1551.4159 | -33.7395
|  | 1551.422 | -33.746
|  | 1551.428 | -33.7501
|  | 1551.4341 | -33.7489
|  | 1551.4401 | -33.7478
|  | 1551.4459 | -33.742
|  | 1551.452 | -33.7388
|  | 1551.458 | -33.7418
|  | 1551.464 | -33.7457
|  | 1551.47 | -33.7493
|  | 1551.476 | -33.7573
|  | 1551.4821 | -33.7579
|  | 1551.488 | -33.755
|  | 1551.494 | -33.755
|  | 1551.5 | -33.7492
|  | 1551.506 | -33.7498
|  | 1551.512 | -33.7454
|  | 1551.5181 | -33.746
|  | 1551.5239 | -33.7457
|  | 1551.53 | -33.7485
|  | 1551.536 | -33.7466
|  | 1551.542 | -33.7396
|  | 1551.5481 | -33.7346
|  | 1551.554 | -33.7297
|  | 1551.5599 | -33.7217
|  | 1551.566 | -33.7211
|  | 1551.572 | -33.7238
|  | 1551.578 | -33.7231
|  | 1551.584 | -33.7283
|  | 1551.59 | -33.7297
|  | 1551.5961 | -33.7273
|  | 1551.602 | -33.7202
|  | 1551.6079 | -33.7179
|  | 1551.614 | -33.7145
|  | 1551.62 | -33.7158
|  | 1551.6261 | -33.7241
|  | 1551.632 | -33.7338
|  | 1551.6379 | -33.7433
|  | 1551.644 | -33.745
|  | 1551.65 | -33.7493
|  | 1551.656 | -33.7481
|  | 1551.662 | -33.7442
|  | 1551.668 | -33.7431
|  | 1551.6741 | -33.7462
|  | 1551.68 | -33.7492
|  | 1551.6859 | -33.7516
|  | 1551.692 | -33.755
|  | 1551.698 | -33.7545
|  | 1551.704 | -33.7516
|  | 1551.7101 | -33.7467
|  | 1551.7159 | -33.7397
|  | 1551.7221 | -33.7313
|  | 1551.728 | -33.7228
|  | 1551.734 | -33.7148
|  | 1551.74 | -33.7077
|  | 1551.746 | -33.7027
|  | 1551.752 | -33.7004
|  | 1551.7581 | -33.6932
|  | 1551.7639 | -33.6822
|  | 1551.77 | -33.6703
|  | 1551.776 | -33.6611
|  | 1551.782 | -33.6554
|  | 1551.7881 | -33.656
|  | 1551.7939 | -33.6629
|  | 1551.7999 | -33.6664
|  | 1551.806 | -33.673
|  | 1551.812 | -33.6736
|  | 1551.818 | -33.6753
|  | 1551.824 | -33.6791
|  | 1551.83 | -33.6782
|  | 1551.8361 | -33.687
|  | 1551.842 | -33.6992
|  | 1551.8479 | -33.7132
|  | 1551.854 | -33.7217
|  | 1551.86 | -33.7309
|  | 1551.8661 | -33.7372
|  | 1551.8719 | -33.7368
|  | 1551.8779 | -33.7338
|  | 1551.884 | -33.7311
|  | 1551.89 | -33.7298
|  | 1551.896 | -33.7339
|  | 1551.902 | -33.7338
|  | 1551.908 | -33.7324
|  | 1551.9141 | -33.7299
|  | 1551.92 | -33.7238
|  | 1551.9259 | -33.7118
|  | 1551.932 | -33.6994
|  | 1551.938 | -33.6855
|  | 1551.944 | -33.6747
|  | 1551.9501 | -33.6691
|  | 1551.9559 | -33.6625
|  | 1551.962 | -33.6615
|  | 1551.968 | -33.66
|  | 1551.974 | -33.6543
|  | 1551.98 | -33.6447
|  | 1551.986 | -33.6447
|  | 1551.9919 | -33.6392
|  | 1551.998 | -33.6396
|  | 1552.004 | -33.647
|  | 1552.01 | -33.6554
|  | 1552.016 | -33.6632
|  | 1552.022 | -33.6691
|  | 1552.0281 | -33.6713
|  | 1552.0339 | -33.6785
|  | 1552.0399 | -33.682
|  | 1552.046 | -33.6835
|  | 1552.052 | -33.6875
|  | 1552.0581 | -33.6993
|  | 1552.064 | -33.7019
|  | 1552.07 | -33.7116
|  | 1552.076 | -33.72
|  | 1552.082 | -33.7234
|  | 1552.0879 | -33.726
|  | 1552.094 | -33.7205
|  | 1552.1 | -33.7175
|  | 1552.1061 | -33.7154
|  | 1552.1121 | -33.7144
|  | 1552.1179 | -33.7166
|  | 1552.124 | -33.719
|  | 1552.13 | -33.7218
|  | 1552.136 | -33.7165
|  | 1552.142 | -33.7097
|  | 1552.148 | -33.7044
|  | 1552.1541 | -33.6929
|  | 1552.16 | -33.6907
|  | 1552.166 | -33.686
|  | 1552.172 | -33.689
|  | 1552.178 | -33.6937
|  | 1552.184 | -33.6931
|  | 1552.1901 | -33.69
|  | 1552.1959 | -33.6831
|  | 1552.202 | -33.6739
|  | 1552.208 | -33.6685
|  | 1552.214 | -33.6643
|  | 1552.2201 | -33.6676
|  | 1552.226 | -33.671
|  | 1552.2319 | -33.6766
|  | 1552.238 | -33.6809
|  | 1552.244 | -33.6833
|  | 1552.25 | -33.6794
|  | 1552.256 | -33.6753
|  | 1552.262 | -33.6746
|  | 1552.2681 | -33.677
|  | 1552.274 | -33.6802
|  | 1552.28 | -33.6901
|  | 1552.286 | -33.6985
|  | 1552.292 | -33.704
|  | 1552.2981 | -33.7088
|  | 1552.304 | -33.7106
|  | 1552.3099 | -33.7074
|  | 1552.316 | -33.7068
|  | 1552.322 | -33.7092
|  | 1552.328 | -33.7114
|  | 1552.334 | -33.7196
|  | 1552.34 | -33.7268
|  | 1552.3461 | -33.7306
|  | 1552.352 | -33.728
|  | 1552.3579 | -33.7218
|  | 1552.364 | -33.7127
|  | 1552.37 | -33.7019
|  | 1552.376 | -33.696
|  | 1552.382 | -33.692
|  | 1552.3879 | -33.6896
|  | 1552.394 | -33.686
|  | 1552.4 | -33.6797
|  | 1552.406 | -33.6708
|  | 1552.412 | -33.658
|  | 1552.418 | -33.6449
|  | 1552.424 | -33.635
|  | 1552.43 | -33.6317
|  | 1552.4359 | -33.6301
|  | 1552.442 | -33.6335
|  | 1552.448 | -33.6391
|  | 1552.454 | -33.6424
|  | 1552.4601 | -33.644
|  | 1552.4659 | -33.644
|  | 1552.4721 | -33.645
|  | 1552.478 | -33.6505
|  | 1552.484 | -33.6579
|  | 1552.49 | -33.6714
|  | 1552.496 | -33.6903
|  | 1552.502 | -33.7048
|  | 1552.5081 | -33.715
|  | 1552.514 | -33.7219
|  | 1552.52 | -33.7241
|  | 1552.526 | -33.7274
|  | 1552.532 | -33.7269
|  | 1552.5381 | -33.7259
|  | 1552.5439 | -33.7303
|  | 1552.5499 | -33.732
|  | 1552.556 | -33.7343
|  | 1552.562 | -33.7311
|  | 1552.568 | -33.7249
|  | 1552.574 | -33.7124
|  | 1552.58 | -33.698
|  | 1552.5861 | -33.6853
|  | 1552.592 | -33.6769
|  | 1552.5979 | -33.673
|  | 1552.604 | -33.6679
|  | 1552.61 | -33.6648
|  | 1552.616 | -33.6555
|  | 1552.6221 | -33.6518
|  | 1552.6279 | -33.6418
|  | 1552.634 | -33.6339
|  | 1552.64 | -33.6299
|  | 1552.646 | -33.6311
|  | 1552.652 | -33.6392
|  | 1552.658 | -33.6456
|  | 1552.6641 | -33.6541
|  | 1552.67 | -33.6639
|  | 1552.676 | -33.6721
|  | 1552.682 | -33.6765
|  | 1552.688 | -33.6816
|  | 1552.694 | -33.6867
|  | 1552.7001 | -33.6903
|  | 1552.7059 | -33.7051
|  | 1552.712 | -33.7156
|  | 1552.718 | -33.7276
|  | 1552.724 | -33.738
|  | 1552.7301 | -33.7419
|  | 1552.736 | -33.7442
|  | 1552.7419 | -33.741
|  | 1552.748 | -33.7344
|  | 1552.754 | -33.7346
|  | 1552.76 | -33.7346
|  | 1552.766 | -33.7354
|  | 1552.772 | -33.7383
|  | 1552.7781 | -33.7351
|  | 1552.7841 | -33.7333
|  | 1552.7899 | -33.7262
|  | 1552.796 | -33.7161
|  | 1552.802 | -33.7058
|  | 1552.808 | -33.7022
|  | 1552.814 | -33.6954
|  | 1552.82 | -33.6932
|  | 1552.826 | -33.6949
|  | 1552.832 | -33.6903
|  | 1552.8379 | -33.6845
|  | 1552.844 | -33.6842
|  | 1552.85 | -33.681
|  | 1552.8561 | -33.6754
|  | 1552.8621 | -33.6704
|  | 1552.8679 | -33.6757
|  | 1552.874 | -33.6796
|  | 1552.88 | -33.6871
|  | 1552.886 | -33.6953
|  | 1552.892 | -33.6998
|  | 1552.898 | -33.6989
|  | 1552.9041 | -33.6962
|  | 1552.91 | -33.6945
|  | 1552.916 | -33.6946
|  | 1552.922 | -33.7015
|  | 1552.928 | -33.7065
|  | 1552.934 | -33.7185
|  | 1552.9401 | -33.7255
|  | 1552.9459 | -33.729
|  | 1552.952 | -33.7295
|  | 1552.958 | -33.7275
|  | 1552.964 | -33.7249
|  | 1552.9701 | -33.7215
|  | 1552.976 | -33.7257
|  | 1552.9819 | -33.7296
|  | 1552.988 | -33.7332
|  | 1552.994 | -33.7364
|  | 1553 | -33.7376
|  | 1553.006 | -33.7343
|  | 1553.012 | -33.7298
|  | 1553.0181 | -33.7213
|  | 1553.024 | -33.7121
|  | 1553.0299 | -33.7099
|  | 1553.036 | -33.7081
|  | 1553.042 | -33.7081
|  | 1553.0481 | -33.7106
|  | 1553.054 | -33.704
|  | 1553.0599 | -33.694
|  | 1553.066 | -33.6832
|  | 1553.072 | -33.673
|  | 1553.078 | -33.6658
|  | 1553.084 | -33.6643
|  | 1553.09 | -33.6698
|  | 1553.0961 | -33.6697
|  | 1553.102 | -33.6709
|  | 1553.1079 | -33.67
|  | 1553.114 | -33.6677
|  | 1553.12 | -33.666
|  | 1553.126 | -33.6642
|  | 1553.1321 | -33.6706
|  | 1553.1379 | -33.6797
|  | 1553.144 | -33.689
|  | 1553.15 | -33.7019
|  | 1553.156 | -33.7096
|  | 1553.162 | -33.7181
|  | 1553.168 | -33.7209
|  | 1553.174 | -33.723
|  | 1553.18 | -33.7256
|  | 1553.186 | -33.7302
|  | 1553.192 | -33.7326
|  | 1553.198 | -33.7406
|  | 1553.204 | -33.7476
|  | 1553.2101 | -33.754
|  | 1553.2159 | -33.7532
|  | 1553.2219 | -33.746
|  | 1553.228 | -33.7396
|  | 1553.234 | -33.7297
|  | 1553.2401 | -33.7199
|  | 1553.246 | -33.7148
|  | 1553.252 | -33.7093
|  | 1553.2581 | -33.7088
|  | 1553.264 | -33.7024
|  | 1553.2699 | -33.6956
|  | 1553.276 | -33.6872
|  | 1553.282 | -33.6793
|  | 1553.2881 | -33.6695
|  | 1553.2941 | -33.6703
|  | 1553.2999 | -33.6763
|  | 1553.306 | -33.6789
|  | 1553.312 | -33.6837
|  | 1553.318 | -33.6869
|  | 1553.324 | -33.6855
|  | 1553.33 | -33.6872
|  | 1553.3361 | -33.6898
|  | 1553.342 | -33.6962
|  | 1553.348 | -33.7052
|  | 1553.354 | -33.7153
|  | 1553.36 | -33.7259
|  | 1553.366 | -33.7356
|  | 1553.3721 | -33.7424
|  | 1553.3779 | -33.7492
|  | 1553.384 | -33.7491
|  | 1553.39 | -33.7507
|  | 1553.396 | -33.7486
|  | 1553.402 | -33.7501
|  | 1553.408 | -33.7522
|  | 1553.4139 | -33.7547
|  | 1553.42 | -33.7574
|  | 1553.426 | -33.761
|  | 1553.432 | -33.7602
|  | 1553.438 | -33.7538
|  | 1553.444 | -33.7443
|  | 1553.4501 | -33.7339
|  | 1553.4559 | -33.7316
|  | 1553.4619 | -33.7278
|  | 1553.468 | -33.723
|  | 1553.474 | -33.7258
|  | 1553.4801 | -33.7218
|  | 1553.486 | -33.7239
|  | 1553.4919 | -33.7183
|  | 1553.498 | -33.7134
|  | 1553.504 | -33.7118
|  | 1553.5099 | -33.7116
|  | 1553.516 | -33.7108
|  | 1553.522 | -33.7118
|  | 1553.5281 | -33.7167
|  | 1553.5341 | -33.7209
|  | 1553.5399 | -33.7227
|  | 1553.546 | -33.725
|  | 1553.552 | -33.7239
|  | 1553.558 | -33.7265
|  | 1553.564 | -33.7269
|  | 1553.57 | -33.7302
|  | 1553.576 | -33.7348
|  | 1553.582 | -33.7423
|  | 1553.588 | -33.7465
|  | 1553.594 | -33.7484
|  | 1553.6 | -33.7471
|  | 1553.606 | -33.7423
|  | 1553.6121 | -33.7359
|  | 1553.6179 | -33.7343
|  | 1553.624 | -33.7361
|  | 1553.63 | -33.7386
|  | 1553.636 | -33.7438
|  | 1553.6421 | -33.746
|  | 1553.648 | -33.7468
|  | 1553.6539 | -33.7453
|  | 1553.66 | -33.7414
|  | 1553.666 | -33.7324
|  | 1553.672 | -33.7272
|  | 1553.678 | -33.723
|  | 1553.684 | -33.7246
|  | 1553.6901 | -33.7297
|  | 1553.696 | -33.7271
|  | 1553.7019 | -33.7304
|  | 1553.708 | -33.7291
|  | 1553.714 | -33.7255
|  | 1553.7201 | -33.7185
|  | 1553.726 | -33.7156
|  | 1553.7319 | -33.7148
|  | 1553.738 | -33.7118
|  | 1553.744 | -33.7129
|  | 1553.75 | -33.7143
|  | 1553.756 | -33.7141
|  | 1553.762 | -33.7139
|  | 1553.7681 | -33.7097
|  | 1553.774 | -33.7043
|  | 1553.7799 | -33.7059
|  | 1553.786 | -33.7081
|  | 1553.792 | -33.7113
|  | 1553.798 | -33.713
|  | 1553.8041 | -33.7189
|  | 1553.8099 | -33.7252
|  | 1553.816 | -33.7272
|  | 1553.822 | -33.7276
|  | 1553.828 | -33.7282
|  | 1553.834 | -33.7242
|  | 1553.84 | -33.727
|  | 1553.8459 | -33.7332
|  | 1553.852 | -33.7423
|  | 1553.858 | -33.7481
|  | 1553.864 | -33.7544
|  | 1553.87 | -33.7485
|  | 1553.876 | -33.7424
|  | 1553.8821 | -33.7402
|  | 1553.8879 | -33.7336
|  | 1553.8939 | -33.7303
|  | 1553.9 | -33.7325
|  | 1553.906 | -33.7325
|  | 1553.9121 | -33.7358
|  | 1553.918 | -33.7348
|  | 1553.924 | -33.7286
|  | 1553.93 | -33.725
|  | 1553.936 | -33.7162
|  | 1553.942 | -33.7083
|  | 1553.948 | -33.7042
|  | 1553.954 | -33.7047
|  | 1553.9601 | -33.7108
|  | 1553.9659 | -33.7156
|  | 1553.9719 | -33.7192
|  | 1553.978 | -33.7212
|  | 1553.984 | -33.7207
|  | 1553.99 | -33.7216
|  | 1553.996 | -33.7203
|  | 1554.002 | -33.7261
|  | 1554.0081 | -33.7308
|  | 1554.014 | -33.7344
|  | 1554.0199 | -33.7448
|  | 1554.026 | -33.7484
|  | 1554.032 | -33.7552
|  | 1554.038 | -33.7562
|  | 1554.0441 | -33.7575
|  | 1554.0499 | -33.7566
|  | 1554.056 | -33.7596
|  | 1554.062 | -33.7608
|  | 1554.068 | -33.7646
|  | 1554.074 | -33.7687
|  | 1554.08 | -33.7706
|  | 1554.0859 | -33.7675
|  | 1554.092 | -33.7625
|  | 1554.098 | -33.7545
|  | 1554.104 | -33.7457
|  | 1554.11 | -33.7427
|  | 1554.116 | -33.7371
|  | 1554.1221 | -33.7374
|  | 1554.1279 | -33.7395
|  | 1554.134 | -33.7375
|  | 1554.14 | -33.7345
|  | 1554.146 | -33.7292
|  | 1554.1521 | -33.7216
|  | 1554.158 | -33.7159
|  | 1554.1639 | -33.7098
|  | 1554.17 | -33.711
|  | 1554.176 | -33.7139
|  | 1554.182 | -33.7185
|  | 1554.188 | -33.7257
|  | 1554.194 | -33.7272
|  | 1554.2001 | -33.7321
|  | 1554.2061 | -33.7296
|  | 1554.2119 | -33.729
|  | 1554.218 | -33.7264
|  | 1554.224 | -33.7324
|  | 1554.23 | -33.7372
|  | 1554.236 | -33.7438
|  | 1554.2419 | -33.7484
|  | 1554.248 | -33.754
|  | 1554.254 | -33.7559
|  | 1554.26 | -33.7569
|  | 1554.266 | -33.7538
|  | 1554.272 | -33.7512
|  | 1554.2779 | -33.7474
|  | 1554.2841 | -33.7496
|  | 1554.2899 | -33.7507
|  | 1554.296 | -33.7503
|  | 1554.302 | -33.7532
|  | 1554.308 | -33.7465
|  | 1554.3141 | -33.7419
|  | 1554.32 | -33.7353
|  | 1554.326 | -33.7285
|  | 1554.332 | -33.7253
|  | 1554.338 | -33.7275
|  | 1554.344 | -33.728
|  | 1554.35 | -33.7307
|  | 1554.356 | -33.7304
|  | 1554.3621 | -33.7268
|  | 1554.368 | -33.7222
|  | 1554.374 | -33.7189
|  | 1554.38 | -33.7147
|  | 1554.386 | -33.7114
|  | 1554.3921 | -33.7171
|  | 1554.398 | -33.7212
|  | 1554.4039 | -33.725
|  | 1554.41 | -33.7284
|  | 1554.416 | -33.7315
|  | 1554.422 | -33.7294
|  | 1554.428 | -33.7234
|  | 1554.434 | -33.7212
|  | 1554.4401 | -33.7191
|  | 1554.446 | -33.7236
|  | 1554.4519 | -33.7265
|  | 1554.458 | -33.731
|  | 1554.464 | -33.7357
|  | 1554.4701 | -33.7383
|  | 1554.476 | -33.7353
|  | 1554.4819 | -33.7347
|  | 1554.488 | -33.7325
|  | 1554.494 | -33.7305
|  | 1554.5 | -33.7345
|  | 1554.506 | -33.7373
|  | 1554.512 | -33.7444
|  | 1554.5181 | -33.7478
|  | 1554.524 | -33.7499
|  | 1554.5299 | -33.7474
|  | 1554.536 | -33.7464
|  | 1554.542 | -33.7441
|  | 1554.548 | -33.7444
|  | 1554.5541 | -33.7463
|  | 1554.5599 | -33.7487
|  | 1554.566 | -33.753
|  | 1554.572 | -33.7555
|  | 1554.578 | -33.7539
|  | 1554.584 | -33.7513
|  | 1554.59 | -33.7488
|  | 1554.5959 | -33.7443
|  | 1554.602 | -33.7451
|  | 1554.608 | -33.7481
|  | 1554.614 | -33.7499
|  | 1554.62 | -33.7548
|  | 1554.626 | -33.7539
|  | 1554.6321 | -33.7515
|  | 1554.6379 | -33.7478
|  | 1554.6439 | -33.7404
|  | 1554.65 | -33.7404
|  | 1554.656 | -33.7397
|  | 1554.6621 | -33.7423
|  | 1554.668 | -33.7445
|  | 1554.674 | -33.7507
|  | 1554.68 | -33.7557
|  | 1554.686 | -33.7606
|  | 1554.6919 | -33.7592
|  | 1554.698 | -33.7583
|  | 1554.704 | -33.7557
|  | 1554.7101 | -33.7563
|  | 1554.7161 | -33.7594
|  | 1554.7219 | -33.7631
|  | 1554.728 | -33.7679
|  | 1554.734 | -33.7732
|  | 1554.74 | -33.7726
|  | 1554.746 | -33.7685
|  | 1554.752 | -33.7644
|  | 1554.7581 | -33.7613
|  | 1554.764 | -33.7622
|  | 1554.77 | -33.7611
|  | 1554.776 | -33.7625
|  | 1554.782 | -33.7611
|  | 1554.788 | -33.7629
|  | 1554.7941 | -33.7589
|  | 1554.7999 | -33.7532
|  | 1554.806 | -33.7506
|  | 1554.812 | -33.7436
|  | 1554.818 | -33.7436
|  | 1554.8241 | -33.7394
|  | 1554.83 | -33.744
|  | 1554.8359 | -33.7427
|  | 1554.842 | -33.7443
|  | 1554.848 | -33.7419
|  | 1554.854 | -33.7389
|  | 1554.86 | -33.7375
|  | 1554.866 | -33.7353
|  | 1554.8721 | -33.7365
|  | 1554.8781 | -33.7395
|  | 1554.8839 | -33.7453
|  | 1554.89 | -33.7506
|  | 1554.896 | -33.756
|  | 1554.9021 | -33.7574
|  | 1554.908 | -33.7556
|  | 1554.9139 | -33.7545
|  | 1554.92 | -33.7514
|  | 1554.926 | -33.7489
|  | 1554.932 | -33.7529
|  | 1554.938 | -33.7544
|  | 1554.944 | -33.7586
|  | 1554.9501 | -33.7624
|  | 1554.9561 | -33.7582
|  | 1554.9619 | -33.7518
|  | 1554.968 | -33.7464
|  | 1554.974 | -33.7383
|  | 1554.98 | -33.7339
|  | 1554.9861 | -33.7343
|  | 1554.9919 | -33.7263
|  | 1554.998 | -33.7249
|  | 1555.004 | -33.7261
|  | 1555.01 | -33.7197
|  | 1555.016 | -33.7205
|  | 1555.022 | -33.7161
|  | 1555.0279 | -33.7156
|  | 1555.0341 | -33.7104
|  | 1555.0399 | -33.7097
|  | 1555.046 | -33.712
|  | 1555.052 | -33.7138
|  | 1555.058 | -33.7173
|  | 1555.0641 | -33.7176
|  | 1555.07 | -33.7177
|  | 1555.0759 | -33.7183
|  | 1555.082 | -33.7195
|  | 1555.088 | -33.7176
|  | 1555.094 | -33.7211
|  | 1555.1 | -33.7269
|  | 1555.106 | -33.7292
|  | 1555.1121 | -33.7392
|  | 1555.118 | -33.7411
|  | 1555.1239 | -33.7441
|  | 1555.13 | -33.7399
|  | 1555.136 | -33.7359
|  | 1555.1421 | -33.7355
|  | 1555.148 | -33.7328
|  | 1555.1539 | -33.7364
|  | 1555.16 | -33.7375
|  | 1555.166 | -33.7409
|  | 1555.172 | -33.7404
|  | 1555.178 | -33.7379
|  | 1555.184 | -33.7323
|  | 1555.1901 | -33.7267
|  | 1555.196 | -33.7238
|  | 1555.2019 | -33.7239
|  | 1555.208 | -33.7217
|  | 1555.214 | -33.7244
|  | 1555.22 | -33.7268
|  | 1555.2261 | -33.7273
|  | 1555.2319 | -33.7285
|  | 1555.238 | -33.7263
|  | 1555.244 | -33.7283
|  | 1555.25 | -33.7244
|  | 1555.256 | -33.7237
|  | 1555.262 | -33.7243
|  | 1555.2679 | -33.7278
|  | 1555.274 | -33.7303
|  | 1555.28 | -33.7312
|  | 1555.286 | -33.7318
|  | 1555.292 | -33.729
|  | 1555.298 | -33.7247
|  | 1555.3041 | -33.7225
|  | 1555.3099 | -33.7218
|  | 1555.3159 | -33.7269
|  | 1555.322 | -33.7289
|  | 1555.328 | -33.7298
|  | 1555.3341 | -33.7301
|  | 1555.34 | -33.7318
|  | 1555.3459 | -33.7268
|  | 1555.352 | -33.7261
|  | 1555.358 | -33.7227
|  | 1555.3639 | -33.7251
|  | 1555.37 | -33.7287
|  | 1555.376 | -33.7295
|  | 1555.3821 | -33.7361
|  | 1555.3881 | -33.7386
|  | 1555.3939 | -33.7388
|  | 1555.4 | -33.7388
|  | 1555.406 | -33.7366
|  | 1555.412 | -33.7336
|  | 1555.418 | -33.7316
|  | 1555.424 | -33.7342
|  | 1555.43 | -33.7356
|  | 1555.436 | -33.7368
|  | 1555.442 | -33.7406
|  | 1555.448 | -33.742
|  | 1555.454 | -33.74
|  | 1555.46 | -33.7304
|  | 1555.4661 | -33.7216
|  | 1555.4719 | -33.7164
|  | 1555.478 | -33.7163
|  | 1555.484 | -33.7139
|  | 1555.49 | -33.7164
|  | 1555.4961 | -33.7147
|  | 1555.502 | -33.7131
|  | 1555.5079 | -33.7079
|  | 1555.514 | -33.7013
|  | 1555.52 | -33.6986
|  | 1555.526 | -33.6947
|  | 1555.532 | -33.6976
|  | 1555.538 | -33.7067
|  | 1555.5441 | -33.7092
|  | 1555.5501 | -33.7096
|  | 1555.5559 | -33.7111
|  | 1555.562 | -33.7083
|  | 1555.568 | -33.7072
|  | 1555.5741 | -33.7059
|  | 1555.58 | -33.7075
|  | 1555.5859 | -33.7072
|  | 1555.592 | -33.7129
|  | 1555.598 | -33.7131
|  | 1555.604 | -33.7154
|  | 1555.61 | -33.7137
|  | 1555.616 | -33.7101
|  | 1555.6221 | -33.7042
|  | 1555.6281 | -33.6957
|  | 1555.6339 | -33.689
|  | 1555.64 | -33.6858
|  | 1555.646 | -33.6897
|  | 1555.652 | -33.6907
|  | 1555.658 | -33.6912
|  | 1555.6639 | -33.6927
|  | 1555.67 | -33.6831
|  | 1555.676 | -33.6739
|  | 1555.682 | -33.6683
|  | 1555.688 | -33.6673
|  | 1555.694 | -33.6663
|  | 1555.6999 | -33.6733
|  | 1555.7061 | -33.678
|  | 1555.7119 | -33.6844
|  | 1555.718 | -33.6838
|  | 1555.724 | -33.6862
|  | 1555.73 | -33.6871
|  | 1555.7361 | -33.6867
|  | 1555.7419 | -33.6848
|  | 1555.7479 | -33.6908
|  | 1555.754 | -33.6983
|  | 1555.76 | -33.7044
|  | 1555.766 | -33.7138
|  | 1555.772 | -33.7148
|  | 1555.7779 | -33.7161
|  | 1555.7841 | -33.7143
|  | 1555.79 | -33.7098
|  | 1555.796 | -33.7076
|  | 1555.802 | -33.7065
|  | 1555.808 | -33.7072
|  | 1555.8141 | -33.7083
|  | 1555.82 | -33.7056
|  | 1555.8259 | -33.7019
|  | 1555.832 | -33.6963
|  | 1555.838 | -33.6868
|  | 1555.844 | -33.6815
|  | 1555.85 | -33.6755
|  | 1555.856 | -33.6722
|  | 1555.8621 | -33.6686
|  | 1555.868 | -33.6692
|  | 1555.8739 | -33.6744
|  | 1555.88 | -33.6749
|  | 1555.886 | -33.6793
|  | 1555.892 | -33.6741
|  | 1555.8981 | -33.6712
|  | 1555.9039 | -33.6684
|  | 1555.91 | -33.6702
|  | 1555.916 | -33.6768
|  | 1555.922 | -33.6874
|  | 1555.928 | -33.6956
|  | 1555.934 | -33.7041
|  | 1555.9401 | -33.7079
|  | 1555.946 | -33.707
|  | 1555.952 | -33.7054
|  | 1555.958 | -33.7067
|  | 1555.964 | -33.7071
|  | 1555.97 | -33.7096
|  | 1555.9761 | -33.7158
|  | 1555.9819 | -33.7215
|  | 1555.988 | -33.7242
|  | 1555.994 | -33.725
|  | 1556 | -33.7231
|  | 1556.0061 | -33.718
|  | 1556.012 | -33.7144
|  | 1556.0179 | -33.7092
|  | 1556.024 | -33.7062
|  | 1556.03 | -33.7087
|  | 1556.036 | -33.7077
|  | 1556.042 | -33.7108
|  | 1556.048 | -33.7127
|  | 1556.0541 | -33.7037
|  | 1556.0601 | -33.6978
|  | 1556.0659 | -33.6935
|  | 1556.072 | -33.693
|  | 1556.078 | -33.6922
|  | 1556.084 | -33.6964
|  | 1556.09 | -33.6977
|  | 1556.0959 | -33.6964
|  | 1556.102 | -33.6974
|  | 1556.108 | -33.6929
|  | 1556.1139 | -33.6876
|  | 1556.12 | -33.6822
|  | 1556.126 | -33.6814
|  | 1556.1321 | -33.6845
|  | 1556.1381 | -33.687
|  | 1556.1439 | -33.6927
|  | 1556.15 | -33.6962
|  | 1556.156 | -33.6977
|  | 1556.162 | -33.696
|  | 1556.168 | -33.6924
|  | 1556.174 | -33.6868
|  | 1556.18 | -33.6862
|  | 1556.186 | -33.6911
|  | 1556.192 | -33.6967
|  | 1556.198 | -33.7033
|  | 1556.204 | -33.7066
|  | 1556.21 | -33.7122
|  | 1556.2161 | -33.7103
|  | 1556.2219 | -33.7061
|  | 1556.228 | -33.704
|  | 1556.234 | -33.7046
|  | 1556.24 | -33.7059
|  | 1556.2461 | -33.7102
|  | 1556.252 | -33.7165
|  | 1556.2579 | -33.7167
|  | 1556.264 | -33.7138
|  | 1556.27 | -33.708
|  | 1556.276 | -33.7004
|  | 1556.282 | -33.6922
|  | 1556.288 | -33.6889
|  | 1556.2941 | -33.6861
|  | 1556.3001 | -33.6856
|  | 1556.3059 | -33.684
|  | 1556.312 | -33.6776
|  | 1556.318 | -33.6736
|  | 1556.3241 | -33.6652
|  | 1556.33 | -33.654
|  | 1556.3359 | -33.6483
|  | 1556.342 | -33.6477
|  | 1556.348 | -33.647
|  | 1556.354 | -33.6534
|  | 1556.36 | -33.6628
|  | 1556.366 | -33.6629
|  | 1556.3721 | -33.6644
|  | 1556.3781 | -33.6589
|  | 1556.3839 | -33.6616
|  | 1556.39 | -33.6626
|  | 1556.396 | -33.672
|  | 1556.402 | -33.6859
|  | 1556.4081 | -33.6966
|  | 1556.4139 | -33.7068
|  | 1556.42 | -33.717
|  | 1556.426 | -33.7191
|  | 1556.432 | -33.7181
|  | 1556.438 | -33.7169
|  | 1556.444 | -33.7154
|  | 1556.4499 | -33.7189
|  | 1556.4561 | -33.719
|  | 1556.462 | -33.7213
|  | 1556.468 | -33.7214
|  | 1556.474 | -33.7161
|  | 1556.48 | -33.7121
|  | 1556.4861 | -33.6996
|  | 1556.4919 | -33.6901
|  | 1556.4979 | -33.681
|  | 1556.504 | -33.6752
|  | 1556.51 | -33.6716
|  | 1556.5161 | -33.6629
|  | 1556.522 | -33.6622
|  | 1556.5279 | -33.6559
|  | 1556.5341 | -33.6513
|  | 1556.54 | -33.6423
|  | 1556.5459 | -33.6391
|  | 1556.552 | -33.6352
|  | 1556.558 | -33.6359
|  | 1556.5641 | -33.639
|  | 1556.5701 | -33.6489
|  | 1556.5759 | -33.6596
|  | 1556.582 | -33.6698
|  | 1556.588 | -33.6743
|  | 1556.594 | -33.6746
|  | 1556.6 | -33.678
|  | 1556.606 | -33.6835
|  | 1556.6121 | -33.6938
|  | 1556.618 | -33.7015
|  | 1556.624 | -33.7112
|  | 1556.63 | -33.7192
|  | 1556.636 | -33.7281
|  | 1556.642 | -33.7331
|  | 1556.6481 | -33.7363
|  | 1556.6539 | -33.732
|  | 1556.66 | -33.7273
|  | 1556.666 | -33.7249
|  | 1556.672 | -33.7226
|  | 1556.678 | -33.7201
|  | 1556.684 | -33.723
|  | 1556.6899 | -33.7234
|  | 1556.696 | -33.7179
|  | 1556.702 | -33.7155
|  | 1556.708 | -33.7099
|  | 1556.714 | -33.6964
|  | 1556.72 | -33.6904
|  | 1556.7261 | -33.6804
|  | 1556.7319 | -33.6793
|  | 1556.7379 | -33.6796
|  | 1556.744 | -33.6825
|  | 1556.75 | -33.6806
|  | 1556.7561 | -33.6769
|  | 1556.762 | -33.6694
|  | 1556.7679 | -33.6641
|  | 1556.774 | -33.6598
|  | 1556.78 | -33.6597
|  | 1556.7859 | -33.6647
|  | 1556.792 | -33.6685
|  | 1556.798 | -33.6699
|  | 1556.8041 | -33.6779
|  | 1556.8101 | -33.679
|  | 1556.8159 | -33.6799
|  | 1556.822 | -33.6804
|  | 1556.828 | -33.6831
|  | 1556.834 | -33.6883
|  | 1556.84 | -33.6937
|  | 1556.8459 | -33.6986
|  | 1556.852 | -33.7103
|  | 1556.858 | -33.7085
|  | 1556.864 | -33.7129
|  | 1556.87 | -33.7121
|  | 1556.876 | -33.7109
|  | 1556.882 | -33.7074
|  | 1556.8881 | -33.7062
|  | 1556.8939 | -33.708
|  | 1556.9 | -33.7132
|  | 1556.906 | -33.7211
|  | 1556.912 | -33.7217
|  | 1556.9181 | -33.7221
|  | 1556.924 | -33.7154
|  | 1556.9299 | -33.7048
|  | 1556.936 | -33.6968
|  | 1556.942 | -33.692
|  | 1556.948 | -33.6911
|  | 1556.954 | -33.692
|  | 1556.96 | -33.6904
|  | 1556.9661 | -33.6878
|  | 1556.9721 | -33.6798
|  | 1556.9779 | -33.6694
|  | 1556.984 | -33.6599
|  | 1556.99 | -33.6528
|  | 1556.9961 | -33.6508
|  | 1557.002 | -33.6486
|  | 1557.0079 | -33.6512
|  | 1557.014 | -33.6538
|  | 1557.02 | -33.6544
|  | 1557.026 | -33.6533
|  | 1557.032 | -33.6544
|  | 1557.038 | -33.6536
|  | 1557.0441 | -33.6591
|  | 1557.0501 | -33.6661
|  | 1557.0559 | -33.6766
|  | 1557.062 | -33.6867
|  | 1557.068 | -33.6966
|  | 1557.074 | -33.7074
|  | 1557.0801 | -33.7123
|  | 1557.0859 | -33.7186
|  | 1557.092 | -33.7175
|  | 1557.098 | -33.7214
|  | 1557.104 | -33.7244
|  | 1557.11 | -33.7341
|  | 1557.116 | -33.738
|  | 1557.1219 | -33.7444
|  | 1557.1281 | -33.7443
|  | 1557.134 | -33.74
|  | 1557.14 | -33.7305
|  | 1557.146 | -33.7199
|  | 1557.152 | -33.7123
|  | 1557.1581 | -33.7048
|  | 1557.1639 | -33.7006
|  | 1557.1699 | -33.6962
|  | 1557.176 | -33.6917
|  | 1557.182 | -33.6834
|  | 1557.1881 | -33.6754
|  | 1557.194 | -33.6672
|  | 1557.1999 | -33.6644
|  | 1557.2061 | -33.6577
|  | 1557.212 | -33.6499
|  | 1557.2179 | -33.6494
|  | 1557.224 | -33.6539
|  | 1557.23 | -33.6613
|  | 1557.2361 | -33.6683
|  | 1557.2419 | -33.6739
|  | 1557.2479 | -33.6785
|  | 1557.254 | -33.6825
|  | 1557.26 | -33.6886
|  | 1557.266 | -33.6934
|  | 1557.272 | -33.7004
|  | 1557.2779 | -33.7114
|  | 1557.2841 | -33.7228
|  | 1557.29 | -33.7287
|  | 1557.2959 | -33.7336
|  | 1557.302 | -33.737
|  | 1557.308 | -33.7346
|  | 1557.314 | -33.7343
|  | 1557.3201 | -33.7354
|  | 1557.3259 | -33.7376
|  | 1557.332 | -33.7439
|  | 1557.338 | -33.7475
|  | 1557.344 | -33.7476
|  | 1557.35 | -33.745
|  | 1557.356 | -33.7364
|  | 1557.3619 | -33.7273
|  | 1557.368 | -33.7208
|  | 1557.374 | -33.716
|  | 1557.38 | -33.7118
|  | 1557.386 | -33.711
|  | 1557.392 | -33.7108
|  | 1557.3981 | -33.709
|  | 1557.4039 | -33.7079
|  | 1557.41 | -33.7043
|  | 1557.416 | -33.6977
|  | 1557.422 | -33.6901
|  | 1557.4281 | -33.6856
|  | 1557.434 | -33.686
|  | 1557.4399 | -33.6876
|  | 1557.446 | -33.6855
|  | 1557.452 | -33.6887
|  | 1557.458 | -33.6924
|  | 1557.464 | -33.6977
|  | 1557.47 | -33.6988
|  | 1557.4761 | -33.6943
|  | 1557.4821 | -33.6922
|  | 1557.4879 | -33.6944
|  | 1557.494 | -33.7029
|  | 1557.5 | -33.7096
|  | 1557.506 | -33.7223
|  | 1557.512 | -33.7272
|  | 1557.5179 | -33.7289
|  | 1557.524 | -33.7311
|  | 1557.53 | -33.7276
|  | 1557.536 | -33.7292
|  | 1557.542 | -33.7326
|  | 1557.548 | -33.7351
|  | 1557.554 | -33.7427
|  | 1557.5601 | -33.7452
|  | 1557.5659 | -33.7466
|  | 1557.572 | -33.7456
|  | 1557.578 | -33.7421
|  | 1557.584 | -33.7395
|  | 1557.5901 | -33.7355
|  | 1557.5959 | -33.7317
|  | 1557.602 | -33.733
|  | 1557.608 | -33.7332
|  | 1557.614 | -33.7337
|  | 1557.62 | -33.7308
|  | 1557.626 | -33.7292
|  | 1557.632 | -33.7247
|  | 1557.6381 | -33.7154
|  | 1557.644 | -33.7065
|  | 1557.65 | -33.6976
|  | 1557.656 | -33.6961
|  | 1557.662 | -33.6995
|  | 1557.6681 | -33.6987
|  | 1557.674 | -33.7024
|  | 1557.6799 | -33.7019
|  | 1557.686 | -33.697
|  | 1557.692 | -33.6893
|  | 1557.698 | -33.685
|  | 1557.704 | -33.686
|  | 1557.71 | -33.6898
|  | 1557.7161 | -33.6989
|  | 1557.7221 | -33.706
|  | 1557.7279 | -33.7152
|  | 1557.734 | -33.7223
|  | 1557.74 | -33.7279
|  | 1557.746 | -33.7311
|  | 1557.752 | -33.7334
|  | 1557.7579 | -33.7424
|  | 1557.764 | -33.7477
|  | 1557.77 | -33.759
|  | 1557.776 | -33.7671
|  | 1557.782 | -33.777
|  | 1557.788 | -33.7796
|  | 1557.7941 | -33.7814
|  | 1557.8001 | -33.7794
|  | 1557.8059 | -33.7777
|  | 1557.812 | -33.7759
|  | 1557.818 | -33.7747
|  | 1557.824 | -33.7733
|  | 1557.8301 | -33.7695
|  | 1557.8359 | -33.7706
|  | 1557.842 | -33.7633
|  | 1557.848 | -33.7538
|  | 1557.854 | -33.7416
|  | 1557.86 | -33.7299
|  | 1557.866 | -33.7218
|  | 1557.8719 | -33.7175
|  | 1557.8781 | -33.7155
|  | 1557.884 | -33.7154
|  | 1557.89 | -33.717
|  | 1557.896 | -33.7132
|  | 1557.902 | -33.7105
|  | 1557.9081 | -33.7064
|  | 1557.9139 | -33.7054
|  | 1557.9199 | -33.7011
|  | 1557.926 | -33.705
|  | 1557.932 | -33.7154
|  | 1557.938 | -33.7257
|  | 1557.944 | -33.7349
|  | 1557.9499 | -33.7415
|  | 1557.9561 | -33.7482
|  | 1557.962 | -33.7494
|  | 1557.9679 | -33.75
|  | 1557.974 | -33.7492
|  | 1557.98 | -33.7534
|  | 1557.9861 | -33.7628
|  | 1557.9921 | -33.7701
|  | 1557.9979 | -33.7785
|  | 1558.004 | -33.7841
|  | 1558.01 | -33.7853
|  | 1558.016 | -33.7838
|  | 1558.022 | -33.7793
|  | 1558.0279 | -33.7717
|  | 1558.0341 | -33.7714
|  | 1558.04 | -33.771
|  | 1558.046 | -33.7723
|  | 1558.052 | -33.7727
|  | 1558.058 | -33.7715
|  | 1558.064 | -33.7664
|  | 1558.0701 | -33.7597
|  | 1558.0759 | -33.7522
|  | 1558.082 | -33.7434
|  | 1558.088 | -33.7395
|  | 1558.094 | -33.7383
|  | 1558.1001 | -33.7389
|  | 1558.106 | -33.7387
|  | 1558.1119 | -33.7355
|  | 1558.118 | -33.7314
|  | 1558.124 | -33.73
|  | 1558.13 | -33.7251
|  | 1558.136 | -33.7221
|  | 1558.142 | -33.7224
|  | 1558.1481 | -33.7244
|  | 1558.1541 | -33.7309
|  | 1558.1599 | -33.7357
|  | 1558.166 | -33.7399
|  | 1558.172 | -33.7409
|  | 1558.1781 | -33.7406
|  | 1558.184 | -33.7393
|  | 1558.1899 | -33.7369
|  | 1558.196 | -33.7347
|  | 1558.202 | -33.7377
|  | 1558.208 | -33.7404
|  | 1558.214 | -33.747
|  | 1558.22 | -33.7518
|  | 1558.2261 | -33.7544
|  | 1558.2321 | -33.755
|  | 1558.2379 | -33.7528
|  | 1558.244 | -33.7483
|  | 1558.25 | -33.7454
|  | 1558.256 | -33.7423
|  | 1558.2621 | -33.7439
|  | 1558.2679 | -33.7498
|  | 1558.274 | -33.7526
|  | 1558.28 | -33.7535
|  | 1558.286 | -33.7508
|  | 1558.292 | -33.7513
|  | 1558.298 | -33.7457
|  | 1558.304 | -33.7456
|  | 1558.3101 | -33.7455
|  | 1558.3159 | -33.7446
|  | 1558.322 | -33.7478
|  | 1558.328 | -33.7507
|  | 1558.334 | -33.7504
|  | 1558.3401 | -33.7482
|  | 1558.3459 | -33.7448
|  | 1558.3519 | -33.7398
|  | 1558.358 | -33.7398
|  | 1558.364 | -33.7372
|  | 1558.37 | -33.7413
|  | 1558.376 | -33.7418
|  | 1558.382 | -33.7439
|  | 1558.3881 | -33.7428
|  | 1558.394 | -33.7418
|  | 1558.3999 | -33.7391
|  | 1558.406 | -33.7323
|  | 1558.412 | -33.731
|  | 1558.4181 | -33.7357
|  | 1558.424 | -33.7388
|  | 1558.4299 | -33.7448
|  | 1558.436 | -33.7553
|  | 1558.442 | -33.7588
|  | 1558.448 | -33.759
|  | 1558.454 | -33.7569
|  | 1558.46 | -33.7555
|  | 1558.4661 | -33.7512
|  | 1558.4721 | -33.7531
|  | 1558.4779 | -33.7584
|  | 1558.484 | -33.7639
|  | 1558.49 | -33.7678
|  | 1558.496 | -33.7695
|  | 1558.5021 | -33.7642
|  | 1558.5079 | -33.7627
|  | 1558.514 | -33.7603
|  | 1558.52 | -33.7542
|  | 1558.526 | -33.7519
|  | 1558.532 | -33.7505
|  | 1558.538 | -33.7533
|  | 1558.5439 | -33.7514
|  | 1558.5501 | -33.754
|  | 1558.556 | -33.7507
|  | 1558.562 | -33.7472
|  | 1558.568 | -33.7415
|  | 1558.574 | -33.7375
|  | 1558.5801 | -33.7364
|  | 1558.5859 | -33.74
|  | 1558.5919 | -33.744
|  | 1558.598 | -33.7475
|  | 1558.604 | -33.7504
|  | 1558.6101 | -33.7513
|  | 1558.616 | -33.7493
|  | 1558.6219 | -33.7487
|  | 1558.6281 | -33.7484
|  | 1558.634 | -33.7507
|  | 1558.6399 | -33.7558
|  | 1558.646 | -33.7607
|  | 1558.652 | -33.7664
|  | 1558.6581 | -33.7724
|  | 1558.6641 | -33.7698
|  | 1558.6699 | -33.7677
|  | 1558.676 | -33.7653
|  | 1558.682 | -33.7572
|  | 1558.688 | -33.7541
|  | 1558.694 | -33.7525
|  | 1558.6999 | -33.7523
|  | 1558.7061 | -33.7561
|  | 1558.712 | -33.7541
|  | 1558.718 | -33.7523
|  | 1558.724 | -33.7477
|  | 1558.73 | -33.7406
|  | 1558.736 | -33.7317
|  | 1558.7421 | -33.7245
|  | 1558.7479 | -33.7166
|  | 1558.754 | -33.7208
|  | 1558.76 | -33.7219
|  | 1558.766 | -33.7242
|  | 1558.7721 | -33.7264
|  | 1558.7779 | -33.7264
|  | 1558.7839 | -33.7223
|  | 1558.79 | -33.7205
|  | 1558.796 | -33.7214
|  | 1558.802 | -33.7271
|  | 1558.808 | -33.7321
|  | 1558.814 | -33.7374
|  | 1558.8201 | -33.7394
|  | 1558.826 | -33.7445
|  | 1558.8319 | -33.7508
|  | 1558.838 | -33.754
|  | 1558.844 | -33.7529
|  | 1558.8501 | -33.7542
|  | 1558.856 | -33.7533
|  | 1558.8619 | -33.755
|  | 1558.868 | -33.7597
|  | 1558.874 | -33.7602
|  | 1558.88 | -33.7604
|  | 1558.886 | -33.7534
|  | 1558.892 | -33.7492
|  | 1558.8981 | -33.7436
|  | 1558.9041 | -33.7393
|  | 1558.9099 | -33.7317
|  | 1558.916 | -33.7296
|  | 1558.922 | -33.7304
|  | 1558.928 | -33.7293
|  | 1558.934 | -33.7309
|  | 1558.9399 | -33.7306
|  | 1558.946 | -33.7264
|  | 1558.952 | -33.7222
|  | 1558.958 | -33.7183
|  | 1558.964 | -33.716
|  | 1558.97 | -33.7148
|  | 1558.976 | -33.7193
|  | 1558.9821 | -33.7293
|  | 1558.9879 | -33.7351
|  | 1558.994 | -33.7395
|  | 1559 | -33.7446
|  | 1559.006 | -33.7426
|  | 1559.0121 | -33.7443
|  | 1559.0179 | -33.7466
|  | 1559.0239 | -33.752
|  | 1559.03 | -33.7541
|  | 1559.036 | -33.7607
|  | 1559.042 | -33.764
|  | 1559.048 | -33.7629
|  | 1559.054 | -33.7624
|  | 1559.0601 | -33.7611
|  | 1559.066 | -33.7596
|  | 1559.072 | -33.7602
|  | 1559.078 | -33.762
|  | 1559.084 | -33.7607
|  | 1559.0901 | -33.7616
|  | 1559.0959 | -33.7578
|  | 1559.1019 | -33.7572
|  | 1559.108 | -33.7513
|  | 1559.114 | -33.7443
|  | 1559.12 | -33.7407
|  | 1559.126 | -33.7384
|  | 1559.132 | -33.7404
|  | 1559.1381 | -33.743
|  | 1559.144 | -33.7461
|  | 1559.1499 | -33.7454
|  | 1559.156 | -33.7453
|  | 1559.162 | -33.7426
|  | 1559.168 | -33.7383
|  | 1559.1741 | -33.7343
|  | 1559.1799 | -33.7361
|  | 1559.186 | -33.737
|  | 1559.192 | -33.7435
|  | 1559.198 | -33.7472
|  | 1559.204 | -33.7487
|  | 1559.21 | -33.7536
|  | 1559.2159 | -33.7532
|  | 1559.2221 | -33.7521
|  | 1559.228 | -33.7513
|  | 1559.234 | -33.7535
|  | 1559.24 | -33.7557
|  | 1559.246 | -33.7556
|  | 1559.2521 | -33.7572
|  | 1559.2579 | -33.7638
|  | 1559.264 | -33.7658
|  | 1559.27 | -33.7674
|  | 1559.276 | -33.7642
|  | 1559.2821 | -33.7644
|  | 1559.288 | -33.765
|  | 1559.2939 | -33.7671
|  | 1559.3001 | -33.7677
|  | 1559.306 | -33.7704
|  | 1559.312 | -33.7711
|  | 1559.318 | -33.7716
|  | 1559.324 | -33.7661
|  | 1559.3301 | -33.7612
|  | 1559.3361 | -33.751
|  | 1559.3419 | -33.7477
|  | 1559.348 | -33.747
|  | 1559.354 | -33.7485
|  | 1559.36 | -33.7479
|  | 1559.366 | -33.7493
|  | 1559.3719 | -33.7437
|  | 1559.3781 | -33.734
|  | 1559.384 | -33.7246
|  | 1559.3899 | -33.7164
|  | 1559.396 | -33.7114
|  | 1559.402 | -33.7095
|  | 1559.408 | -33.7118
|  | 1559.4141 | -33.7126
|  | 1559.4199 | -33.7158
|  | 1559.426 | -33.7181
|  | 1559.432 | -33.7144
|  | 1559.438 | -33.7144
|  | 1559.444 | -33.7119
|  | 1559.4499 | -33.7122
|  | 1559.4561 | -33.7135
|  | 1559.462 | -33.721
|  | 1559.468 | -33.7297
|  | 1559.474 | -33.7405
|  | 1559.48 | -33.7515
|  | 1559.486 | -33.7619
|  | 1559.4921 | -33.7605
|  | 1559.4979 | -33.759
|  | 1559.504 | -33.7566
|  | 1559.51 | -33.7573
|  | 1559.516 | -33.761
|  | 1559.5221 | -33.769
|  | 1559.5279 | -33.7704
|  | 1559.5339 | -33.7701
|  | 1559.54 | -33.7632
|  | 1559.546 | -33.7503
|  | 1559.552 | -33.7403
|  | 1559.558 | -33.7262
|  | 1559.564 | -33.7247
|  | 1559.5701 | -33.7168
|  | 1559.576 | -33.7142
|  | 1559.5819 | -33.7099
|  | 1559.588 | -33.7019
|  | 1559.594 | -33.6918
|  | 1559.6001 | -33.6808
|  | 1559.606 | -33.6714
|  | 1559.6119 | -33.6671
|  | 1559.618 | -33.6686
|  | 1559.624 | -33.6725
|  | 1559.63 | -33.6781
|  | 1559.636 | -33.6849
|  | 1559.642 | -33.6929
|  | 1559.6481 | -33.7012
|  | 1559.6541 | -33.7039
|  | 1559.6599 | -33.706
|  | 1559.666 | -33.7086
|  | 1559.672 | -33.7089
|  | 1559.678 | -33.7163
|  | 1559.6841 | -33.7306
|  | 1559.6899 | -33.7452
|  | 1559.696 | -33.7551
|  | 1559.702 | -33.7624
|  | 1559.708 | -33.7642
|  | 1559.714 | -33.7597
|  | 1559.72 | -33.753
|  | 1559.726 | -33.7474
|  | 1559.7321 | -33.7462
|  | 1559.738 | -33.7437
|  | 1559.744 | -33.7441
|  | 1559.75 | -33.7426
|  | 1559.756 | -33.7349
|  | 1559.7621 | -33.7248
|  | 1559.7679 | -33.7121
|  | 1559.7739 | -33.7003
|  | 1559.78 | -33.6931
|  | 1559.786 | -33.6872
|  | 1559.7921 | -33.6847
|  | 1559.798 | -33.6845
|  | 1559.804 | -33.6832
|  | 1559.8101 | -33.6775
|  | 1559.816 | -33.6756
|  | 1559.8219 | -33.6661
|  | 1559.828 | -33.6592
|  | 1559.834 | -33.661
|  | 1559.8401 | -33.6684
|  | 1559.8461 | -33.6755
|  | 1559.8519 | -33.6868
|  | 1559.858 | -33.6953
|  | 1559.864 | -33.7007
|  | 1559.87 | -33.7044
|  | 1559.876 | -33.7054
|  | 1559.882 | -33.7035
|  | 1559.8881 | -33.706
|  | 1559.894 | -33.7104
|  | 1559.9 | -33.7199
|  | 1559.906 | -33.7308
|  | 1559.912 | -33.737
|  | 1559.918 | -33.7398
|  | 1559.9241 | -33.7413
|  | 1559.9299 | -33.739
|  | 1559.936 | -33.7339
|  | 1559.942 | -33.7276
|  | 1559.948 | -33.7266
|  | 1559.954 | -33.726
|  | 1559.96 | -33.7288
|  | 1559.9659 | -33.7319
|  | 1559.9721 | -33.7308
|  | 1559.978 | -33.725
|  | 1559.984 | -33.7129
|  | 1559.99 | -33.7016
|  | 1559.996 | -33.6914

## Gain vs. Wavelength
BOA1550PXS Gain vs. Wavelength
|  | Wavelength (nm) | Gain (dB)
|  | 1530 | 26.424
|  | 1540 | 27.064
|  | 1550 | 27.655
|  | 1560 | 28.321
Product Raw Data |  | 1570 | 28.453
1550 nm Polarization-Dependent Optical Shutter/Switch, ≤21 dBm (Typ.) Output Power, Butterfly, PM, FC/APC
Item # | BOA1550PXS
DISCLAIMER: The data presented here are typical. Slight variations in performance data will occur from lot to lot. Please contact Technical Support with any questions regarding the use or reliability of this data.
This data may be used in publications. However, please cite Thorlabs as the source.
Additional Information:
I = 900 mA

## Gain vs. Output Power
BOA1550PXS Gain vs. Output Power
|  | 1530 nm |  | 1550 nm
|  | Output Power (dBm) | Gain (dB) | Output Power (dBm) | Gain (dB)
|  | 0.413 | 26.305 | 2.805 | 27.556
|  | 2.403 | 26.303 | 4.784 | 27.551
|  | 4.386 | 26.3 | 6.758 | 27.534
|  | 6.379 | 26.299 | 8.74 | 27.516
Product Raw Data |  | 8.366 | 26.283 | 10.685 | 27.443
1550 nm Polarization-Dependent Optical Shutter/Switch, ≤21 dBm (Typ.) Output Power, Butterfly, PM, FC/APC |  | 10.306 | 26.204 | 12.419 | 27.197
|  | 12.029 | 25.949 | 14.205 | 27.011
|  | 13.856 | 25.753 | 15.826 | 26.599
Item # | BOA1550PXS | 15.442 | 25.326 | 17.152 | 25.927
DISCLAIMER: The data presented here are typical. Slight variations in performance data will occur from lot to lot. Please contact Technical Support with any questions regarding the use or reliability of this data. |  | 16.761 | 24.663 | 18.227 | 24.999
|  | 17.863 | 23.739 | 19.1 | 23.874
|  | 18.743 | 22.624 | 19.804 | 22.608
|  | 19.455 | 21.349 | 20.379 | 21.196
|  | 20.031 | 19.915 | 20.842 | 19.654
|  | 20.485 | 18.395 | 21.202 | 18.001
This data may be used in publications. However, please cite Thorlabs as the source.
Additional Information:
I = 900 mA