## ASE Spectrum
S9FC1004P ASE Spectrum
|  | Wavelength (nm) | Intensity (dB)
|  | 1410 | -48.2032
|  | 1410.5 | -47.9147
|  | 1411 | -47.8705
|  | 1411.5 | -47.8367
Product Raw Data |  | 1412 | -47.8425
1530 - 1570 nm Booster Optical Amplifier, Polarization Maintaining |  | 1412.5 | -47.8286
|  | 1413 | -47.7291
Item # | S9FC1004P | 1413.5 | -47.6714
DISCLAIMER: The data presented here are typical. Slight variations in performance data will occur from lot to lot. Please contact Technical Support with any questions regarding the use or reliability of this data. |  | 1414 | -47.6901
|  | 1414.5 | -47.8895
|  | 1415 | -47.7422
|  | 1415.5 | -47.553
|  | 1416 | -47.4469
|  | 1416.5 | -47.3822
This data may be used in publications. However, please cite Thorlabs as the source. |  | 1417 | -47.3356
|  | 1417.5 | -47.2939
|  | 1418 | -47.3258
Additional Information: |  | 1418.5 | -47.187
I = 600 mA |  | 1419 | -47.2461
|  | 1419.5 | -47.2509
|  | 1420 | -47.0961
|  | 1420.5 | -47.0013
|  | 1421 | -46.9278
|  | 1421.5 | -46.8562
|  | 1422 | -46.7606
|  | 1422.5 | -46.667
|  | 1423 | -46.6683
|  | 1423.5 | -46.633
|  | 1424 | -46.6874
|  | 1424.5 | -46.5098
|  | 1425 | -46.3329
|  | 1425.5 | -46.2955
|  | 1426 | -46.2618
|  | 1426.5 | -46.1071
|  | 1427 | -46.0021
|  | 1427.5 | -45.9563
|  | 1428 | -45.8886
|  | 1428.5 | -45.8517
|  | 1429 | -45.7185
|  | 1429.5 | -45.6018
|  | 1430 | -45.5125
|  | 1430.5 | -45.4333
|  | 1431 | -45.2752
|  | 1431.5 | -45.2947
|  | 1432 | -45.1902
|  | 1432.5 | -45.1094
|  | 1433 | -44.9748
|  | 1433.5 | -44.7653
|  | 1434 | -44.6839
|  | 1434.5 | -44.6954
|  | 1435 | -44.5089
|  | 1435.5 | -44.3485
|  | 1436 | -44.2026
|  | 1436.5 | -44.1349
|  | 1437 | -43.9557
|  | 1437.5 | -43.8976
|  | 1438 | -43.8974
|  | 1438.5 | -43.618
|  | 1439 | -43.4386
|  | 1439.5 | -43.3558
|  | 1440 | -43.2754
|  | 1440.5 | -43.0545
|  | 1441 | -42.9302
|  | 1441.5 | -42.8632
|  | 1442 | -42.7265
|  | 1442.5 | -42.5266
|  | 1443 | -42.4334
|  | 1443.5 | -42.2601
|  | 1444 | -42.0693
|  | 1444.5 | -41.9522
|  | 1445 | -41.7776
|  | 1445.5 | -41.6699
|  | 1446 | -41.8269
|  | 1446.5 | -41.3992
|  | 1447 | -41.1922
|  | 1447.5 | -41.0533
|  | 1448 | -40.888
|  | 1448.5 | -40.7459
|  | 1449 | -40.5888
|  | 1449.5 | -40.4472
|  | 1450 | -40.3264
|  | 1450.5 | -40.2443
|  | 1451 | -40.2047
|  | 1451.5 | -39.9547
|  | 1452 | -39.744
|  | 1452.5 | -39.6467
|  | 1453 | -39.443
|  | 1453.5 | -39.3034
|  | 1454 | -39.1415
|  | 1454.5 | -38.9893
|  | 1455 | -38.8445
|  | 1455.5 | -38.8144
|  | 1456 | -38.5892
|  | 1456.5 | -38.4212
|  | 1457 | -38.2772
|  | 1457.5 | -38.1462
|  | 1458 | -38.0189
|  | 1458.5 | -37.829
|  | 1459 | -37.7075
|  | 1459.5 | -37.5722
|  | 1460 | -37.41
|  | 1460.5 | -37.3269
|  | 1461 | -37.2037
|  | 1461.5 | -37.0315
|  | 1462 | -36.8381
|  | 1462.5 | -36.6572
|  | 1463 | -36.5244
|  | 1463.5 | -36.4745
|  | 1464 | -36.2096
|  | 1464.5 | -36.0561
|  | 1465 | -35.9332
|  | 1465.5 | -35.8606
|  | 1466 | -35.6225
|  | 1466.5 | -35.5294
|  | 1467 | -35.4058
|  | 1467.5 | -35.2398
|  | 1468 | -35.0674
|  | 1468.5 | -34.9036
|  | 1469 | -34.7597
|  | 1469.5 | -34.6322
|  | 1470 | -34.5781
|  | 1470.5 | -34.3332
|  | 1471 | -34.345
|  | 1471.5 | -34.0962
|  | 1472 | -33.908
|  | 1472.5 | -33.904
|  | 1473 | -33.7103
|  | 1473.5 | -33.5121
|  | 1474 | -33.4132
|  | 1474.5 | -33.2611
|  | 1475 | -33.1284
|  | 1475.5 | -32.9644
|  | 1476 | -32.8847
|  | 1476.5 | -32.7458
|  | 1477 | -32.6197
|  | 1477.5 | -32.5038
|  | 1478 | -32.4361
|  | 1478.5 | -32.3003
|  | 1479 | -32.1146
|  | 1479.5 | -32.0061
|  | 1480 | -31.9199
|  | 1480.5 | -31.8695
|  | 1481 | -31.727
|  | 1481.5 | -31.5252
|  | 1482 | -31.5076
|  | 1482.5 | -31.3554
|  | 1483 | -31.1937
|  | 1483.5 | -31.0826
|  | 1484 | -30.9898
|  | 1484.5 | -30.9081
|  | 1485 | -30.7766
|  | 1485.5 | -30.6693
|  | 1486 | -30.5941
|  | 1486.5 | -30.5014
|  | 1487 | -30.4062
|  | 1487.5 | -30.2521
|  | 1488 | -30.177
|  | 1488.5 | -30.0732
|  | 1489 | -29.9282
|  | 1489.5 | -29.828
|  | 1490 | -29.7786
|  | 1490.5 | -29.645
|  | 1491 | -29.5155
|  | 1491.5 | -29.4457
|  | 1492 | -29.3869
|  | 1492.5 | -29.2677
|  | 1493 | -29.1247
|  | 1493.5 | -29.0215
|  | 1494 | -28.9449
|  | 1494.5 | -28.8434
|  | 1495 | -28.7193
|  | 1495.5 | -28.6378
|  | 1496 | -28.572
|  | 1496.5 | -28.4681
|  | 1497 | -28.3454
|  | 1497.5 | -28.2507
|  | 1498 | -28.1962
|  | 1498.5 | -28.0947
|  | 1499 | -27.963
|  | 1499.5 | -27.8783
|  | 1500 | -27.8195
|  | 1500.5 | -27.7189
|  | 1501 | -27.6076
|  | 1501.5 | -27.5702
|  | 1502 | -27.5377
|  | 1502.5 | -27.4607
|  | 1503 | -27.3584
|  | 1503.5 | -27.2368
|  | 1504 | -27.1796
|  | 1504.5 | -27.1147
|  | 1505 | -27.028
|  | 1505.5 | -26.9189
|  | 1506 | -26.885
|  | 1506.5 | -26.775
|  | 1507 | -26.6873
|  | 1507.5 | -26.6307
|  | 1508 | -26.5988
|  | 1508.5 | -26.5149
|  | 1509 | -26.3563
|  | 1509.5 | -26.2747
|  | 1510 | -26.2118
|  | 1510.5 | -26.1489
|  | 1511 | -26.0584
|  | 1511.5 | -25.9977
|  | 1512 | -25.9576
|  | 1512.5 | -25.847
|  | 1513 | -25.7528
|  | 1513.5 | -25.6984
|  | 1514 | -25.6576
|  | 1514.5 | -25.6091
|  | 1515 | -25.4895
|  | 1515.5 | -25.4259
|  | 1516 | -25.3777
|  | 1516.5 | -25.3532
|  | 1517 | -25.2139
|  | 1517.5 | -25.1405
|  | 1518 | -25.1377
|  | 1518.5 | -25.0893
|  | 1519 | -24.9914
|  | 1519.5 | -24.9175
|  | 1520 | -24.8713
|  | 1520.5 | -24.8147
|  | 1521 | -24.7444
|  | 1521.5 | -24.6823
|  | 1522 | -24.6645
|  | 1522.5 | -24.6414
|  | 1523 | -24.5437
|  | 1523.5 | -24.4741
|  | 1524 | -24.4761
|  | 1524.5 | -24.4645
|  | 1525 | -24.3721
|  | 1525.5 | -24.2391
|  | 1526 | -24.2178
|  | 1526.5 | -24.2212
|  | 1527 | -24.1499
|  | 1527.5 | -24.114
|  | 1528 | -24.0734
|  | 1528.5 | -24.076
|  | 1529 | -24.0109
|  | 1529.5 | -23.8964
|  | 1530 | -23.8625
|  | 1530.5 | -23.8723
|  | 1531 | -23.8464
|  | 1531.5 | -23.7685
|  | 1532 | -23.7447
|  | 1532.5 | -23.7736
|  | 1533 | -23.7233
|  | 1533.5 | -23.6308
|  | 1534 | -23.5377
|  | 1534.5 | -23.5638
|  | 1535 | -23.5585
|  | 1535.5 | -23.4953
|  | 1536 | -23.4348
|  | 1536.5 | -23.4437
|  | 1537 | -23.4701
|  | 1537.5 | -23.3807
|  | 1538 | -23.2982
|  | 1538.5 | -23.279
|  | 1539 | -23.3021
|  | 1539.5 | -23.2745
|  | 1540 | -23.2122
|  | 1540.5 | -23.2184
|  | 1541 | -23.2438
|  | 1541.5 | -23.1808
|  | 1542 | -23.0795
|  | 1542.5 | -23.0404
|  | 1543 | -23.0808
|  | 1543.5 | -23.0828
|  | 1544 | -23.017
|  | 1544.5 | -22.9724
|  | 1545 | -22.9896
|  | 1545.5 | -23
|  | 1546 | -22.9272
|  | 1546.5 | -22.8565
|  | 1547 | -22.8615
|  | 1547.5 | -22.9064
|  | 1548 | -22.8737
|  | 1548.5 | -22.8172
|  | 1549 | -22.8166
|  | 1549.5 | -22.8228
|  | 1550 | -22.7983
|  | 1550.5 | -22.7247
|  | 1551 | -22.6988
|  | 1551.5 | -22.7384
|  | 1552 | -22.7472
|  | 1552.5 | -22.6875
|  | 1553 | -22.647
|  | 1553.5 | -22.695
|  | 1554 | -22.7158
|  | 1554.5 | -22.6515
|  | 1555 | -22.5735
|  | 1555.5 | -22.5873
|  | 1556 | -22.6305
|  | 1556.5 | -22.6151
|  | 1557 | -22.5514
|  | 1557.5 | -22.5436
|  | 1558 | -22.6023
|  | 1558.5 | -22.5871
|  | 1559 | -22.5025
|  | 1559.5 | -22.4658
|  | 1560 | -22.5027
|  | 1560.5 | -22.5443
|  | 1561 | -22.5037
|  | 1561.5 | -22.4639
|  | 1562 | -22.4883
|  | 1562.5 | -22.5314
|  | 1563 | -22.5093
|  | 1563.5 | -22.4335
|  | 1564 | -22.4213
|  | 1564.5 | -22.4846
|  | 1565 | -22.5027
|  | 1565.5 | -22.4418
|  | 1566 | -22.4126
|  | 1566.5 | -22.4664
|  | 1567 | -22.4989
|  | 1567.5 | -22.4509
|  | 1568 | -22.3909
|  | 1568.5 | -22.4256
|  | 1569 | -22.5095
|  | 1569.5 | -22.5169
|  | 1570 | -22.4474
|  | 1570.5 | -22.4337
|  | 1571 | -22.4948
|  | 1571.5 | -22.5154
|  | 1572 | -22.4592
|  | 1572.5 | -22.4305
|  | 1573 | -22.5036
|  | 1573.5 | -22.5816
|  | 1574 | -22.5734
|  | 1574.5 | -22.5158
|  | 1575 | -22.5096
|  | 1575.5 | -22.5796
|  | 1576 | -22.5983
|  | 1576.5 | -22.5568
|  | 1577 | -22.5291
|  | 1577.5 | -22.6294
|  | 1578 | -22.6984
|  | 1578.5 | -22.6851
|  | 1579 | -22.6514
|  | 1579.5 | -22.6869
|  | 1580 | -22.76
|  | 1580.5 | -22.7837
|  | 1581 | -22.7313
|  | 1581.5 | -22.725
|  | 1582 | -22.8053
|  | 1582.5 | -22.8697
|  | 1583 | -22.8727
|  | 1583.5 | -22.8425
|  | 1584 | -22.9242
|  | 1584.5 | -23.0214
|  | 1585 | -23.0316
|  | 1585.5 | -22.9523
|  | 1586 | -22.9745
|  | 1586.5 | -23.0676
|  | 1587 | -23.1381
|  | 1587.5 | -23.1228
|  | 1588 | -23.1161
|  | 1588.5 | -23.1914
|  | 1589 | -23.3013
|  | 1589.5 | -23.2957
|  | 1590 | -23.2401
|  | 1590.5 | -23.2831
|  | 1591 | -23.4276
|  | 1591.5 | -23.5115
|  | 1592 | -23.484
|  | 1592.5 | -23.4514
|  | 1593 | -23.5088
|  | 1593.5 | -23.6106
|  | 1594 | -23.6305
|  | 1594.5 | -23.5891
|  | 1595 | -23.6457
|  | 1595.5 | -23.7793
|  | 1596 | -23.8927
|  | 1596.5 | -23.8742
|  | 1597 | -23.832
|  | 1597.5 | -23.9154
|  | 1598 | -24.0506
|  | 1598.5 | -24.0777
|  | 1599 | -24.0493
|  | 1599.5 | -24.0814
|  | 1600 | -24.2178
|  | 1600.5 | -24.3396
|  | 1601 | -24.3409
|  | 1601.5 | -24.3134
|  | 1602 | -24.4007
|  | 1602.5 | -24.531
|  | 1603 | -24.6212
|  | 1603.5 | -24.5784
|  | 1604 | -24.6012
|  | 1604.5 | -24.7504
|  | 1605 | -24.9154
|  | 1605.5 | -24.9364
|  | 1606 | -24.9141
|  | 1606.5 | -24.9743
|  | 1607 | -25.1106
|  | 1607.5 | -25.2196
|  | 1608 | -25.2135
|  | 1608.5 | -25.2306
|  | 1609 | -25.3835
|  | 1609.5 | -25.5613
|  | 1610 | -25.6262
|  | 1610.5 | -25.6042
|  | 1611 | -25.6662
|  | 1611.5 | -25.853
|  | 1612 | -26.0228
|  | 1612.5 | -26.0553
|  | 1613 | -26.0462
|  | 1613.5 | -26.1611
|  | 1614 | -26.3473
|  | 1614.5 | -26.4717
|  | 1615 | -26.4729
|  | 1615.5 | -26.5181
|  | 1616 | -26.6917
|  | 1616.5 | -26.8724
|  | 1617 | -26.9786
|  | 1617.5 | -26.9849
|  | 1618 | -27.0571
|  | 1618.5 | -27.3315
|  | 1619 | -27.519
|  | 1619.5 | -27.5718
|  | 1620 | -27.5887
|  | 1620.5 | -27.7273
|  | 1621 | -27.9069
|  | 1621.5 | -28.0967
|  | 1622 | -28.1143
|  | 1622.5 | -28.2188
|  | 1623 | -28.3877
|  | 1623.5 | -28.5342
|  | 1624 | -28.6612
|  | 1624.5 | -28.7268
|  | 1625 | -28.862
|  | 1625.5 | -28.9975
|  | 1626 | -29.2643
|  | 1626.5 | -29.3753
|  | 1627 | -29.4107
|  | 1627.5 | -29.637
|  | 1628 | -29.864
|  | 1628.5 | -30.0595
|  | 1629 | -30.0854
|  | 1629.5 | -30.1551
|  | 1630 | -30.3356
|  | 1630.5 | -30.5947
|  | 1631 | -30.7974
|  | 1631.5 | -30.9102
|  | 1632 | -31.0354
|  | 1632.5 | -31.257
|  | 1633 | -31.5372
|  | 1633.5 | -31.7276
|  | 1634 | -31.8517
|  | 1634.5 | -32.0296
|  | 1635 | -32.3105
|  | 1635.5 | -32.59
|  | 1636 | -32.7818
|  | 1636.5 | -32.9229
|  | 1637 | -33.1583
|  | 1637.5 | -33.4979
|  | 1638 | -33.7739
|  | 1638.5 | -33.9384
|  | 1639 | -34.0904
|  | 1639.5 | -34.356
|  | 1640 | -34.7025
|  | 1640.5 | -34.9962
|  | 1641 | -35.1663
|  | 1641.5 | -35.3302
|  | 1642 | -35.6152
|  | 1642.5 | -35.9517
|  | 1643 | -36.2246
|  | 1643.5 | -36.3986
|  | 1644 | -36.5902
|  | 1644.5 | -36.8919
|  | 1645 | -37.2307
|  | 1645.5 | -37.4566
|  | 1646 | -37.6196
|  | 1646.5 | -37.8444
|  | 1647 | -38.1564
|  | 1647.5 | -38.462
|  | 1648 | -38.6643
|  | 1648.5 | -38.8441
|  | 1649 | -39.0072
|  | 1649.5 | -39.3585
|  | 1650 | -39.6502
|  | 1650.5 | -39.8216
|  | 1651 | -39.9566
|  | 1651.5 | -40.1957
|  | 1652 | -40.5286
|  | 1652.5 | -40.7832
|  | 1653 | -40.922
|  | 1653.5 | -41.0498
|  | 1654 | -41.2693
|  | 1654.5 | -41.5682
|  | 1655 | -41.8049
|  | 1655.5 | -41.9325
|  | 1656 | -42.0526
|  | 1656.5 | -42.2634
|  | 1657 | -42.5442
|  | 1657.5 | -42.7675
|  | 1658 | -42.9124
|  | 1658.5 | -43.0266
|  | 1659 | -43.2408
|  | 1659.5 | -43.5251
|  | 1660 | -43.7179

## Gain vs Output Power
S9FC1004P Gain vs. Output Power
|  | Output Power (dBm) | Gain (dB)
|  | -0.969 | 27.293
|  | 1.059 | 27.181
|  | 3.016 | 27.241
|  | 4.981 | 27.112
Product Raw Data |  | 6.901 | 27.049
1530 - 1570 nm Booster Optical Amplifier, Polarization Maintaining |  | 8.798 | 27.024
|  | 10.584 | 26.859
Item # | S9FC1004P | 12.231 | 26.449
DISCLAIMER: The data presented here are typical. Slight variations in performance data will occur from lot to lot. Please contact Technical Support with any questions regarding the use or reliability of this data. |  | 13.541 | 25.684
|  | 14.705 | 24.999
|  | 15.642 | 23.819
|  | 16.39 | 22.59
|  | 16.996 | 21.196
|  | 17.489 | 19.736
This data may be used in publications. However, please cite Thorlabs as the source. |  | 17.894 | 18.125
|  | 18.228 | 16.466
Additional Information:
I = 600 mA, λ = 1550 nm