## CARS Module
SCKB2 Spectrum with CARS Fiber Module
|  | Wavelength (nm) | Intensity (dB)
|  | 400 | -37.0299
|  | 400.8 | -36.3034
|  | 401.6 | -36.7126
|  | 402.4 | -36.6494
Product Raw Data |  | 403.2 | -38.9105
Supercontinuum Generation Kit Output Spectra |  | 404 | -39.0494
|  | 404.8 | -38.3228
Item # | SCKB2(/M) | 405.6 | -38.4756
DISCLAIMER: The data presented here are typical. Slight variations in performance data will occur from lot to lot. Please contact Technical Support with any questions regarding the use or reliability of this data. |  | 406.4 | -38.5646
|  | 407.2 | -38.4003
|  | 408 | -39.5197
|  | 408.8 | -38.2062
|  | 409.6 | -38.6111
|  | 410.4 | -39.2671
This data may be used in publications. However, please cite Thorlabs as the source. |  | 411.2 | -39.6767
|  | 412 | -39.3442
|  | 412.8 | -39.3427
Additional Information: |  | 413.6 | -40.234
This data was collected using a C-FIBER-780-HIGH-POWER laser and a CARS fiber module in place of the standard module. Pump laser parameters are below: |  | 414.4 | -39.9774
|  | 415.2 | -39.7995
|  | 416 | -39.974
|  | 416.8 | -38.7315
Center Wavelength | 780 nm | 417.6 | -40.88
Repetition Rate | 100 MHz | 418.4 | -40.2988
Pulse Duration | 60 fsa | 419.2 | -39.2015
Power Before Fiber Cell | 140 mWa | 420 | -40.2691
Power After Fiber Cell | 65 mWa | 420.8 | -40.8229
a. Measured Experimental Values |  | 421.6 | -41.148
|  | 422.4 | -39.7172
|  | 423.2 | -39.6799
|  | 424 | -40.0087
|  | 424.8 | -39.6461
|  | 425.6 | -39.9498
|  | 426.4 | -40.1811
|  | 427.2 | -40.5126
|  | 428 | -41.2211
|  | 428.8 | -42.0905
|  | 429.6 | -40.3758
|  | 430.4 | -40.6377
|  | 431.2 | -39.8597
|  | 432 | -39.8884
|  | 432.8 | -38.9213
|  | 433.6 | -41.4215
|  | 434.4 | -40.2728
|  | 435.2 | -39.3562
|  | 436 | -40.8885
|  | 436.8 | -40.6036
|  | 437.6 | -37.8986
|  | 438.4 | -38.416
|  | 439.2 | -37.8548
|  | 440 | -39.0802
|  | 440.8 | -39.1113
|  | 441.6 | -38.3883
|  | 442.4 | -37.5714
|  | 443.2 | -38.7199
|  | 444 | -38.1695
|  | 444.8 | -38.0546
|  | 445.6 | -37.8358
|  | 446.4 | -38.1935
|  | 447.2 | -37.8453
|  | 448 | -37.8538
|  | 448.8 | -38.9037
|  | 449.6 | -38.3919
|  | 450.4 | -38.0225
|  | 451.2 | -37.8347
|  | 452 | -37.9601
|  | 452.8 | -39.5369
|  | 453.6 | -38.1275
|  | 454.4 | -38.5709
|  | 455.2 | -38.772
|  | 456 | -38.5834
|  | 456.8 | -39.9585
|  | 457.6 | -38.725
|  | 458.4 | -39.8749
|  | 459.2 | -40.3967
|  | 460 | -40.3701
|  | 460.8 | -40.0967
|  | 461.6 | -40.6498
|  | 462.4 | -40.1938
|  | 463.2 | -41.3072
|  | 464 | -40.6559
|  | 464.8 | -40.9878
|  | 465.6 | -40.8545
|  | 466.4 | -41.3142
|  | 467.2 | -41.3402
|  | 468 | -41.8152
|  | 468.8 | -42.544
|  | 469.6 | -41.2697
|  | 470.4 | -30.2728
|  | 471.2 | -30.3796
|  | 472 | -30.6579
|  | 472.8 | -31.2257
|  | 473.6 | -31.9303
|  | 474.4 | -32.0877
|  | 475.2 | -32.3845
|  | 476 | -32.4057
|  | 476.8 | -32.1902
|  | 477.6 | -32.1159
|  | 478.4 | -32.3725
|  | 479.2 | -32.4482
|  | 480 | -32.3966
|  | 480.8 | -32.3515
|  | 481.6 | -32.304
|  | 482.4 | -32.5566
|  | 483.2 | -32.5691
|  | 484 | -32.6324
|  | 484.8 | -32.3396
|  | 485.6 | -32.2863
|  | 486.4 | -32.0207
|  | 487.2 | -31.8683
|  | 488 | -31.6113
|  | 488.8 | -31.3378
|  | 489.6 | -31.1935
|  | 490.4 | -31.0962
|  | 491.2 | -31.1821
|  | 492 | -31.2931
|  | 492.8 | -31.5191
|  | 493.6 | -31.5067
|  | 494.4 | -31.5587
|  | 495.2 | -31.4022
|  | 496 | -31.3166
|  | 496.8 | -31.4408
|  | 497.6 | -31.5612
|  | 498.4 | -31.3307
|  | 499.2 | -31.6063
|  | 500 | -31.5887
|  | 500.8 | -31.9248
|  | 501.6 | -31.9384
|  | 502.4 | -31.9629
|  | 503.2 | -31.8844
|  | 504 | -31.8497
|  | 504.8 | -31.9739
|  | 505.6 | -32.1988
|  | 506.4 | -32.1815
|  | 507.2 | -31.7653
|  | 508 | -31.6595
|  | 508.8 | -31.2581
|  | 509.6 | -31.228
|  | 510.4 | -31.1593
|  | 511.2 | -31.1412
|  | 512 | -31.3001
|  | 512.8 | -31.4627
|  | 513.6 | -31.6341
|  | 514.4 | -31.5937
|  | 515.2 | -31.4969
|  | 516 | -31.3878
|  | 516.8 | -31.2651
|  | 517.6 | -31.3166
|  | 518.4 | -31.3878
|  | 519.2 | -31.3213
|  | 520 | -31.2372
|  | 520.8 | -31.352
|  | 521.6 | -31.4118
|  | 522.4 | -31.3544
|  | 523.2 | -31.3237
|  | 524 | -31.0605
|  | 524.8 | -30.9078
|  | 525.6 | -30.719
|  | 526.4 | -30.6498
|  | 527.2 | -30.5185
|  | 528 | -30.4063
|  | 528.8 | -30.2746
|  | 529.6 | -30.2524
|  | 530.4 | -30.2617
|  | 531.2 | -30.1612
|  | 532 | -30.0472
|  | 532.8 | -30.0209
|  | 533.6 | -30.2635
|  | 534.4 | -30.3967
|  | 535.2 | -30.5381
|  | 536 | -30.5009
|  | 536.8 | -30.6056
|  | 537.6 | -30.7273
|  | 538.4 | -31.1434
|  | 539.2 | -31.1051
|  | 540 | -30.7644
|  | 540.8 | -30.6498
|  | 541.6 | -30.5009
|  | 542.4 | -30.3156
|  | 543.2 | -30.3006
|  | 544 | -30.2121
|  | 544.8 | -30.0455
|  | 545.6 | -30.049
|  | 546.4 | -30.0684
|  | 547.2 | -30.0542
|  | 548 | -29.4579
|  | 548.8 | -29.3923
|  | 549.6 | -29.4533
|  | 550.4 | -29.3923
|  | 551.2 | -29.1014
|  | 552 | -28.5422
|  | 552.8 | -28.2992
|  | 553.6 | -28.1275
|  | 554.4 | -28.1016
|  | 555.2 | -27.8263
|  | 556 | -27.6567
|  | 556.8 | -27.3428
|  | 557.6 | -27.1007
|  | 558.4 | -27.0962
|  | 559.2 | -27.0616
|  | 560 | -27.0678
|  | 560.8 | -26.919
|  | 561.6 | -26.8603
|  | 562.4 | -26.8452
|  | 563.2 | -26.7037
|  | 564 | -26.689
|  | 564.8 | -26.619
|  | 565.6 | -26.5195
|  | 566.4 | -26.5063
|  | 567.2 | -26.4745
|  | 568 | -26.3911
|  | 568.8 | -26.3482
|  | 569.6 | -26.5234
|  | 570.4 | -26.8342
|  | 571.2 | -26.9706
|  | 572 | -26.8192
|  | 572.8 | -26.5094
|  | 573.6 | -26.1833
|  | 574.4 | -26.2885
|  | 575.2 | -26.0911
|  | 576 | -26.2495
|  | 576.8 | -26.2123
|  | 577.6 | -26.0057
|  | 578.4 | -25.1832
|  | 579.2 | -23.8122
|  | 580 | -22.8649
|  | 580.8 | -22.7064
|  | 581.6 | -22.7389
|  | 582.4 | -21.9466
|  | 583.2 | -20.9791
|  | 584 | -20.3664
|  | 584.8 | -18.5759
|  | 585.6 | -16.795
|  | 586.4 | -15.2995
|  | 587.2 | -13.517
|  | 588 | -11.7888
|  | 588.8 | -10.717
|  | 589.6 | -9.6573
|  | 590.4 | -9.3457
|  | 591.2 | -9.0132
|  | 592 | -9.0676
|  | 592.8 | -9.3487
|  | 593.6 | -9.1928
|  | 594.4 | -8.8247
|  | 595.2 | -7.8911
|  | 596 | -7.3428
|  | 596.8 | -6.6971
|  | 597.6 | -6.1725
|  | 598.4 | -6.2108
|  | 599.2 | -7.1347
|  | 600 | -5.784
|  | 600.8 | -6.5674
|  | 601.6 | -7.0028
|  | 602.4 | -8.3835
|  | 603.2 | -9.0929
|  | 604 | -8.0624
|  | 604.8 | -7.2969
|  | 605.6 | -8.4124
|  | 606.4 | -9.7352
|  | 607.2 | -9.5135
|  | 608 | -6.9749
|  | 608.8 | -5.5888
|  | 609.6 | -5.0388
|  | 610.4 | -5.0062
|  | 611.2 | -4.1605
|  | 612 | -2.9157
|  | 612.8 | -2.4544
|  | 613.6 | -2.516
|  | 614.4 | -3.2701
|  | 615.2 | -4.4135
|  | 616 | -4.6161
|  | 616.8 | -4.1451
|  | 617.6 | -3.4627
|  | 618.4 | -3.8122
|  | 619.2 | -4.2945
|  | 620 | -4.2726
|  | 620.8 | -3.7582
|  | 621.6 | -3.8416
|  | 622.4 | -4.4964
|  | 623.2 | -5.7886
|  | 624 | -6.2804
|  | 624.8 | -5.5387
|  | 625.6 | -4.9087
|  | 626.4 | -4.4202
|  | 627.2 | -4.0562
|  | 628 | -3.7376
|  | 628.8 | -3.1427
|  | 629.6 | -2.9808
|  | 630.4 | -2.5222
|  | 631.2 | -2.4851
|  | 632 | -2.8616
|  | 632.8 | -4.1339
|  | 633.6 | -5.4154
|  | 634.4 | -6.0293
|  | 635.2 | -6.6238
|  | 636 | -7.7645
|  | 636.8 | -8.9024
|  | 637.6 | -9.8161
|  | 638.4 | -9.273
|  | 639.2 | -9.2146
|  | 640 | -8.9336
|  | 640.8 | -8.6136
|  | 641.6 | -7.256
|  | 642.4 | -6.2885
|  | 643.2 | -5.4457
|  | 644 | -5.9369
|  | 644.8 | -6.4506
|  | 645.6 | -6.1624
|  | 646.4 | -5.5412
|  | 647.2 | -5.137
|  | 648 | -5.1895
|  | 648.8 | -5.4409
|  | 649.6 | -6.2495
|  | 650.4 | -7.4382
|  | 651.2 | -8.7147
|  | 652 | -10.3268
|  | 652.8 | -11.3449
|  | 653.6 | -9.5088
|  | 654.4 | -5.6204
|  | 655.2 | -3.9053
|  | 656 | -3.4627
|  | 656.8 | -3.3748
|  | 657.6 | -4.2351
|  | 658.4 | -5.5493
|  | 659.2 | -7.066
|  | 660 | -7.21
|  | 660.8 | -6.9344
|  | 661.6 | -6.5848
|  | 662.4 | -6.0735
|  | 663.2 | -5.5738
|  | 664 | -5.4634
|  | 664.8 | -4.6297
|  | 665.6 | -5.0761
|  | 666.4 | -4.8451
|  | 667.2 | -5.4561
|  | 668 | -6.3835
|  | 668.8 | -7.3034
|  | 669.6 | -8.2536
|  | 670.4 | -8.5051
|  | 671.2 | -8.8553
|  | 672 | -8.6111
|  | 672.8 | -7.6648
|  | 673.6 | -7.1043
|  | 674.4 | -6.5454
|  | 675.2 | -6.3212
|  | 676 | -6.0154
|  | 676.8 | -5.4757
|  | 677.6 | -5.2259
|  | 678.4 | -5.0778
|  | 679.2 | -5.0817
|  | 680 | -4.8488
|  | 680.8 | -4.597
|  | 681.6 | -4.4793
|  | 682.4 | -4.3704
|  | 683.2 | -4.5407
|  | 684 | -5.0316
|  | 684.8 | -5.2954
|  | 685.6 | -5.4861
|  | 686.4 | -5.6173
|  | 687.2 | -5.7643
|  | 688 | -5.0588
|  | 688.8 | -4.4681
|  | 689.6 | -4.3415
|  | 690.4 | -4.4467
|  | 691.2 | -4.5462
|  | 692 | -4.2401
|  | 692.8 | -4.5328
|  | 693.6 | -4.3723
|  | 694.4 | -4.4984
|  | 695.2 | -4.4574
|  | 696 | -4.0284
|  | 696.8 | -3.1427
|  | 697.6 | -2.2804
|  | 698.4 | -1.5067
|  | 699.2 | -0.96606
|  | 700 | -0.21572
|  | 700.8 | 0
|  | 701.6 | -0.16484
|  | 702.4 | -0.53419
|  | 703.2 | -1.0053
|  | 704 | -1.5166
|  | 704.8 | -2.1415
|  | 705.6 | -3.2627
|  | 706.4 | -4.6025
|  | 707.2 | -6.229
|  | 708 | -5.6767
|  | 708.8 | -5.3762
|  | 709.6 | -4.6106
|  | 710.4 | -2.7783
|  | 711.2 | -2.0541
|  | 712 | -1.148
|  | 712.8 | -1.3048
|  | 713.6 | -1.5762
|  | 714.4 | -1.5562
|  | 715.2 | -2.3545
|  | 716 | -2.3996
|  | 716.8 | -2.8414
|  | 717.6 | -2.3785
|  | 718.4 | -1.6366
|  | 719.2 | -1.6493
|  | 720 | -2.1557
|  | 720.8 | -3.0716
|  | 721.6 | -3.7211
|  | 722.4 | -4.4178
|  | 723.2 | -4.9124
|  | 724 | -4.6938
|  | 724.8 | -4.7573
|  | 725.6 | -3.8712
|  | 726.4 | -3.1896
|  | 727.2 | -2.6101
|  | 728 | -2.2745
|  | 728.8 | -2.3575
|  | 729.6 | -1.6569
|  | 730.4 | -2.3605
|  | 731.2 | -2.8851
|  | 732 | -4.3292
|  | 732.8 | -5.4549
|  | 733.6 | -7.7832
|  | 734.4 | -8.5784
|  | 735.2 | -7.443
|  | 736 | -5.7193
|  | 736.8 | -3.9053
|  | 737.6 | -3.3786
|  | 738.4 | -3.0646
|  | 739.2 | -2.9396
|  | 740 | -2.3307
|  | 740.8 | -2.0374
|  | 741.6 | -1.9248
|  | 742.4 | -1.9629
|  | 743.2 | -2.3695
|  | 744 | -2.4851
|  | 744.8 | -2.875
|  | 745.6 | -3.9396
|  | 746.4 | -4.9476
|  | 747.2 | -5.5469
|  | 748 | -4.4964
|  | 748.8 | -3.9396
|  | 749.6 | -3.3672
|  | 750.4 | -3.4898
|  | 751.2 | -4.4715
|  | 752 | -5.1206
|  | 752.8 | -6.3783
|  | 753.6 | -6.9138
|  | 754.4 | -6.6607
|  | 755.2 | -5.2271
|  | 756 | -4.4327
|  | 756.8 | -4.3382
|  | 757.6 | -5.384
|  | 758.4 | -6.2819
|  | 759.2 | -7.6577
|  | 760 | -7.8305
|  | 760.8 | -8.5696
|  | 761.6 | -8.8902
|  | 762.4 | -9.5259
|  | 763.2 | -10.1721
|  | 764 | -10.9748
|  | 764.8 | -11.3759
|  | 765.6 | -11.3878
|  | 766.4 | -10.8673
|  | 767.2 | -9.8479
|  | 768 | -8.639
|  | 768.8 | -8.2945
|  | 769.6 | -7.6013
|  | 770.4 | -8.6684
|  | 771.2 | -10.1092
|  | 772 | -11.7211
|  | 772.8 | -13.3484
|  | 773.6 | -12.4178
|  | 774.4 | -8.7825
|  | 775.2 | -6.2723
|  | 776 | -6.795
|  | 776.8 | -8.2478
|  | 777.6 | -8.5484
|  | 778.4 | -7.678
|  | 779.2 | -8.0747
|  | 780 | -7.6083
|  | 780.8 | -8.3943
|  | 781.6 | -9.2073
|  | 782.4 | -9.7746
|  | 783.2 | -10.1594
|  | 784 | -10.1414
|  | 784.8 | -9.5463
|  | 785.6 | -9.2642
|  | 786.4 | -8.1775
|  | 787.2 | -7.5525
|  | 788 | -6.9715
|  | 788.8 | -7.3146
|  | 789.6 | -7.5219
|  | 790.4 | -7.8868
|  | 791.2 | -8.6023
|  | 792 | -9.3085
|  | 792.8 | -9.7352
|  | 793.6 | -9.0901
|  | 794.4 | -7.6527
|  | 795.2 | -6.7709
|  | 796 | -6.3339
|  | 796.8 | -6.627
|  | 797.6 | -8.2969
|  | 798.4 | -8.9024
|  | 799.2 | -9.955
|  | 800 | -10.9988
|  | 800.8 | -11.7783
|  | 801.6 | -12.1959
|  | 802.4 | -12.4882
|  | 803.2 | -13.584
|  | 804 | -12.7259
|  | 804.8 | -11.6013
|  | 805.6 | -10.0105
|  | 806.4 | -9.3878
|  | 807.2 | -9.1871
|  | 808 | -9.3233
|  | 808.8 | -10.154
|  | 809.6 | -10.2048
|  | 810.4 | -10.4389
|  | 811.2 | -11.0605
|  | 812 | -11.1616
|  | 812.8 | -11.0895
|  | 813.6 | -10.5976
|  | 814.4 | -10.4101
|  | 815.2 | -10.2469
|  | 816 | -10.6276
|  | 816.8 | -10.2561
|  | 817.6 | -9.8412
|  | 818.4 | -9.6993
|  | 819.2 | -10.2765
|  | 820 | -10.8439
|  | 820.8 | -11.2188
|  | 821.6 | -11.1029
|  | 822.4 | -10.5598
|  | 823.2 | -10.0631
|  | 824 | -10.6196
|  | 824.8 | -10.99
|  | 825.6 | -12.1557
|  | 826.4 | -13.1106
|  | 827.2 | -13.9951
|  | 828 | -14.7589
|  | 828.8 | -14.4293
|  | 829.6 | -13.4319
|  | 830.4 | -13.521
|  | 831.2 | -13.644
|  | 832 | -14.7211
|  | 832.8 | -16.3594
|  | 833.6 | -14.5596
|  | 834.4 | -12.9498
|  | 835.2 | -11.4215
|  | 836 | -10.462
|  | 836.8 | -10.5244
|  | 837.6 | -11.8046
|  | 838.4 | -14.0757
|  | 839.2 | -15.0555
|  | 840 | -13.3484
|  | 840.8 | -12.4208
|  | 841.6 | -10.8187
|  | 842.4 | -11.0516
|  | 843.2 | -11.0119
|  | 844 | -11.5787
|  | 844.8 | -12.9396
|  | 845.6 | -13.6079
|  | 846.4 | -13.1751
|  | 847.2 | -12.7849
|  | 848 | -11.8817
|  | 848.8 | -11.436
|  | 849.6 | -11.7133
|  | 850.4 | -12.3307
|  | 851.2 | -13.4665
|  | 852 | -15.8111
|  | 852.8 | -17.6043
|  | 853.6 | -18.4707
|  | 854.4 | -18.3943
|  | 855.2 | -17.5873
|  | 856 | -16.9975
|  | 856.8 | -17.6669
|  | 857.6 | -19.1784
|  | 858.4 | -20.6458
|  | 859.2 | -20.9444
|  | 860 | -18.5797
|  | 860.8 | -16.3377
|  | 861.6 | -15.1855
|  | 862.4 | -13.9742
|  | 863.2 | -14.4265
|  | 864 | -14.7041
|  | 864.8 | -14.6353
|  | 865.6 | -15.9369
|  | 866.4 | -16.0182
|  | 867.2 | -15.7258
|  | 868 | -15.8231
|  | 868.8 | -15.5932
|  | 869.6 | -15.7741
|  | 870.4 | -16.0196
|  | 871.2 | -17.1356
|  | 872 | -17.7812
|  | 872.8 | -17.4614
|  | 873.6 | -17.0316
|  | 874.4 | -15.4781
|  | 875.2 | -15.0812
|  | 876 | -14.4666
|  | 876.8 | -13.6885
|  | 877.6 | -13.9698
|  | 878.4 | -14.4671
|  | 879.2 | -15.3487
|  | 880 | -15.2725
|  | 880.8 | -15.5964
|  | 881.6 | -16.3004
|  | 882.4 | -15.504
|  | 883.2 | -16.313
|  | 884 | -15.5053
|  | 884.8 | -16.711
|  | 885.6 | -16.6567
|  | 886.4 | -17.5092
|  | 887.2 | -17.7968
|  | 888 | -17.3118
|  | 888.8 | -17.0045
|  | 889.6 | -16.9335
|  | 890.4 | -15.7525
|  | 891.2 | -15.3386
|  | 892 | -15.57
|  | 892.8 | -14.9629
|  | 893.6 | -14.5925
|  | 894.4 | -15.3273
|  | 895.2 | -15.8211
|  | 896 | -16.1717
|  | 896.8 | -16.6238
|  | 897.6 | -17.1302
|  | 898.4 | -17.3532
|  | 899.2 | -18.0424
|  | 900 | -18.83
|  | 900.8 | -19.4748
|  | 901.6 | -19.7107
|  | 902.4 | -20.1253
|  | 903.2 | -20.1271
|  | 904 | -21.205
|  | 904.8 | -21.5862
|  | 905.6 | -20.8229
|  | 906.4 | -20.5876
|  | 907.2 | -20.2066
|  | 908 | -19.5998
|  | 908.8 | -20.0896
|  | 909.6 | -19.8715
|  | 910.4 | -19.1512
|  | 911.2 | -18.9472
|  | 912 | -18.6276
|  | 912.8 | -17.8084
|  | 913.6 | -17.3845
|  | 914.4 | -17.6689
|  | 915.2 | -17.1034
|  | 916 | -17.2495
|  | 916.8 | -17.6689
|  | 917.6 | -18.3979
|  | 918.4 | -17.5476
|  | 919.2 | -17.4238
|  | 920 | -17.9395
|  | 920.8 | -17.1636
|  | 921.6 | -16.3369
|  | 922.4 | -16.4753
|  | 923.2 | -16.0328
|  | 924 | -14.807
|  | 924.8 | -15.0161
|  | 925.6 | -15.4184
|  | 926.4 | -15.1393
|  | 927.2 | -13.4937
|  | 928 | -13.999
|  | 928.8 | -14.3377
|  | 929.6 | -15.8759
|  | 930.4 | -14.4686
|  | 931.2 | -14.4871
|  | 932 | -14.6515
|  | 932.8 | -15.6186
|  | 933.6 | -16.1638
|  | 934.4 | -18.038
|  | 935.2 | -18.51
|  | 936 | -17.2959
|  | 936.8 | -18.5985
|  | 937.6 | -19.7499
|  | 938.4 | -19.9757
|  | 939.2 | -20.7706
|  | 940 | -20.7355
|  | 940.8 | -19.7829
|  | 941.6 | -19.1241
|  | 942.4 | -19.603
|  | 943.2 | -18.6099
|  | 944 | -17.9179
|  | 944.8 | -18.6556
|  | 945.6 | -18.1399
|  | 946.4 | -18.7354
|  | 947.2 | -19.0915
|  | 948 | -19.7631
|  | 948.8 | -19.3278
|  | 949.6 | -19.203
|  | 950.4 | -18.653
|  | 951.2 | -17.9061
|  | 952 | -17.6486
|  | 952.8 | -17.5714
|  | 953.6 | -17.1293
|  | 954.4 | -16.7734
|  | 955.2 | -16.8485
|  | 956 | -17.4867
|  | 956.8 | -17.2792
|  | 957.6 | -16.9181
|  | 958.4 | -17.3259
|  | 959.2 | -17.959
|  | 960 | -17.7262
|  | 960.8 | -17.6669
|  | 961.6 | -18.5822
|  | 962.4 | -18.625
|  | 963.2 | -17.6496
|  | 964 | -16.8722
|  | 964.8 | -16.9923
|  | 965.6 | -16.4284
|  | 966.4 | -16.0531
|  | 967.2 | -15.8955
|  | 968 | -15.5083
|  | 968.8 | -15.3618
|  | 969.6 | -15.0482
|  | 970.4 | -15.1844
|  | 971.2 | -15.5863
|  | 972 | -16.6777
|  | 972.8 | -17.189
|  | 973.6 | -16.9576
|  | 974.4 | -17.7365
|  | 975.2 | -18.6403
|  | 976 | -18.5211
|  | 976.8 | -18.1947
|  | 977.6 | -17.9482
|  | 978.4 | -17.3466
|  | 979.2 | -16.5133
|  | 980 | -16.319
|  | 980.8 | -16.6238
|  | 981.6 | -15.5493
|  | 982.4 | -14.5685
|  | 983.2 | -15.004
|  | 984 | -15.296
|  | 984.8 | -14.6974
|  | 985.6 | -14.2351
|  | 986.4 | -14.6892
|  | 987.2 | -14.3619
|  | 988 | -13.8543
|  | 988.8 | -14.4832
|  | 989.6 | -15.3858
|  | 990.4 | -16.6696
|  | 991.2 | -16.9215
|  | 992 | -16.3662
|  | 992.8 | -17.0775
|  | 993.6 | -17.4046
|  | 994.4 | -17.519
|  | 995.2 | -17.1338
|  | 996 | -16.9845
|  | 996.8 | -16.5967
|  | 997.6 | -16.0517
|  | 998.4 | -15.422
|  | 999.2 | -14.6647
|  | 1000 | -13.8374
|  | 1000.8 | -13.5642
|  | 1001.6 | -13.3484
|  | 1002.4 | -12.1018
|  | 1003.2 | -11.3497
|  | 1004 | -11.5314
|  | 1004.8 | -11.6774
|  | 1005.6 | -10.9314
|  | 1006.4 | -10.3137
|  | 1007.2 | -10.5205
|  | 1008 | -11.0872
|  | 1008.8 | -11.3759
|  | 1009.6 | -11.0406
|  | 1010.4 | -10.9014
|  | 1011.2 | -11.3735
|  | 1012 | -12.5472
|  | 1012.8 | -12.8953
|  | 1013.6 | -12.3366
|  | 1014.4 | -12.3996
|  | 1015.2 | -12.6805
|  | 1016 | -12.7161
|  | 1016.8 | -12.5005
|  | 1017.6 | -12.3128
|  | 1018.4 | -12.3366
|  | 1019.2 | -12.5503
|  | 1020 | -11.9959
|  | 1020.8 | -10.8208
|  | 1021.6 | -10.3664
|  | 1022.4 | -10.6056
|  | 1023.2 | -10.8334
|  | 1024 | -10.1271
|  | 1024.8 | -9.8328
|  | 1025.6 | -9.3893
|  | 1026.4 | -9.0788
|  | 1027.2 | -9.0104
|  | 1028 | -8.8221
|  | 1028.8 | -8.531
|  | 1029.6 | -8.1399
|  | 1030.4 | -8.235
|  | 1031.2 | -8.7667
|  | 1032 | -8.2957
|  | 1032.8 | -7.8953
|  | 1033.6 | -8.3548
|  | 1034.4 | -9.2015
|  | 1035.2 | -8.685
|  | 1036 | -8.7224
|  | 1036.8 | -9.2306
|  | 1037.6 | -10.1811
|  | 1038.4 | -10.136
|  | 1039.2 | -10.0105
|  | 1040 | -9.9276
|  | 1040.8 | -10.0105
|  | 1041.6 | -9.8715
|  | 1042.4 | -10.0017
|  | 1043.2 | -9.9723
|  | 1044 | -9.5809
|  | 1044.8 | -9.4349
|  | 1045.6 | -9.5761
|  | 1046.4 | -9.2059
|  | 1047.2 | -8.9513
|  | 1048 | -8.9417
|  | 1048.8 | -8.862
|  | 1049.6 | -8.8795
|  | 1050.4 | -8.5709
|  | 1051.2 | -8.694
|  | 1052 | -8.7707
|  | 1052.8 | -7.9721
|  | 1053.6 | -7.6314
|  | 1054.4 | -7.5724
|  | 1055.2 | -7.8718
|  | 1056 | -8.1343
|  | 1056.8 | -8.0314
|  | 1057.6 | -7.4799
|  | 1058.4 | -7.1708
|  | 1059.2 | -7.0598
|  | 1060 | -7.3006
|  | 1060.8 | -7.1573
|  | 1061.6 | -6.6769
|  | 1062.4 | -6.785
|  | 1063.2 | -6.9353
|  | 1064 | -6.7511
|  | 1064.8 | -6.7151
|  | 1065.6 | -6.9533
|  | 1066.4 | -7.2036
|  | 1067.2 | -7.1808
|  | 1068 | -7.0019
|  | 1068.8 | -7.1545
|  | 1069.6 | -7.6163
|  | 1070.4 | -7.6689
|  | 1071.2 | -7.1672
|  | 1072 | -6.7942
|  | 1072.8 | -7.1043
|  | 1073.6 | -7.8315
|  | 1074.4 | -8.284
|  | 1075.2 | -8.7746
|  | 1076 | -8.3919
|  | 1076.8 | -8.2385
|  | 1077.6 | -7.9308
|  | 1078.4 | -8.4039
|  | 1079.2 | -9.1871
|  | 1080 | -9.3757
|  | 1080.8 | -8.9746
|  | 1081.6 | -8.793
|  | 1082.4 | -9.0648
|  | 1083.2 | -9.2583
|  | 1084 | -9.3697
|  | 1084.8 | -9.6557
|  | 1085.6 | -9.7352
|  | 1086.4 | -9.2015
|  | 1087.2 | -8.9773
|  | 1088 | -8.9173
|  | 1088.8 | -8.8889
|  | 1089.6 | -8.5584
|  | 1090.4 | -8.3691
|  | 1091.2 | -8.4257
|  | 1092 | -9.055
|  | 1092.8 | -9.5793
|  | 1093.6 | -10.0542
|  | 1094.4 | -10.9056
|  | 1095.2 | -11.1457
|  | 1096 | -10.6317
|  | 1096.8 | -10.5421
|  | 1097.6 | -10.7873
|  | 1098.4 | -11.3119
|  | 1099.2 | -11.2558
|  | 1100 | -10.9966
|  | 1100.8 | -11.2697
|  | 1101.6 | -11.7263
|  | 1102.4 | -11.2978
|  | 1103.2 | -10.3986
|  | 1104 | -10.1848
|  | 1104.8 | -10.0227
|  | 1105.6 | -9.5746
|  | 1106.4 | -9.2613
|  | 1107.2 | -8.8781
|  | 1108 | -9.1227
|  | 1108.8 | -9.4045
|  | 1109.6 | -9.6525
|  | 1110.4 | -9.7945
|  | 1111.2 | -10.2011
|  | 1112 | -10.3701
|  | 1112.8 | -10.2011
|  | 1113.6 | -10.0666
|  | 1114.4 | -10.2285
|  | 1115.2 | -10.7603
|  | 1116 | -10.5936
|  | 1116.8 | -10.4254
|  | 1117.6 | -10.7541
|  | 1118.4 | -11.7941
|  | 1119.2 | -12.3875
|  | 1120 | -11.871
|  | 1120.8 | -11.3378
|  | 1121.6 | -11.2604
|  | 1122.4 | -11.3072
|  | 1123.2 | -11.8284
|  | 1124 | -12.6133
|  | 1124.8 | -13.019
|  | 1125.6 | -12.8784
|  | 1126.4 | -12.3785
|  | 1127.2 | -12.5191
|  | 1128 | -12.9021
|  | 1128.8 | -12.9396
|  | 1129.6 | -12.6999
|  | 1130.4 | -12.5691
|  | 1131.2 | -12.8448
|  | 1132 | -13.5682
|  | 1132.8 | -14.2656
|  | 1133.6 | -14.4361
|  | 1134.4 | -14.3585
|  | 1135.2 | -14.0712
|  | 1136 | -14.3771
|  | 1136.8 | -14.8706
|  | 1137.6 | -15.0538
|  | 1138.4 | -15.3744
|  | 1139.2 | -15.2778
|  | 1140 | -14.9286
|  | 1140.8 | -15.1087
|  | 1141.6 | -16.2627
|  | 1142.4 | -17.7221
|  | 1143.2 | -17.8932
|  | 1144 | -17.1051
|  | 1144.8 | -16.3071
|  | 1145.6 | -16.2812
|  | 1146.4 | -16.689
|  | 1147.2 | -16.752
|  | 1148 | -16.3004
|  | 1148.8 | -15.7577
|  | 1149.6 | -15.9144
|  | 1150.4 | -17.2717
|  | 1151.2 | -19.0929
|  | 1152 | -19.8748
|  | 1152.8 | -20.0087
|  | 1153.6 | -20.3929
|  | 1154.4 | -20.7026
|  | 1155.2 | -20.9142
|  | 1156 | -21.5339
|  | 1156.8 | -22.5628
|  | 1157.6 | -23.7664
|  | 1158.4 | -24.786
|  | 1159.2 | -25.332
|  | 1160 | -26.0482
|  | 1160.8 | -27.3912
|  | 1161.6 | -28.6212
|  | 1162.4 | -28.1672
|  | 1163.2 | -27.2458
|  | 1164 | -27.098
|  | 1164.8 | -27.8825
|  | 1165.6 | -29.6993
|  | 1166.4 | -30.8313
|  | 1167.2 | -30.2654
|  | 1168 | -29.6173
|  | 1168.8 | -29.9809
|  | 1169.6 | -30.6802
|  | 1170.4 | -30.5896
|  | 1171.2 | -29.0522
|  | 1172 | -27.946
|  | 1172.8 | -27.3221
|  | 1173.6 | -27.5239
|  | 1174.4 | -27.8943
|  | 1175.2 | -28.2758
|  | 1176 | -28.4463
|  | 1176.8 | -28.7224
|  | 1177.6 | -29.2833
|  | 1178.4 | -29.9671
|  | 1179.2 | -30.5559
|  | 1180 | -30.7956
|  | 1180.8 | -30.5263
|  | 1181.6 | -30.2322
|  | 1182.4 | -29.6557
|  | 1183.2 | -29.3592
|  | 1184 | -29.6253
|  | 1184.8 | -30.8103
|  | 1185.6 | -31.4945
|  | 1186.4 | -31.0605
|  | 1187.2 | -30.1848
|  | 1188 | -29.6573
|  | 1188.8 | -29.7401
|  | 1189.6 | -30.4006
|  | 1190.4 | -30.9835
|  | 1191.2 | -31.1821
|  | 1192 | -31.4529
|  | 1192.8 | -31.9712
|  | 1193.6 | -32.0877
|  | 1194.4 | -31.4578
|  | 1195.2 | -31.2188
|  | 1196 | -32.1244
|  | 1196.8 | -34.0855
|  | 1197.6 | -35.2317
|  | 1198.4 | -34.3562
|  | 1199.2 | -33.2738
|  | 1200 | -32.752